Translated from Armenian to English - www.onlinedoctranslator.com

ANNOUNCEMENT

ABOUT THE URGENT OPEN TENDER

This text of the announcement has been approved by the evaluation committee.

By Resolution No. 1 of "February" 12, 2026

The procurement process is organized in accordance with the requirements of Article 15, Part 6, Clause 2 of the RA Law "On Procurement".

Procedure code: AHMAIM-ABMASHDB-2026/5

Client: Client: _The staff of the Governor of Ararat region of the Republic of Armenia, located at _Artashat, 23/60 August Street,announces an urgent open tender, which is being carried out in one stage, through electronic procurement Armeps (www.armeps.am) through the system.

As a result of this procedure, the selected participant will be offered to sign a "Construction of a kindergarten in Yeghegnavan settlement, Vedi community, Ararat region, Armeniaworksperformance contract (hereinafter referred to as the contract).

According to Article 7 of the RA Law "On Procurement", any person, regardless of whether he is a foreign individual, organization or stateless person, has an equal right to participate in this procedure.

The conditions presented to persons not entitled to participate in this procedure, as well as to participants, are set out in the invitation to this procedure.

The selected participant is determined from the number of participants who submitted satisfactory bids on non-price terms, based on the principle of giving preference to the participant who submitted the lowest price offer.

In case of a request to provide an invitation in electronic form, the client shall ensure the provision of the invitation in electronic form free of charge within the working day following the day of receipt of the application.

Applications for participation in this procedure must be submitted electronically, using the electronic procurement system Armeps (www.armeps.am) system until 10:00 on the 11th day from the date of publication of this announcement. Applications, in addition to Armenian, can also be submitted in English or Russian.

The opening of bids will take place electronically, through the Armeps electronic procurement system, at 10:00 on the 11th day from the date of publication of this announcement,February 23, 2026.

.

The appeal regarding this procedure is carried out in accordance with the procedure established by the RA Law "On Procurement" and the RA Civil Procedure Code.

For additional information regarding this announcement, you can contact the Secretary of the Evaluation Committee:Christina Khachatryanin

Phone: 091 349993 Email:< araratmarz.gnumner@gmail.com >

Client: Staff of the Governor of Ararat Region of the Republic of Armenia

Approved is

AHMA-ABMASHDB-2026/5covercwith water

Urgent urgent open competitionevaluatorcommission

2026.February 12th, No. 1by decision

"STAFF OF THE ARARAT REGIONAL GOVERNOR OF THE RA»

H R A V E R

FOR THE STAFF NEEDS OF THE ARARAT REGIONAL GOVERNOR OF THE RA:

"Construction of a kindergarten in Yeghegnavan settlement, Vedi community, Ararat region, Armeniaworksexecution

URGENT OPEN TENDER ANNOUNCEMENT FOR THE PROCUREMENT OF

Dear participant before application making and presenting please we are in detail to study this the invitation,how many that at the invitation inconsistent applications subject are rejection.

If you are not registered in the electronic procurement system, but wish to participate in this procedure, you must self-register in the Armeps system to submit an application (www.armeps.am): The conditions for registering in the system are definedwww.procurement. ampublished in the "Guidelines, Manuals" subsection of the "Legislation" section of the official procurement bulletin at  Armeps electronic procurement system user guide "Economic Operator"Who?

The guide is available at the following link:http://gnumner.am/hy/page/ughecuycner_dzernarkner/:

At the same time:

- When entering the application into the Armeps (www.armeps.am) electronic procurement system (hereinafter referred to as the system), it is necessary to be guided by:www.procurement.ampublished in the "Guidelines, Manuals" subsection of the "Legislation" section of the official procurement bulletin at  Guide to making electronic purchasesWho?

The guide is available at the following link:http://gnumner.am/hy/page/ughecuycner_dzernarkner/.

- If you have any questions or problems related to the system, you can contact the client, as well as the Ministry of Finance of the Republic of Armenia (hereinafter referred to as the authorized body) at 1 Melik-Adamyan St., Yerevan (phone: (+37411) 800-600 (111)).

Registering in the system, as well as submitting an application, is free.

CONTENT

FOR THE STAFF NEEDS OF THE ARARAT REGIONAL GOVERNOR OF THE RA:

"Construction of a kindergarten in Yeghegnavan settlement, Vedi community, Ararat region, Armeniaworksexecution

URGENT OPEN TENDER ANNOUNCEMENT FOR THE PROCUREMENT OF

PART  I.

1.  Purchase subject naturecthing

2.Participant participation right requirements and their evaluation procedure, if the selected participant is recognizedqualificationconditions for submitting security

3.Invitation clarification and invitation change to perform there wasch

4.The application to present there wasch

5.	Applicationclook the offer

6.Applicationcof the scoundrel deadline,in applications change to perform and them back to take there wasch

7.Application provision

8. Hopening of the cheeks, evaluation and summary of the results

9.Conditioncriver sealing

10. Qualification andconditionalcriver provisions

11.Currentch failed announcement

12.Purchasecprocess back relatedcthe activities and(or)accepted decisions to appeal participant the right and there wasch

PART  II.  URGENT OPEN TENDER  THE APPLICATION  TO PREPARE  INSTRUCTION

1.	General  provisions

2.	Currentcin the application

3.	Applications1-7

This the invitation provided is in supplement with code AHMAIM-ABMASHDB-2026/5 held urgent open competition(from now on`currentc)announcement.

This the invitation to be formed iscNuminer about RA legislation,that among`"Shopping about»Armenia law(from now on`Law),Armenia government2017t. May 4th N 526-N by decision approved"Shoppingcprocess organization»there wascin(from now on`There wasc), the Procedure for "Electronic Procurement" approved by the RA Government Resolution No. 386-N of April 6, 2017and other legal acts to the requirements appropriate and goal has Staff of the Governor of Ararat Region of the Republic of Armenia(from now on`client)by announced currentcto participate in intention having persons(from now on`  participant)to inform currentcin conditions: csimilar subject,currentcin holding,to the selected participant to decide and his/her back conditionalchis/her to seal about,how also to assist currentcin the application while preparing.

Applications can are to presentin the systemall registered persons,independent them`foreign physical person,organization,citizenship having none person to be take awaycfrom the store.

In order to register as a participant in the system, a person logs into the website at www.armeps.am and fills in the required information, after which he/she enters the combination of numbers and/or letters received via e-mail into the system to confirm the registration. The specified information must be entered correctly.writefleaAfter that, the person is considered a registered participant in the system, about which he/she automatically receives a notification. The participant's registration is automatically considered canceled if the latter does not log in to the system within 30 calendar days from the date of registration in the system or logs in but does not enter the information into the system. In this case, a new registration process is carried out.

This currentcin back related relationships towards applied is Armenia Republic the right.This currentcin back related the arguments subject are examination Armenia Republic in the courts.

The email address of the secretary of the evaluation committee is`araratmarz.gnumner@gmail.com

PART  I

- DESCRIPTION OF THE PURCHASE ITEM

1.1 The subject of the purchase is  "Construction of a kindergarten in Yeghegnavan settlement, Vedi community, Ararat region, Armeniaworksexecutionachievement (hereinafter also referred to as work), which is grouped under "1"dosage`

| Size |  | Dimension name |
| --- | --- | --- |
| number | purchase price |  |
| 1 | 386 572 230 | "Construction of a kindergarten in Yeghegnavan settlement, Vedi community, Ararat region, Armeniaworks |

The technical specifications of the work, as well as the specification, technical data and a complete and adequate description of other non-price conditions, constitute an integral part of the contract to be concluded, the draft of which is presented in Appendix No. 7 to this invitation.

The following licenses are required for the performance of the contract:

"Implementation of construction in the field of urban development"license, according to the following field

| Dimensions the numbers | Required license(forgive)type(the). |
| --- | --- |
| 1 | 2 |
| 1 | Construction implementation,Class 1 license, with insert - residential, public and industrial buildings 1st class insert, certificate - water supply and drainage (internal and external water supply and drainage networks, hydromelloration) structures 1st class insert, certificate - power supply (internal and external power supply, lighting networks, power supply systems, photovoltaic and wind power plants) structures 1st class insert, certificate - Heat and gas supply and ventilation (ventilation, heating and air conditioning systems, heat supply and gas supply systems) structures 1st class insert, certificate |

- PARTICIPANT PARTICIPATION RIGHT REQUIREMENTS,THEIR EVALUATION PROCEDURE, CONDITIONS FOR SUBMITTING QUALIFICATION IN CASE OF RECOGNITION AS A SELECTED PARTICIPANT

2.1This  to the procedureto participate right they don't have persons.

1)which are in court as of the date of filing the application in order recognized are bankrupt.

3) which or whoseexecutive body representative the application to present on the day preceding five years during condemned is beena crime involving the financing of terrorism, child exploitation or human trafficking,to create or participate in a criminal conspiracy, to receive a bribe, for bribery or bribery mediation and crimes against economic activities provided for by law,except it cases,when conviction by law defined in order  extinguishedor deletedis.

4) in respect of which the administrative act establishing liability for anti-competitive agreements, abuse of dominant position or unfair competition in the field of procurement has become unappealable within the three years preceding the date of submission of the application, and in case of appeal, has been left unchanged․

5) which, as of the date of submission of the application, are included in the procurement process published in accordance with the procurement legislation of the countries that are members of the Eurasian Economic Union to participate right having none participants on the list.

6) which as of the date of submission of the applicationincluded are the procurement process to participate right having none participants on the list:

Moreover, if the participant is included in the lists provided for in subparagraphs 5 and 6 of this clause after the date of submission of the application, then his/her application is not subject to rejection.

A participant is included in the list of participants not entitled to participate in the procurement process (hereinafter also the list) if:

- has violated the obligation stipulated by the contract or undertaken within the framework of the procurement process, which led to the unilateral termination of the contract by the customer or the termination of the further participation of the given participant in the procurement process, and the participant has not paid the amount of the application, contract and/or qualification security within the period specified in the invitation and/or contract;

- has refused or been deprived of the right to conclude a contract as a selected participant.

2.2 To assess the right to participate, the participant must submit with the application a copy of this document, approved by him/her. invitation2ndpart2.1with a dot intended written Statement: Apart from the statement provided for in this clause, no other documents or justifications may be required from the participant, including the selected participant, for the assessment of the right to participate.The committee assessing the authenticity of the participant's statement (hereinafter referred to as the committee) shall assess it under the conditions set forth in this invitation.

2.3Participant, pursuant to Article 6, Part 1, Clause 6 of the Law, as well asArmeniaInclusion in the lists provided for in subparagraph 2 of paragraph 2 of Government Decision No. 817-A of 20.06.2025 automatically leads to restriction of the right of persons affiliated with the latter to participate in the procurement process during the period of their presence in them.

Prohibited isaffiliated persons defined in this clause and (or)the same person(persons)by founded or more than fifty percent the same person(persons)belonging share(share)having organizations simultaneous participationto this procedure(same dose), except state or communities by founded organizations and/or jointlycactivity there wascwho(by consortium) cNuminerccases of participation in the process.

In accordance with point 119 of the Rules:

1) physicalpersons are considered to be related,if they are members of the same family, or run a common household or joint business, or have acted in concert based on common economic interests,

2) Natural persons and legal entities are considered to be related if they have acted in concert based on common economic interests, or if the natural person or a member of his family is:

a. a participant holding more than ten percent of the shares of a given legal entity;

b. A person who has the ability to predetermine the decisions of a legal entity in any other manner not prohibited by the legislation of the Republic of Armenia.

c. Chairman of the board of the given legal entity, Deputy Chairman of the board, member of the board, executive director, his deputy, chairman, member of the collegial body performing the functions of the executive body.

d. an employee of a legal entity who works under the direct supervision of the executive director or has any significant influence on the decision-making of the management bodies of the legal entity;

3) Participants who are not individuals are considered to be affiliated if:

a. the given person owns ten percent or more of the voting shares (shares, units, hereinafter referred to as shares) of another person with the right to vote, or by virtue of his participation or in accordance with the contract concluded between the given persons, has the ability to predetermine the decisions of the other person;

b. a participant (shareholder) and (or) participants (shareholders) or their family members (if the participant is an individual) who own more than ten percent of the voting shares of one of them or have the ability to predetermine its decisions in another manner not prohibited by law have the right to directly or indirectly own (including on the basis of purchase and sale, trust management, joint activity agreements, assignment or other transactions) more than ten percent of the voting shares of the other or have the ability to predetermine its decisions in another manner not prohibited by the legislation of the Republic of Armenia.

c. any member of any management body of one of them or other persons performing similar duties, as well as any member of their family, is simultaneously a member of any management body of the other person or other person performing similar duties;

d. they acted or are acting in concert based on common economic interests;

For the purposes of this paragraph, family members are considered to be father, mother, husband, husband's parents, grandmother, grandfather, sister, brother, children, grandchildren, and the spouse and children of a sister or brother.

2.4Participantif the selected participant is recognizedsubmits a qualification certificate in the manner and to the extent specified in this invitation.

2.5 The contract to be concluded within the framework of this procedure may be implemented through the conclusion of a subcontract. The participant who submitted an application to participate in this procedure (for the same lot) may not be a party to the subcontract.

2.6 Participants may participate in this procedure in a joint venture (consortium). In such a case:

1) None of the parties to the joint activity agreement may submit a separate application for the same procedure (for the same portion). In case of non-compliance with the requirement of this paragraph, both the applications submitted in the joint activity procedure and separately shall be rejected at the bid opening session.

2) The participants bear joint and several liability. Moreover, in the event of a consortium member withdrawing from the consortium, the contract concluded by the customer with the consortium shall be unilaterally terminated and the liability measures provided for in the contract shall be applied to the consortium members.

3.  INVITATION  EXPLANATION  ANDINVITATION CHANGE TO PERFORM THE ORDER

3.1Law29-th article according to` mcompanion right has from the customer to demand invitation clarification.

Participant right has applications presentation deadline upon expiration at least five calendar day before yesterdaythrough the systemto request from the committee invitation clarification.The Commissionthe request donemto the same person clarification provision is through the system: the request to receive on the day subsequent two calendar day during.

3.2Inquiry and clarifications content about the announcementThe date of providing the clarificationbeing published isin the system andBulletin available at www.procurement.am (hereinafter referred to as the Bulletin)"Procurement announcements»department"Announcements regarding invitation clarifications»subdivision without to celebrate the request donemAssyrian data.

3.3Clarification no provided,if the request done is this by share defined deadline in violation,how also,if the request out isthisinvitation content scope or if the request concerns the technical specifications of the devices and equipment to be offered by the latter in terms of their equivalence with the technical specifications provided for in this invitationto the answer. Moreover, the participant is notified in writing of the grounds for not providing an explanation:the request to receive on the day subsequent two calendars day during:

3.4Applications presentation deadline upon expiration at least five calendar day forward invitation can are done changes. Change to perform on the day subsequent three calendar day during change to perform and them to provide conditions about announcement is being publishedin the system andnewsletter.

3.5 Everyone has the right, before the deadline for making changes to the invitation, to submit justifications to the secretary of the evaluation committee via e-mail regarding the characteristics of the procurement subject specified in the invitation, the requirements for ensuring competition and excluding discrimination stipulated by law, without specifying their name and surname. If the submitted justifications are considered acceptable, the evaluation committee shall make changes to the invitation in accordance with them within the specified period.

3.6Invitation changes to be done in case applications to present deadline counting is that changes aboutin the system andnewsletter announcement publication from the day. That in case participants obliged are to extend their presented application provisionvaliditydeadline or to present application new provision.

4.  THE APPLICATION TO PRESENT THE ORDER

4.1 To participate in this procedure, the participant submits an application to the commission through the system.. The application is the proposal submitted by the participant based on this invitation.

The application is submitted before the deadline specified in this invitation.

The procedure for preparing the application is described in Part 2 of this invitation: Instructions for preparing applications for the urgent open tender.

4.2 Applications for the procedure must be submitted through the system no later than 10:00 on the "11th" day from the date of publication of the announcement and invitation of this procedure in the system. Applications submitted after the deadline for submitting applications will not be accepted by the system.

4.3 The participant submits with the application:

1) an application-declaration, approved by him/her, provided for in point 2.1 of part 2 of this invitation, indicating the e-mail address, taxpayer registration number, business address and telephone number, which includes:

a) confirmation of the compliance of the data of the person and his/her affiliated persons with the requirements for the right to participate set out in this invitation;

b) confirmation of the obligation to submit a qualification certificate in the event of being recognized as a selected participant, in the manner and within the time limit specified in this invitation;

c) a statement on the absence of unfair competition, abuse of dominant position and anti-competitive agreements within the framework of this procedure;

d) a statement on the absence of simultaneous participation in this procedure of persons affiliated with him and (or) of organizations founded by him or in which he owns more than fifty percent of the shares (stocks);

e)Declaration on the beneficial owners in accordance with Appendix 1. A declaration is not submitted if the participant is an individual entrepreneur or a natural person. Moreover, if the participant is declared a selected participant, the declaration provided for in this paragraph, which is automatically published in the system after the opening of bids, is also published in the bulletin simultaneously with the announcement of the decision to conclude a contract.

2) a price offer approved by him/her;

3) securing the application in the form of cash or bank guarantee.

4) in the case of the purchase of construction works, a confirmation, confirmed by him, with the design documents attached to this invitation, which is also an integral part of the contract to be concluded, about the obligation to install (use) materials and (or) devices and equipment that comply with the specified technical specifications and warranty service conditions, having previously agreed in writing with the customer their technical specifications, trademarks, company names, brands and warranty periods before installation (use). The confirmation provided for in this sub-clause is also confirmed by a separate appendix to the contract to be concluded.

5) a copy of the subcontract agreement and the details of the person party to it, if the contract to be concluded will be implemented through a subcontract.

6) a copy of the joint activity agreement, if the participants participate in this procedure as a joint activity (consortium).

Moreover, in case of participation in this procedure in a joint venture (consortium):

- None of the parties to the joint activity agreement may submit a separate application to this procedure (for the same portion). In case of non-compliance with the requirement of this paragraph, both the applications submitted in the joint activity procedure and separately shall be rejected at the bid opening session.

- If the joint activity agreement stipulates that the general affairs of the participants are conducted by a separate participant in the joint activity agreement, then the application is submitted, and in the event of the conclusion of the agreement, payments are made to that participant. In the event that the joint activity agreement stipulates that when conducting general affairs, each participant has the right to act on behalf of all participants, then in the event of the conclusion of the agreement, payments are made to the participant who submitted the application.

5.   APPLY   PRICE  THE OFFER

5.1 The proposed price, in addition to the cost of the work, includes the costs of transportation, insurance, duties, taxes, and other payments and cannot be less than their cost price. The calculation of the proposed price must be submitted with the application.through the system.

5.2 The participant shall submit the price offer in the form of a calculation consisting of the cost (the sum of the cost price and the projected profit) and the value added tax in general components. The calculation of the cost components, gaps or other details are not required and shall be submitted. If the participant is required to pay value added tax to the state budget of the Republic of Armenia for the given transaction, then the amount of the amount to be paid for that type of tax shall be provided in a separate line in the submitted price offer. Moreover:

a. the evaluation and comparison of the participants' price offers are carried out without calculating the tax amount specified in this point,

b. In the case of the purchase of construction works, the participant does not submit a bill of quantities-estimated estimate completed by him, and in the event that the selected participant is recognized as the winner, payments for the performance acts within the framework of the contract to be concluded are made according to the bill of quantities-estimated estimate attached to the invitation, using the following formula: ВГ=МГ/НГxКС, where:

The IB is the price offered by the selected participant.

The NB is the estimated price for the construction works published in this invitation.

The scope of work presented in a given executive act is expressed in monetary terms.

The BOM is the amount paid for the work specified in the bill of quantities-estimated estimate.

A participant's application shall not be subject to rejection if:

a. The price offer value and value added tax columns are filled in only with numbers, and the total price column is filled in with both letters and numbers or only with letters.

b. there is a discrepancy between the amounts indicated in letters or numbers in the price offer value and value added tax columns, but the sum of any of the amounts indicated in letters or numbers corresponds to the amount indicated in letters in the total price column;

c. The quantity number is incorrectly indicated in the price offer, but the name of the procurement item is correctly filled in.

d. The amounts indicated in letters or numbers in the columns "price offer value, value added tax and total amount" are rounded down to five decimal places, and five decimal places and more are rounded up to the whole number.

e. the amounts in the columns for the price offer value and value-added tax are filled in both numbers and letters, and they correspond to each other, and the amount indicated in letters in the total price column contains unnecessary words, resulting in a non-existent number. Moreover, in the case specified in this paragraph, the evaluation committee shall take the sum of the amounts indicated in letters in the columns for the value and value-added tax as a basis for evaluating the application.

f. The amounts in the columns of the price offer filled in with letters are indicated in numbers.

5.3 If the price of the contract to be concluded is stable, then the price offer is submitted in a single number - the total price offered for the performance of the contract and is mandatory filled in the system without calculating the amount of value added tax to be paid to the state budget of the Republic of Armenia. Moreover, the participant cannot be required to submit justifications for the price offer or any other type of information or documents, as well as the amount of the participant's profit cannot be limited by the invitation.

The price offer must be submitted as the total price of the bill of quantities (2026-2027) separated by the given quantity.

6. APPLICATION VALIDITY DEADLINE FOR MAKING CHANGES IN APPLICATIONS

AND THE PROCEDURE FOR TAKING THEM BACK

6.1 According to Article 31 of the Law, the application is valid until the conclusion of a contract in accordance with the Law, the withdrawal of the application by the participant, the rejection of the application, or the declaration of this procedure as unfulfilled.

6.2 In accordance with Article 31 of the Law, the participant may amend or withdraw his/her application until the deadline for submission of applications specified in point 4.2 of Part 1 of this invitation.

7.APPLY INSURANCE

7.1The participant shall submit application security with the application in accordance with the procedure specified in this invitation.

The bid security shall be submitted in the form of a bank guarantee (Appendix 3) or cash, the amount of which shall be equal to five percent of the purchase price. If the participant's price offer exceeds the purchase price, the amount of the bid security shall be equal to five percent of the price offer. Moreover, if the participant has submitted the bid securityexceeds the amount specified in this paragraph, then the application is considered to meet the requirements of the invitation and is not subject to rejection.

The bid security submitted in cash must be transferred to the treasury account “900008000466” opened in the name of the authorized body at the Central Treasury, which is subject to return to the participant who submitted it, except for the cases provided for in point 7.3 of part 1 of this invitation. Moreover, the bid security is returned within five working days following the date of conclusion of the contract. In case the procurement procedure is declared unsuccessful, the bid security is returned within five working days following the expiration of the inactivity period, if the results of the procurement procedure are not appealed. In case of an appeal, the bid security is returned within five working days following the date of entry into legal force of the final judicial act of the court on leaving the decision of the evaluation commission on declaring the procurement procedure unsuccessful.

If the procurement procedure is organized on the basis of Article 15, Part 6, Clause 2 of the Law, the bid security shall be returned to the person who concluded the contract within five working days following the date of conclusion of the agreement between the parties on the provision of financial resources. If financial resources are not provided for the performance of the contract within six months following the date of conclusion of the contract and the contract is terminated, the bid security shall be returned within five working days following the date of termination of the contract.

The head of the client shall notify in writing about the return of the application security within the time limits specified in this clause:

- in case of security submitted in the form of cash, to the Ministry of Finance of the Republic of Armenia, attaching a copy of the document submitted with the application justifying the payment;

- in the case of security provided in the form of a bank guarantee, to the bank that issued the guarantee;

7.3 The Participant pays the application security if he/she:

1) has been declared a selected participant, but refuses or is deprived of the right to conclude a contract;

2) has violated an obligation undertaken within the framework of the procurement process, which has led to the termination of the Participant's further participation in the process;

7.4The application must be valid for 120 (one hundred and twenty) working days from the date of the deadline for submission of applications.:

7.5 The client's manager shall submit a written request for payment of the application security to the bank, and in the case of security submitted in the form of cash, to the Ministry of Finance of the Republic of Armenia, within five working days following the date on which the basis for payment of the application security arises. If the request for payment of the application security is rejected by the bank or the Ministry of Finance of the Republic of Armenia on the grounds that the request or the accompanying documents are incomplete, the client's manager shall submit a new request in writing within two working days following the receipt of the rejection.

7․6 The participant's application is subject to rejection if it lacks the application security or if it is submitted in a manner inconsistent with the requirements of the invitation.

7.7 If the participant is considered a non-resident, the bank guarantee must be approved or issued by any of the commercial banks operating in the Republic of Armenia.

8. OPENING, EVALUATION AND

SUMMARY OF RESULTS

8.1The opening of bids will be carried out through the system at 10:00 on the "11th" day from the date of publication of the announcement and invitation of this procedure in the system.

At the bid opening and evaluation session, the chairman of the committee (the person presiding over the session) declares the session open and publishes the purchase price of the works to be purchased within the framework of this procedure, as defined in the bid, expressed in a single number, as well as the price offers of the participants who submitted bids, expressed in a single number, based on what is written in letters.

The functions of the opening members of the committee in the system are hierarchical. The hierarchy is determined by the chairman of the committee. The first opening member of the committee, with his notes, presents to the second opening member for review the list of applications subject to opening, which the system has considered as submitted (valid) applications, after which the second opening member confirms hisList of submitted applications. After approval, the protocol on the opening of applications (report in the system) is uploaded, which the secretary of the commission sends to the participants' e-mails through the system on the day of the opening of applications.

8.2 Applications will be evaluated in accordance with the procedure set out in this invitation.

The evaluation of applications is carried out within fifteen working days from the deadline for their submission.

Applications that meet the conditions set forth in this invitation are assessed as satisfactory, otherwise the applications are assessed as unsatisfactory and rejected. Moreover, at the bid opening and evaluation session, the commission rejects applications that lack price offers and/or bid security or are submitted in a manner that does not meet the requirements of the invitation, except for the case specified in point 8.9 of part 1 of this invitation.

8.3 In order to determine the selected and unrecognized participants, the chairman of the committee automatically creates a protocol on the evaluation of applications, which is approved in the system by the committee members by making a note in the system.

8.4 The selected participant is determined from the number of participants who submitted satisfactory evaluated bids, on the principle of giving preference to the participant who submitted the lowest price offer. Moreover, when determining the participants selected by the commission and not recognized as such, the evaluation and comparison of price offers is carried out without calculating the tax amount specified in point 5.2 of part 1 of this invitation, and the bids are evaluated based on the price offer attached to the system and approved by the participant.

8.5 If there is a discrepancy between the amounts written in words and figures in the bid, the amount written in words shall prevail. If the proposed prices are presented in two or more currencies, they shall be compared in Armenian drams at the exchange rate set by the Central Bank of the Republic of Armenia on the given day (the day of submission of bids).

8.6 HThe commission determines and announces the selected and non-selected participants from among the participants who submitted applications that met the requirements of the invitation. In the case of the purchase of construction projects, the commission also evaluates the compliance of the technical specifications of the submitted devices and equipment with the requirements of the invitation. In the event of equality of the minimum prices offered:

a. In order to determine the selected and non-selected participants, simultaneous negotiations are held with the participants who submitted equal prices at the commission session, if these participants (representatives with appropriate authority) are present at the session,

b. otherwise, the committee meeting shall be suspended, and within one working day, the committee secretary shall simultaneously notify the participants who submitted equal prices through the system, by non-automatic notification method, of the conditions, duration, day, time and place of conducting simultaneous negotiations on price reduction,

c. negotiations shall be held no earlier than the second and no later than the fifth business day following the date of sending the notice,

d. The price offer submitted by each participant at a given time is published for the other participant, and the participant may revise its price offer before the end of the deadline for negotiations,

e. At the end of the deadline for negotiations, the selected and non-selected participants are determined and announced based on the prices submitted by the participants present. If, as a result of the negotiations, the prices submitted by the participants remain equal, the procurement procedure is declared invalid based on Article 37, Part 1, Clause 1 of the Law.

8.7 If the prices of the participants who submitted applications that are evaluated as satisfactory in relation to the requirements of the invitation exceed the purchase price, the evaluation committee may declare the participant who submitted the lowest price offer the selected participant, provided that the rights and obligations of the parties stipulated in the contract concluded with the latter shall come into force in the event that additional financial resources are envisaged in an amount exceeding the purchase price and an agreement is concluded between the parties on this basis. Moreover, the agreement shall be concluded within fifteen working days following the provision of additional financial resources, extending the terms of work performance by the period from the date of conclusion of the contract to the date of conclusion of the agreement. The contract concluded in accordance with this clause shall be terminated if additional financial resources are not envisaged within sixty calendar days following its conclusion. The requirements of this clause shall not apply when more than one participant has submitted applications and only one participant's application has been assessed as satisfactory in relation to the requirements of the invitation.

In case of non-application of this clause, the procedure shall be declared null and void pursuant to Article 37, Part 1, Clause 1 of the Law.

8.8 In case of request, the secretary of the commission shall immediately provide copies of the application of any participant to the other participant who has submitted such a request. In case of impossibility of fulfilling the request, the documents included in the application shall be immediately provided to the person who submitted the request, which the latter shall familiarize himself with on the spot, shall have the right to take photographs of them and shall return them to the secretary of the commission during the session, without hindering the normal activities of the commission.

8.9 If during the bid opening and evaluation sessionresults of the evaluation carried outThe participant's application shall record:discrepancies with the requirements of the invitation, including the case when the documents approved by the participant who is a resident of the Republic of Armenia included in the application or part of them are not approved by an electronic digital signature and / or / when a person included in the list provided for in subparagraph 2 of paragraph 2 of the RA Government Decision No. 817-A dated 20.06.2025 is proposed by the participant as a subcontractor, then the commission suspends the session for one working day, and the commission secretary informs the participant about this on the same day through the system, suggesting that the discrepancy be corrected before the end of the suspension period.

The notification sent to the participant shall describe in detail all discrepancies identified during the evaluation of the application.

8.9.1 In the event that, before the contract is signed by the customer, it is found out that the participant is included in the list provided for in subparagraph 2 of paragraph 2 of the RA Government Decision No. 817-A dated 20.06.2025, the participant's application is rejected.

8.10 If the participant corrects the recorded non-compliance within the period specified in paragraph 8.9 of this invitation, then the latter's application is assessed as satisfactory. Otherwise, the application of the given participant is assessed as unsatisfactory and rejected, and the participant occupying the next place is recognized as the selected participant.

8.11 A member or secretary of the commission may not participate in the work of the commission if, during the activities of the commission, it is revealed that an organization founded by them or in which they have a share (stock), or a person related to them by close kinship or affinal relationship (parent, spouse, child, brother, sister, grandmother, grandfather, grandchild, as well as the parent, child, brother, sister, grandmother, grandfather, grandchild of the spouse) or an organization founded by that person or in which they have a share (stock) has submitted an application for participation in this procedure. If the condition provided for in this point exists, then the member or secretary of the commission who has a conflict of interest in relation to this procedure shall immediately withdraw from this procedure.

8.12 After the bids are opened and evaluated, a protocol is drawn up in accordance with the procedure established by the RA legislation on procurement. Moreover, the protocol of the commission meeting describes in detail the discrepancies recorded as a result of the bid evaluation and the grounds for rejecting the bids based on them. The protocol is signed by the members present at the commission meeting.

8.13 The Secretary of the Commission shall, no later than the end of the bid opening and evaluation session, the next working day:

1) A printed (scanned) version of the original minutes of the bid opening and evaluation session and the summary of the discussion of the justifications specified in point 3.5 of part 1 of this invitation, which also contains information on the date and e-mail addresses of receipt of the justifications, shall be published in the bulletin. If justifications have not been submitted, appropriate notes shall be made about this in the minutes of the committee session.

2) publishes in the bulletin printed (scanned) versions of the original declarations of absence of conflict of interest signed by him and the members of the evaluation committee present at the session of opening and evaluation of applications. The members of the committee who participate in the work of the committee at the sessions convened after the session of opening and evaluation of applications shall sign the declarations provided for in this subparagraph, which the secretary shall publish in the bulletin on the working day following their signing.

8.14 In case of emergence of the grounds provided for in Article 6, Part 1, Clause 6 of the Law, the authorized body, based on the reasoned decision of the head of the customer, includes the participant in the list of participants not entitled to participate in the procurement process. The authorized body publishes the reasoned decision of the head of the customer in the bulletin within five working days following the date of receipt of the decision.

Moreover, The decision specified in this point shall be made by the head of the contracting authority on the tenth day following the day of declaring the procurement procedure to be uncompleted or publishing the announcement on the concluded contract or publishing the announcement (notification) on the unilateral termination of the contract. On the day following the decision, it shall be provided in writing to the authorized body and the participant. The authorized body shall include the participant in the list of participants not entitled to participate in the procurement process on the fifth day following the fortieth day following the receipt of the decision, and in the event of an uncompleted court case initiated by the participant on the appeal of the decision as of the fortieth day following the receipt of the decision, on the fifth day following the date of entry into force of the final judicial act in the given court case, if the possibility of enforcing the decision has not been eliminated as a result of the judicial examination.

If:

- If, by the deadline for submitting the decision to the authorized body provided for in this paragraph, the participant or the person who concluded the contract has paid the amount of the application, contract and (or) qualification security, the customer does not submit the reasoned decision to include the given participant in the list to the authorized body.

- The payment of the application, contract and (or) qualification security amount by the participant or the person who concluded the contract was made after the deadline for submitting the decision to the authorized body, but no later than the expiration of the forty-day period established by the authorized body for including the participant in the list, and in the event of an uncompleted court case initiated by the participant on the appeal of the decision as of the fortieth day following receipt of the decision, no later than the entry into force of the final court act in the given court case, then the customer shall notify the authorized body in writing of this, on the basis of which the participant is not included in the list.

Moreover:

- if the participant's application-declaration on the right to participate in the procurement is qualified as untrue or the participant does not submit the documents stipulated in the invitation in the manner and within the time limits specified in this invitation, including cases when the participant does not correct or does not completely correct the discrepancies recorded as a result of the evaluation of the application within the specified time limits, including whenIncluded in the list provided for in subparagraph 2 of paragraph 2 of the RA Government Decision No. 817-A dated 20.06.2025the person is proposed by the participant as a subcontractor, or the selected participant does not submit a qualification or contract security, or if the procedure is organized in accordance with the regulation provided for in Part 6 of Article 15 of the RA Law on Procurement and as a result of it, the person who concluded the contract with the aim of concluding an agreement does not replace the contract and (or) qualification security submitted in the form of a unilaterally confirmed statement - penalty (hereinafter also referred to as penalty) within the specified period with a bank guarantee or cash, then this circumstance is considered a violation of the participant's obligation within the framework of the procurement process.

-sThe circumstance provided for in point 8.9.1 of part 1 of the same invitation is not considered a breach of the obligation undertaken within the framework of the procurement process.

8.15 If the participant is included in the lists provided for in Article 6, Part 1, Parts 5 and 6 of the Law after the date of submission of the application, then his/her application is not subject to rejection.:

8.16 The participant must submit the documents specified in point 8.9 of part 1 of this invitation within the specified period.The Secretary shall be obliged to confirm receipt of the documents on the day of receipt by sending a confirmation from his/her email address specified in this invitation to the participant's email address.

8.17 Participants and their representatives may attend committee meetings. Participants or their representatives may request copies of the minutes of committee meetings, which shall be provided within one calendar day.

8.18 Electronic notifications from the Commission and (or) the Client are sent through the system, and from the participant - from the e-mail address specified in his application to the e-mail address of the Commission Secretary specified in this invitation.by being sent.

In the case of electronic exchange of information (documents), the participant confirms the information (documents) with an electronic digital signature, the certificate of which must be included in the identification card issued in accordance with the procedure established by the Law of the Republic of Armenia "On Identification Cards", or sends the information (documents) in a printed (scanned) version of the approved original document.

A resident of the Republic of ArmeniaThe attachments are the supporting documents included in the application.documents are certified with an electronic digital signature, and the Republic of ArmeniaParticipants who are not residents of the state shall submit these documents in a printed (scanned) version of the certified original document.

Documents included in the application that are certified with an electronic digital signature are not sealed.

8.20 In case the selected participant does not sign the contract (refuses) or is deprived of the right to sign the contract, the participant occupying the next place shall be recognized as the selected participant by the decision of the commission, applying the procedure set forth in paragraphs 8.13 to 8.19 of Part 1 of this invitation.

8.21 The participant may submit additional documents, information and materials to substantiate compliance with the requirements presented to him.

The Commission may verify the authenticity of the data submitted by the participant using data obtained from official sources or by receiving a written conclusion from the competent authorities. In the event of such a request being sent, the relevant state and local self-government bodies shall provide a written conclusion within two working days following the date of receipt of the request. If, as a result of verification of the authenticity of the data submitted by the participant, the data is deemed to be untrue,If the applicant fails to respond, the application of the participant in question is rejected.

8.22 An extraordinary meeting of the committee may be convened for the purpose of implementing paragraph 8.21 of Part 1 of this invitation.

8.23Selected participant to decide session at the end subsequent working the day  commission secretary:

1)Hdisorganization note is procedure sufficient evaluated participants: them classifying according to evaluation results and price offers;

2)The system sends the minutes of the committee meeting on the evaluation results to the e-mail addresses of the procedure participants.

8.24Before concluding a contract, the customer publishes an announcement in the bulletin about the decision to conclude a contract no later than the first working day following the adoption of the decision on the selected participant. The contract award decision contains summary information on the evaluation of the bids and the reasons justifying the selection of the selected participant, and a statement on the period of inactivity.

8.25 The standstill period is the period between the day following the date of publication of the announcement of the decision to conclude the contract and the day on which the contracting authority becomes competent to conclude the contract.

Inactivity deadline this procedure in the case of "10" calendar day is. Inactivity deadline applicable.

- not,if only onemhas submitted an application, whose back being sealed is contract,

- also in the case where only one participant submitted a bid and it was rejected. In the case of application of this clause, the period of inactivity is determined by the statement declaring the procurement procedure to be unsuccessful.

The contracting authority shall conclude the contract if no participant appeals the decision to conclude the contract within the period of inactivity provided for in this clause. A contract concluded before the expiry of the period of inactivity or without the publication of a notice declaring the contract concluded or the procurement procedure not completed shall be null and void.

9.CONTRACT SEALING

9.1The contract is concluded by the client based on the decision of the commission. The contract is concluded in writing, by drawing up a single document.

9.2 On the fourth working day following the expiration of the period of inactivity specified in point 8.25 of part 1 of this invitation, the customer shall notify the selected participant, submitting the offer to conclude a contract and the draft contract. Moreover, the contract may be concluded no earlier than on the fourth working day following the expiration of the period of inactivity specified in point 8.25 of part 1 of this invitation.

9.3 The proposal to conclude a contract and the draft contract to be concluded shall be provided to the selected participant by the secretary of the commission electronically. Moreover, in the case of the purchase of construction works, the contract shall include the devices and equipment submitted by the selected participant in the application.

9.4 On the day the customer sends the notification of the contract conclusion to the selected participant, the commission secretary sends a notification to the selected participant's email address through the system about the provision of the contract conclusion offer.

9.5 If the selected participant, after receiving the notification of the award of the contract and the draft contract,․1with a dotIf the bidder fails to sign the contract and submit the qualification and contract documents to the customer within the stipulated period, he/she will be deprived of the right to sign the contract.

In this case, the draft contract approved by the selected participant is submitted to the customer in writing and the note of its submission is recorded in the customer's document management system. The draft contract is approved by the customer's manager within two working days following the emergence of this authority and is provided to the selected participant with an accompanying note on the working day following approval.

9.6 The selected participant, having received the customer's offer to conclude a contract, accepts or rejects the offer presented to him through the system.

9.7 Before the expiration of the period specified in paragraph 9.5 of Part 1 of this invitation, by agreement of the parties, changes may be made to the draft contract, but they may not lead to a change in the characteristics of the subject of the procurement or an increase in the price offered by the selected participant.

9.8 On the working day following the signing of the contract, the commission secretary completes the procedure in the system.

10.QUALIFICATION AND CONTRACT PROVISIONS

10.1 Based on the request to submit qualification and contract guarantees, within 5 working days from the date of its receipt, the selected participant is obliged to submit qualification and contract guarantees. A contract is concluded with the selected participant if the latter submits qualification and contract guarantees.

10.2 The amount of the qualification security shall be equal to 30 percent of the purchase price of the works to be purchased within the framework of this procedure. If the purchase price of the works is less than the contract price to be concluded, the amount of the qualification security shall be calculated in relation to the contract price. The qualification security shall be submitted in the form of cash or guarantees provided by banks. In this case, the security shall be valid at least until the 90th working day following the date of full acceptance of the results of the contract by the customer.including.

Presented in cashThe qualification fee must be transferred to the treasury account "900008000698" opened in the name of the authorized body at the Central Treasury.

The qualification certificate shall be returned to the submitter within five working days following the full acceptance of the contract performance results by the customer.

If the contract is executed in phases and the execution of each phase is not directly related to the final result to be obtained in accordance with the requirements set out in the contract, then after the result of each phase is accepted by the customer, the amount of the qualification security shall be reduced in proportion to the amount of that phase.

The selected participant shall submit the qualification assurance in the form of a bank guarantee in accordance with Appendix 4.1.

Moreover, if works purchase contracts are concluded on the basis of Part 6 of Article 15 of the Law, then the qualification assurance submitted in respect of the agreement(s) concluded for a given year within the framework of the available financial allocations is subject to return if the contractor properly performs the agreement(s) in full and its result is fully accepted by the customer, if the performance of the contract(s) is not phased.

The qualification guarantee is not returned if the person who submitted it violates an obligation stipulated in the contract, which leads to the unilateral termination of the contract by the client.

10.3. The amount of the contract security is 10 percent of the purchase price. If the purchase price of the works envisaged by the draft contract is less than the price of the contract to be concluded, the amount of the contract security is calculated in relation to the contract price. The contract security is submitted in the form of a bank draft (Appendix 5) or cash.

The contract security must be valid at least until the 90th business day following the last day of full performance of the obligations set forth in the contract to be concluded.The contract security shall be returned to the person who submitted it in the event of full fulfillment of the obligations assumed under the concluded contract, within 5 business days following the expiration of the period for full fulfillment of the obligations.

Presented in cashThe contract security must be transferred to the treasury account “900008000664” opened in the name of the authorized body at the Central Treasury.

10.4If the procurement procedure is organized on the basis of Part 6 of Article 15 of the Law and no financial resources are provided at the time of the emergence of the authority to conclude the contract, then the qualification and contract guarantees shall be submitted in the form of a unilaterally confirmed statement in the form of a penalty or cash. If at the time of the emergence of the authority to conclude the contract:

- the intended financial resources exceed 25 million AMD, but financial resources are still required for the full implementation of the contract, then the contract and qualification security, in terms of the allocated financial resources, is submitted in the form of a bank guarantee or cash, and in terms of the required financial resources, in the form of a unilaterally confirmed statement in the form of a penalty or cash.

10.7 The client’s manager shall submit a written request for payment of the contract and qualification security to the bank, and in the case of security submitted in the form of cash, to the Ministry of Finance of the Republic of Armenia, within five working days following the date on which the basis for payment of the security arises. If the request for payment of the security is rejected by the bank or the Ministry of Finance of the Republic of Armenia on the grounds that the request or the accompanying documents are incomplete, the client’s manager shall submit a new request in writing within two working days following the receipt of the rejection.

10.8 The Client's manager shall notify in writing of the return of the contract or qualification security:

- in case of security provided in the form of cash, to the Ministry of Finance of the Republic of Armenia, within five working days following the date on which the grounds for returning the security arise, attaching a copy of the document substantiating the payment;

- in the case of collateral submitted in the form of a bank guarantee, to the bank that issued the guarantee, within five business days following the date on which the basis for returning the collateral arises;

- in the case of collateral submitted in the form of a penalty, to the participant who submitted it, within five business days following the date on which the grounds for returning the collateral arise.

11.PROCEDURE UNEXPECTED DECLARING

11.1 According to Article 37 of the Law, the Commission shall declare this procedure invalid if:

1) none of the applications meet the conditions of the invitation;

2) the procurement requirement ceases to exist. Moreover, the procurement procedure organized for the needs of communities may be declared fully or partially invalid based on the decision of the community council, respectively.

3) no application has been submitted;

4) No contract is signed.

This procedure shall be declared invalid based on Article 37, Part 1, Clause 4 of the Law if the electronic procurement system is disrupted by the time the deadline for submitting applications specified within the framework of this procedure expires.

11.2 Within the working day following the declaration of the procurement procedure as unsuccessful, the contracting authority shall publish a statement in the bulletin stating the justification for declaring the procurement procedure as unsuccessful.

12. ACTIONS RELATED TO THE PURCHASE PROCESS AND (OR)

PARTICIPANT'S RIGHT TO APPEAL DECISIONS

LAW AND ORDER

12․1 Every interested person has the right to appeal the actions (inaction) and decisions of the customer, the evaluation committee in accordance with the procedure established by the Civil Procedure Code of the Republic of Armenia (hereinafter referred to as the Code).

Everyone has the right to appeal the specifications of the procurement object or the requirements of the invitation, in accordance with the procedure established by the Code, before the deadline for submitting applications.

12․2. Relations related to this procedure are not administrative relations and are regulated by the legislation regulating civil legal relations of the Republic of Armenia.

12․3. Damages caused by actions or inaction of the client or the evaluation committee shall be compensated in accordance with the procedure established by the Civil Code of the Republic of Armenia.

12․4. The period of inactivity specified in this invitation is the limitation period for appealing the actions (inaction) and decisions of the customer, the evaluation committee, except for the appeal of decisions provided for in Part 2 of Article 6 of the Law and disputes related to the unilateral termination of the contract, in which case the limitation period for appealing the decisions is thirty calendar days.

12․5․This procedure back related the argumentsshall be examined and resolved within thirty days after the application is accepted for proceedings in the Yerevan Court of First Instance. The period provided for in this part may be extended once by up to ten calendar days by a reasoned decision of the court.

12.6. The court shall decide whether to accept the claim for proceedings within three days after its submission.

12.7. Simultaneously with the acceptance of the claim for proceedings, the court shall make a decision to request from the defendant all evidence in the defendant's possession related to the given procurement process.

12.8. The decision to request evidence shall be made within five days after the defendant receives the decision.

If the defendant fails to comply with the requirements of the decision to request evidence within the period provided for in this paragraph, the case shall be examined on the basis of the evidence available therein, and the facts referred to by the plaintiff that are subject to confirmation by evidence in the defendant's possession shall be deemed confirmed.

12․9. The court shall consolidate the cases under consideration in its proceedings regarding disputes provided for in this section relating to this procurement process into one proceeding.

12․10. The decision to accept the application for proceedings shall be immediately sent to the official e-mail address of the authorized body. The authorized body shall immediately publish the decision provided for in this paragraph in the bulletin, indicating the date of suspension.

12․11․The client shall submit the response to the claim within five days after receiving the decision to accept the claim for proceedings.

12․12 The persons participating in the case and their representatives shall be notified of the time and place of the court session, as well as of the performance of individual procedural actions in cases provided for by the Code, through electronic communication by sending notices and other documents to the e-mail address specified in the claim in accordance with the procedure established by Article 97 of the Code.

12․13․The court shall examine cases with disputes provided for in this section and shall make judgments and decisions on them in a written procedure, except for cases when the court, upon the petition of a person participating in the case or on its own initiative, has come to the conclusion that it is necessary to examine the case in a court session.

12․14. A person participating in the case may submit a motion to have the case examined in a court session before the expiration of the period set for submitting a response to the claim.

12․15. The court shall make a decision to examine the case in a court session within three days after the expiration of the period set for submitting a response to the claim.

12․16. The issue of examining the case in a court session may also be resolved by a decision to accept the claim for proceedings.

12․17․The defendant bears the burden of proving the circumstances underlying the disputed actions (inaction) and decisions, as well as the facts that the procedure established by law and other legal acts for the performance of these actions (inaction) and the adoption of the decision was observed.

12․18․The respondent may present evidence substantiating the legality of the disputed actions (omissions) and decisions only during the execution of the decision to request evidence, except in cases where he justifies the impossibility of presenting evidence for reasons beyond his control.

12․19. Appealing the actions (inaction) and decisions of the Client and the Evaluation Committee (except for decisions provided for in Part 2 of Article 6 of the Law) automatically suspends the procurement process, as provided for in Article 12 of this invitation.․10with a dot intendedfrom the date of publication of the decision until the date of entry into force of the final judicial act issued by the court of first instance based on the results of the examination of the dispute.

12․20․In cases where, in the interests of public or defense and national security, it is necessary to continue the procurement process, the court shall, based on the written petition of the heads of the bodies specified in Part 1 of Article 2 of the Law, and in the case of legal entities, of the head of the executive body, make a decision to lift the suspension of the procurement process. The court shall immediately send the decision provided for in this paragraph to the official e-mail address of the authorized body on the day of its adoption. The authorized body shall immediately publish this decision in the gazette.

12․21․The final judicial act of the court in disputes related to the appeal of actions (inaction) and decisions of the client and the evaluation committee enters into force from the moment of publication.

12.22․In disputes related to the appeal of actions (inaction) and decisions of the client and the evaluation committee, the final part of the court judgment or other final judicial act shall be sent to the official e-mail address of the authorized body on the day of its publication. The authorized body shall immediately publish the final part of the court judgment or other final judicial act in the bulletin.

12․23․ Appeal number chargeableThe rates of state duties are set by the Law "On State Duties".

PART  II

H R A H A N G

B A T   COMPETITION   H A Y T H   P A T R A S T E L AND

1.GENERAL PROVISIONS

1.1 This instruction is intended to assist participants in preparing their application.

1.2 If appropriate, the participant may submit the required information in forms other than those recommended by this instruction, while maintaining the required requisites.

1.3 Applications, in addition to Armenian, may also be submitted in English or Russian.

2.PROCEDURE THE APPLICATION

To participate in the procedure, the participant submits an application through the system. The application is accompanied by the relevant documents (information) provided for in this invitation.

The participant submits with the application the following, certified by him/her:

1) "Criteria of Competence".

2.1 Application for participation in the procedureaccording to Appendix N 1.

2.2 a copy of the subcontract agreement and the details of the person party to it, if the contract will be implemented through an agency;

2.3 joint activity agreement, if the participants participate in the procurement procedure in a joint activity manner (consortium);

2.4 Application security, which is submitted in the form of cash or bank guarantee (Annex No. 3). Moreover, a legible printed (scanned) version of the original document confirming the payment of cash or the original bank guarantee is submitted with the application.

2.5"Implementation of construction in the field of urban development"license, with insert." Works  implementation number required specialcbehind  list:

2) "Financial criterion".

2.5 Price offer in accordance with Appendix N 2. The price offer is presented in the form of a calculation consisting of general components of value (sum of cost price and projected profit) and value added tax. Calculation of cost components: no gaps or other details are required and are presented:

The price offer must be submitted as the total price of the bill of quantities (2026-2027) separated by the given quantity.

2.6 in the case of the purchase of construction works, a confirmation confirmed by him, in accordance with Appendix N 1.1, with the design documents attached to this invitation, which is also an integral part of the contract to be concluded, on the obligation to install (use) materials and (or) devices and equipment that comply with the specified technical specifications and warranty service conditions, having previously agreed in writing with the customer their technical specifications, trademarks, brand names, brands and warranty periods before installation (use). The confirmation provided for in this point is also confirmed by a separate appendix to the contract to be concluded.

2.7 The documents prepared by the participant under this invitation shall be signed by the person submitting them or by the latter's authorized person (hereinafter referred to as the agent). If the application is submitted by an agent, a document confirming that the latter has been granted this authority shall be submitted with the application.

2.8 Notarized copies of documents may be submitted instead of originals included in the application.

3. The participant(s) shall also submit with the application: "Implementation of construction in the field of urban development"license, with insert." Works  implementation number required specialcbehind  listAppendix N 1.4.:

Appendix  No. 1

Code: AHMAIM-ABMASHDB-2026/5

Urgent urgent open tender invitation

APPLICATION STATEMENT*

Urgentto participate in an urgent open competition

reports is,that desire has participate in the Republic of Armenia

Ararat Governor's StaffEmergency declared by the Ministry of Health with the code АХАНИН-АБМАШДБ-2026/5

urgent open competition    					     the dose and invitation requirements

appropriate representation  is

portion  (portions)number

application.

-n reports and confirmation is,which is

participant name

resident.

country name

-to:

participant name

- taxpayer registration numberis` 					.

taxpayer registration number

- electronic mail address is` 							.

email address

- The address of the business is:								.

business address

- The phone number is:									.

phone number

Hereby                                                                                     -declares and confirms that:

participant name

1)                                                                                     -and its affiliated persons

participant name

meet the eligibility requirements set out in the invitation to tender under the code АНАУИ-АБМАШДБ-2026/5 and                                                                                 -nis committed to the chosen

participant name

If recognized as a participant, submit a qualification certificate within the procedure and time period specified in the invitation.

2) Within the framework of participating in the urgent open tender with the code АНАУМ-АБМАШДБ-2026/5:

- has not allowed and (or) will not allow unfair competition, abuse of dominant position and anti-competitive agreements,

- is missing the one specified in the invitation: 			                   		in

participant name

related parties and/or 				    				                    of

participant name

founded by or more than fifty percent 			   			                   in

participant name

A case of simultaneous participation of organizations with a share (equity) owned by them.

Below is the			   			                   of the real beneficiaries of

participant name

Link to the website containing information about: --------------------------------------------**

Attached is a statement of commitment to install materials and/or devices and equipment that comply with the technical specifications set forth in the design documents attached to the invitation.

___________________________________________________	                _____________				 Participant name (leader position, anun last name)                                                            signature)

K.T.

**- When filling out the application, the participant who is a resident of the Republic of Armenia indicates "State registration of legal entities, subdivisions of legal entities, institutions and individual entrepreneurs" about" law according to: legal persons state registry at the agency registered:a link to a website containing information about its beneficial owners,

- if the participant is not a resident of the Republic of Armenia, then when filling out the application-declaration, the words <<link to the website containing information>> are replaced with the words <<declaration in accordance with Appendix 1.3>>,

-if the participant is a sole proprietor or an individual, he/she does not submit information about the actual beneficiaries.

Appendix1.1

Code: AHMAIM-ABMASHDB-2026/5

urgent open tender invitation

CONFIRMATION

on the obligation to install materials and (or) devices and equipment that comply with the technical specifications and warranty service conditions specified in the invitation

-ncertifies that the 2026/5

participant name

In case of being recognized as a selected participant within the framework of the urgent open tender with the code, the participant undertakes to install (use) materials and (or) devices and equipment that comply with the technical specifications and warranty service conditions set forth in the design documents submitted with the contract during the performance of the works stipulated in the contract concluded within the framework of the tender with the same code, prior to installation (use)their technical specifications, trademarks, brand names, brands and warranty periods are agreed upon in advance in writing with the customer.

participant's name (leader's position, first name, last name)  		                           signature

K.T.

Appendix1.3**

Code: AHMAIM-ABMASHDB-2026/5

urgent open tender invitation

FORM

STATEMENT ON BENEFICIARY OWNERS

- The organization

  - Organization details

| - The name |  |
| --- | --- |
| - Name in Latin letters |  |
| - State registration number |  |
| - Registration day, month, year |  |
| - Registration address |  |
| - State of registration |  |
| - Name and surname of the head of the executive body |  |

  - Person submitting the declaration

| - Name and surname of the person submitting the declaration |  |
| --- | --- |
| - Position of the person submitting the declaration |  |

  - Submission of the declaration

| - Day, month, year of signing the declaration |  |
| --- | --- |
| - Number of pages in the declaration |  |
| - Signature of the person submitting the declaration |  |

- Stockslisting information

  - Stock listing data

| - Name of the stock exchange |  |
| --- | --- |
| - Link to documents available on the exchange |  |

  - Information about the legal entity controlling the organization

| - The name |  |
| --- | --- |
| - Name in Latin letters |  |
| - State registration number |  |
| - Registration day, month, year |  |
| - Registration address |  |
| - State of registration |  |
| - Name and surname of the head of the executive body |  |

  - Level of control

| - Participation rate (%) |  |
| --- | --- |
| - Participation type | ☐ Direct participation ☐ Indirect participation |

- Participation of a state, community or international organization

  - State or community participation

| - State name |  |
| --- | --- |
| - Community name |  |
| - Participation rate (%) |  |
| - Participation type | ☐ Direct participation ☐ Indirect participation |

  - Participation of an international organization

| - Name of international organization |  |
| --- | --- |
| - Name of international organization in Latin letters |  |
| - Participation rate (%) |  |
| - Participation type | ☐ Direct participation ☐ Indirect participation |

- Beneficial owner information

  - Personal identification data

| - Name |  |
| --- | --- |
| - Last name |  |
| - Name (Latin) |  |
| - Last name (Latin letters) |  |
| - Citizenship |  |
| - Birthday day, month, year |  |

  - Identity document

| - Document type |  |
| --- | --- |
| - Document number |  |
| - Date, month, year of issue |  |
| - Granting authority |  |
| - SSN or equivalent number |  |

  - Personal registration address

| - The state |  |
| --- | --- |
| - The community |  |
| - Administrative unit |  |
| - Street name, building (house), apartment |  |

  - Person's residential address

| - The state |  |
| --- | --- |
| - The community |  |
| - Administrative unit |  |
| - Street name, building (house), apartment |  |

  - Basis for being a beneficial owner (except for reporting organizations in the subsoil use sector)

| ☐ a․directly or indirectly owns 20 percent or more of the voting shares (stocks, units) of the legal entity or directly or indirectly has a 20 percent or more participation in the authorized capital of the legal entity |  |
| --- | --- |
| - Participation rate (%) |  |
| - Participation type | ☐ Direct participation ☐ Indirect participation |
| ☐ b․exercises real (de facto) control over the legal entity by other means |  |
| ☐ c․ is an official exercising general or current management of the activities of the legal entity in question in the event that there is no natural person meeting the requirements of points "a" and "b" |  |

  - Basis for being a beneficial owner (for reporting organizations in the subsoil use sector)

| ☐ a․ directly or indirectly owns 10 percent or more of the voting shares (stocks, units) of the legal entity or directly or indirectly has a 10 percent or more participation in the authorized capital of the legal entity |  |
| --- | --- |
| - Participation rate (%) |  |
| - Participation type | ☐ Direct participation ☐ Indirect participation |
| ☐ b․ has the right to appoint or remove the majority of members of the management bodies of the legal entity |  |
| ☐ c․ received a benefit from a legal entity free of charge in the amount of at least 15 percent of the profit received by the legal entity in the year preceding the reporting year |  |
| ☐ d․ exercises real (de facto) control over a legal entity through other means |  |
| ☐ e․ is an official exercising general or current management of the activities of the legal entity in the event that there is no natural person meeting the requirements of points "a" - "d" |  |

  - Information on the status of the beneficial owner

| - Day, month, year of becoming the beneficial owner |  |
| --- | --- |
| - Exercising control over the organization | ☐ Separately ☐ Jointly with affiliated persons |
| - The beneficial owner of a reporting entity in the subsoil use sector is an official or a member of his family | ☐ Yes ☐ No |

  - Beneficial owner contact information

| - Email․email address |  |
| --- | --- |
| - Phone number |  |

- Intermediate legal entities

  - Organization details

| - The name |  |
| --- | --- |
| - Name in Latin letters |  |
| - State registration number |  |
| - Registration day, month, year |  |
| - Registration address |  |
| - State of registration |  |
| - Name and surname of the head of the executive body |  |

  - Beneficial owner information

| - Name and surname of the beneficial owner(s) for whom the organization is an intermediate legal entity |  |
| --- | --- |

  - Intermediate legal entity share listing data

| - Name of the stock exchange |  |
| --- | --- |
| - Link to documents available on the exchange |  |

Additional notes

Additional information or additional clarifications related to the data completed or to be completed in the declaration

I. Procedure for filling out the declaration

- Section 1 of the declaration (Organization) contains the data of the legal entity submitting the declaration (hereinafter referred to as the Organization). The subsections in this section are filled in according to the following rules:․

  - In the "Organization Data" subsection, the name of the Organization (including Latin letters) and state registration data are filled in, including a note on the organizational and legal form.

  - In the subsection "Person submitting the declaration" the data of the natural person who signs the documents included in the application for this procedure is filled in.

  - In the "Submission of the Declaration" subsection, the day, month, year of signing the declaration, the number of pages of the declaration, as well as the signature of the person submitting the declaration are filled in.

- Section 2 of the Declaration (Share Listing Information) shall be completed if the shares of the Organization or another legal entity that fully controls the Organization are listed on a market included in the list of markets regulated by the criteria for adequate disclosure of beneficial owners approved by the Minister of Justice of the Republic of Armenia. In case of compliance with the specified criteria, this section shall be completed for the Organization or another legal entity that fully controls the Organization. In case of completion of this section, the subsequent sections of the declaration shall not be subject to completion, except for Section 5, which shall be completed if the legal entity that fully controls the Organization has an indirect participation in the authorized capital of the Organization. The subsections in this section shall be completed according to the following rules:․

  - In the subsection "Share Listing Data", the name of the stock exchange is filled in, indicating in brackets the Market Identifier Code of the exchange where the shares of the Organization or another legal entity that fully controls the Organization are listed, as well as a reference is made to the documents available on the exchange, if any, to those documents that contain information about the owners of the legal entity in question.

  - The subsection “Data of the legal entity controlling the organization” is filled in if the data filled in subsection 2.1 of the declaration does not refer to the legal entity submitting the declaration, but to another legal entity that fully controls the organization. This subsection contains the name (including Latin letters) and registration data of the legal entity controlling the organization, including a note on the organizational and legal form, as well as the name and surname of the head of the executive body.

  - The subsection "Control Level" is filled in if declaration 2․Subsection 1 contains data related to the legal entity that fully controls the Organization. This subsection indicates the amount of participation of the legal entity that controls the Organization in the authorized capital of the Organization, expressed in percentage, as well as the type of participation. Notes on the amount and type of participation in the authorized capital are made taking into account the rules set forth in paragraph "a" of subparagraph 5 of paragraph 4 of this procedure.

- Section 3 of the Declaration (Participation of a State, Community or International Organization) is completed if any state, community or international organization has a direct or indirect participation in the Organization's charter capital. The section may be completed several times if several states, communities or international organizations have a direct or indirect participation in the Organization's charter capital. The subsections in this section are completed according to the following rules:․

  - The subsection “State or community participation” is filled in if there is a direct or indirect participation of the state or community in the statutory capital of the legal entity submitting the declaration. In case of state participation, the name of the state is filled in this subsection, and in case of community participation, the name of the community is also filled in this subsection. The amount of the state or community participation in the statutory capital of the legal entity, expressed in percentage, as well as the type of participation are also filled in this subsection. Notes on the amount and type of participation in the statutory capital are made taking into account the rules set forth in paragraph “a” of subparagraph 5 of paragraph 4 of these Rules.

  - The subsection “Participation of an international organization” is filled in if there is a direct or indirect participation of an international organization in the authorized capital of the legal entity submitting the declaration. This subsection contains the name of the international organization (including Latin letters), the amount of participation of the international organization in the authorized capital of the legal entity, expressed in percentage, as well as the type of participation. Notes on the amount and type of participation in the authorized capital are made taking into account the rules established in paragraph “a” of subparagraph 5 of paragraph 4 of these Rules.

- Section 4 of the Declaration (Beneficial Owner Data) is completed separately for each beneficial owner, with the number of beneficial owners of the Organization. The subsections in this section are completed according to the following rules:․

  - In the subsection "Personal identification data" the personal data of the beneficial owner shall be filled in. The data shall be filled in as they are filled in the identification document of the beneficial owner. If the person's name and surname are not in Armenian or Latin letters in the latter's identification document, their transcription shall be filled in the declaration.

  - In the subsection "Identity document" information is filled in regarding the identity document of the beneficial owner:

  - In the subsection "Registration address of the person" the address of the place of registration of the beneficial owner is filled in.

  - The subsection "Residence address of the person" is filled in if the registration address of the beneficial owner differs from the latter's residence address. The address of the beneficial owner's residence is filled in this subsection.

  - The subsection “Grounds for being a beneficial owner (except for reporting organizations in the subsoil use sector)” is filled in if the legal entity submitting the declaration is not a reporting organization in the subsoil use sector. This subsection indicates on which basis(s) the person is a beneficial owner of the Organization, as provided for in the Law “On Combating Money Laundering and Financing of Terrorism”, and includes the information required in relation to these grounds. In case of being a beneficial owner on more than one basis, a note is made in relation to all grounds, in the relevant items. In this subsection, data on the grounds is filled in according to the following rules․

a․In point “a” of this subsection, a note is made if an individual directly or indirectly owns 20 percent or more of the Organization’s voting shares (stocks, units) or directly or indirectly has a 20 percent or more participation in the Organization’s authorized capital. Participation may be by virtue of ownership of the Organization’s share (stock, unit) (direct participation) or by virtue of ownership of the share (stock, unit) of another legal entity that owns the Organization’s share (stock, unit) (indirect participation). Indirect participation may be carried out regardless of the number of intermediate legal entities in the chain between the individual and the legal entity that owns the Organization’s share (stock, unit). The “Amount of participation” field indicates the amount of participation in the Organization’s authorized capital, expressed as a percentage. The amount of participation is calculated based on the sum of all percentages of participation in the authorized capital of the Organization as a result of the direct and indirect participation of the beneficial owner. In case of indirect participation, the participation of the beneficial owner in the authorized capital of the Organization is calculated based on the participation of each previous intermediate organization, that is, by multiplying the percentage participation of the participating legal entity of the Organization by the percentage participation of the corresponding participant in the authorized capital of the participating legal entity, and so on until the beneficial owner is reached. In the “Type of participation” field, a note is made about whether the participation in the authorized capital is direct or indirect. In case of both direct and indirect participation in the authorized capital, a note is made about the presence of both direct and indirect participation at the same time.

b․A note is made in point "b" of this subsection if a person is not a beneficial owner of the organization within the meaning of point "a", but controls the Organization by virtue of legal instruments (including concluded transactions), on the basis of personal influence of another nature or by other means.

c․A note shall be made in point "c" of this subsection if the person is an official exercising general or current management of the activities of the Organization in the event that there is no natural person meeting the requirements of points "a" and "b" of this subsection.

  - The subsection “Basis for being a beneficial owner (for reporting organizations in the subsoil use sector)” is filled in if the legal entity submitting the declaration is a reporting organization in the subsoil use sector. The disclosure of beneficial owners is carried out in accordance with the criteria established by the Subsoil Code. The entries in this subsection are made in accordance with Article 4 of this Procedure.․Taking into account the rules set out in point 5. In this subsection, the data on the grounds are supplemented by the following rules:․

a․In point "a" of this subsection, a note is made if the individual directly or indirectly owns 10 percent or more of the voting shares (stocks, units) of the legal entity or directly or indirectly has a 10 percent or more participation in the authorized capital of the legal entity. This subsection is supplemented by taking into account the rules set forth in paragraph "a" of sub-point 5 of point 4 of this procedure.

b․In point "b" of this subsection, a note is made if the person has the right to appoint or remove the majority of members of the management bodies of the legal entity:

c․A note shall be made in point "c" of this subsection if the person received from the Organization, free of charge, a benefit in the amount of at least 15 percent of the profit received by the legal entity in question during the year preceding the reporting year.

d․A note is made in point "d" of this subsection if a person is not a beneficial owner of the Organization within the meaning of points "a"-"c", but controls the Organization by virtue of legal instruments (including concluded transactions), on the basis of personal influence of another nature, or by other means.

e․A note shall be made in point "e" of this subsection if the person is an official exercising general or current management of the Organization's activities in the event that there is no natural person meeting the requirements of points "a"-"d" of this subsection.

  - The subsection “Information on the status of the beneficial owner” shall include the day, month, and year of the person becoming the beneficial owner of the Organization. This subsection shall include a note on the form of control exercised by the beneficial owner over the Organization. A note shall be made on the exercise of joint control with related parties if the beneficial owner controls the Organization by virtue of acting in concert with a related party or may control it in concert with a related party. If the legal entity submitting the declaration is a reporting organization in the subsoil use sector, this subsection shall also include a note on whether the beneficial owner is an official or a member of his family within the meaning of Article 3, Part 1, Clause 53 of the Subsoil Code.

  - In the subsection "Beneficial Owner's Contact Information", the email address and phone number of the beneficial owner are filled in.

- Section 5 of the Declaration (Intermediate Legal Entities) is completed if the beneficial owner of the legal entity submitting the declaration or the legal entity that fully controls the Organization has an indirect participation in the authorized capital of the Organization. This section is subject to completion for each intermediate legal entity separately, in the number of all intermediate legal entities. The subsections in this section are completed according to the following rules:․

  - In the "Organization Data" subsection, the name of the intermediate legal entity (including Latin letters) and registration data are filled in, including a note on the organizational and legal form.

  - In the subsection "Beneficial Owner Data" the name and surname of the beneficial owner(s) for whom the organization filled in this subsection is an intermediate legal entity shall be filled in. If the data of intermediate legal entities is filled in for the legal entity that fully controls the Organization, this subsection shall not be filled in.

  - The subsection “Listing data of shares of the intermediate legal entity” is not subject to mandatory completion. This subsection may be completed if the shares of the intermediate legal entity are listed on a regulated market. This subsection shall include the name of the stock exchange, indicating in brackets the code of the exchange (Market Identifier Code) where the shares of the legal entity are listed, as well as a reference to the documents available on the exchange.

- Section 6 of the Declaration (Additional Notes) is completed if there is additional information or additional clarifications related to the data completed or to be completed in the declaration. This subsection may contain additional clarifications regarding the grounds for the beneficial owner to control the Organization, regarding the state (community) bodies that exercise control over the Organization in the event that there is a direct or indirect participation of the state or community in the authorized capital of the legal entity submitting the declaration, and other clarifications related to the declaration.

- The declaration is completed and signed by the person submitting the application. Numbering the pages of the declaration and noting the number of pages in the declaration is not mandatory.

** 1.3The application is not submitted by the participant if the latter is a resident of the Republic of Armenia, as well as if the participant is an individual entrepreneur or an individual.

Appendix1.4

AHMA-ABMASHDB-2026/5covercwith water

Urgent open competition invitation

INFORMATION

about the main staff proposed for the execution of the contract to be concluded

ABOUT

| h/h | Specialists included in the core staff |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | first name, last name | qualification | work experience |  | employer name |
|  |  |  | period | field of activity and work performed |  |

Attached is the written consent of the specialists mentioned in this information regarding their involvement in the work to be carried out, as well as the documents required by the invitation.

participant's name (leader's position, first name, last name)  				                                                                    signature

K.T

Appendix 2

Code: AHMAIM-ABMASHDB-2026/5

urgent open tender invitation

G N A Y I N A R A J A R K

Having examined the invitation to tender for an urgent open tender with the code АНАУН-АБМАШДБ-2026/5, including the draft contract to be signed,                  				     		           offers

participant name

to perform the contract at the following total prices:

Armenian dram

| Size- section numbers | Job title | Value (the sum of the cost price and the projected profit) /in letters and numbers/ | VAT** /with letters and numbers/ | Total price /with letters and numbers/ |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5=3+4 |
| 1 | Construction of a kindergarten in Yeghegnavan settlement, Vedi community, Ararat region, Armeniaworksperformance |  |  |  |

___________________________________________	                       _____________

participant's name (position of manager, first name, last name) signature

K. T.

**If the participant is a value added tax payer, the amount of value added tax to be paid to the state budget of the Republic of Armenia for the given contract is indicated in column 4.

The following licenses are required for the performance of the contract:

"Implementation of construction in the field of urban development"license, according to the following field

| Dimensions the numbers | Required license(forgive)type(the). |
| --- | --- |
| 1 | 2 |
| 1 | Construction implementation,Class 1 license, with insert - residential, public and industrial buildings 1st class insert, certificate - water supply and drainage (internal and external water supply and drainage networks, hydromelloration) structures 1st class insert, certificate - power supply (internal and external power supply, lighting networks, power supply systems, photovoltaic and wind power plants) structures 1st class insert, certificate - Heat and gas supply and ventilation (ventilation, heating and air conditioning systems, heat supply and gas supply systems) structures 1st class insert, certificate |

Appendix 3

Code: AHMAIM-ABMASHDB-2026/5

urgent open competition invitation

WARRANTY N __________

1. This warranty, as well as a printed (scanned) version of the original of this warranty

(hereinafter referred to as the guarantee) are "Staff of the Governor of Ararat Region of the Republic of Armenia"of" (hereinafter referred to as:

beneficiary) by AHIA-ABMASHDB-2026/5covercwith waterorganized to the purchase procedure ______________________________________________________________________________________

Name of the participant (in case of a consortium, the name of the partner as defined in the consortium agreement)

(hereinafter referred to as the principal) arising from participation in the same code defined in the invitation
     __

(in case of a consortium: (name of the consortium)

ensuring the performance of obligations (hereinafter referred to as guaranteed obligations).

2. With warranty								(hereinafter referred to as the guarantor)

name of the bank issuing the guarantee

person) unconditionally undertakes to pay the beneficiary upon the request submitted by the beneficiary in the manner and within the time limit specified in this guarantee (hereinafter referred to as the request)

amount in numbers and letters

(hereinafter referred to as the guarantee amount) within five working days of receiving the request. Payment is made by transfer to the beneficiary's account number 900008000466.

3. This guarantee is irrevocable.

4. The beneficiary's right to demand payment of the guarantee amount arising from this guarantee may be transferred to another person with the written consent of the guarantor.

5. The guarantee is valid from the moment of issuance and is valid until the beneficiary signs the guarantee. with code 120 /one hundred and twenty/ working days from the date of expiry of the deadline for submission of applications by the principal for participation in the organized procurement procedure. The information on the fact of providing this guarantee - the guarantee number, the name of the issuing bank and the code specified in point 1 of this guarantee, without indicating the amount, shall be sent by the guarantor from his official e-mail address on the day of providing the guarantee to the address specified in the invitation to the procurement procedure specified in this point:evaluation committeesecretary,araratmarz.gnumner@gmail.comto the email address.

6. The beneficiary shall submit the claim in writing to the guarantor. The claim shall be accompanied by a copy of the minutes of the evaluation committee meeting on the rejection of the application and the guarantee.

7. The guarantor shall, within a maximum of five working days after receiving the claim and the attached documents submitted by the beneficiary, consider the claim and the attached documents to determine their compliance with the terms of this guarantee.

8. The guarantor shall reject the beneficiary's claim if:

1) the claim or the attached documents do not comply with the terms of this guarantee;

2) the claim was submitted after the expiration of the period specified in the guarantee.

9. In the event of a decision to reject the claim, the guarantor shall immediately, but no later than the same business day, notify the beneficiary of the rejection.

10. The relevant provisions of the Civil Code of the Republic of Armenia apply to this guarantee.

11. Disputes arising in connection with this guarantee shall be subject to resolution in accordance with the procedure established by the legislation of the Republic of Armenia.

Head of the executive body

month, date, year

Appendix 4.1

Code: AHMAIM-ABMASHDB-2026/5

urgent open tender invitation

WARRANTY N __________

(qualification assurance)

1. This guarantee (hereinafter referred to as the guarantee) is"Staff of the Governor of Ararat Region of the Republic of Armenia"(hereinafter referred to as the beneficiary) as a result of the procurement procedure with the code АХАНАН-АБМАШДБ-2026/5					  							  selected participant's name                                                   (hereinafter referred to as the principal) to be signed by No. AHMAAM-ABMASHDB-2026/5Ensuring the necessary qualifications for the performance of obligations stipulated in the contract (hereinafter referred to as the contract) (hereinafter referred to as guaranteed obligations).

2. With warranty								(hereinafter referred to as the guarantor)

name of the bank issuing the guarantee

person) unconditionally undertakes to pay the beneficiary upon the request submitted by the beneficiary in the manner and within the time limit specified in this guarantee (hereinafter referred to as the request)		___________

amount in numbers and letters

(hereinafter referred to as the guarantee amount) within five business days of receiving the request.When paying the guarantee amount, deductions made from the guarantee amount based on the handover-acceptance protocol(s) bilaterally approved between the beneficiary and the principal and submitted by the principal to the person providing the guarantee within the framework of the contract execution shall be taken into account.

Payment is made to the beneficiary.900005000698 via transfer to the account.

3. This guarantee is irrevocable.

4. The beneficiary's right to demand payment of the guarantee amount arising from this guarantee may be transferred to another person with the written consent of the guarantor.

5. The guarantee is valid from the moment of issuance and is valid from the date of entry into force of the contract to be concluded between the beneficiary and the principal under the code N АХААН-АБМАШДБ-2026/5 until								         the deadline for the performance of the work stipulated in the contract to be concluded,

up to and including the 120th business day following the day.The guarantor shall also send a printed copy of the original of this guarantee from his/her official e-mail address on the day of providing the guarantee to the secretary of the evaluation committee indicated in the invitation to the procurement procedure organized under the code specified in point 1 of this guarantee:araratmarz.gnumner@gmail.comelectronicmail  to the address.

6. The beneficiary shall submit the claim to the guarantor in writing. The following documents shall be submitted with the claim:

1) Copies of the contract signed under the code No. AHMAAM-ABMASHDB-2026/5, including amendments and additional agreements made to it;

2) unilateral termination of the contract by the beneficiarywww.procurement.amthe notice published in the current bulletin at the address:

3) within the framework of the contractthe bilaterally approved handover-acceptance protocol(s) between the beneficiary and the principal or copies thereof.

7. The guarantor shall, within a maximum of five working days after receiving the claim and the attached documents submitted by the beneficiary, consider the claim and the attached documents to determine their compliance with the terms of this guarantee.

8. The guarantor shall reject the beneficiary's claim if:

1) the claim or the attached documents do not comply with the terms of this guarantee;

2) the claim was submitted after the expiration of the period specified in the guarantee.

9. In the event of a decision to reject the claim, the guarantor shall immediately, but no later than the same business day, notify the beneficiary of the rejection.

10. The relevant provisions of the Civil Code of the Republic of Armenia apply to this guarantee.

11. Disputes arising in connection with this guarantee shall be subject to resolution in accordance with the procedure established by the legislation of the Republic of Armenia.

Head of the executive body

month, date, year

Appendix4.2

"AAAAM-ABMASHDB-2026/5"  with code

urgent open competition invitation

AGREEMENT ON PENALTIES

(qualification assurance)

Yerevan city						            "         » 			20 years

,on behalf of the Company Director

Company name					    Name, surname, passport details of the company director,which operates on the basis of the Company's charter (hereinafter referred to as the Company), hereby unilaterally agrees to pay the following penalty:

- Subject of the agreement

  - The company is participating in the procurement procedure under the code АХАНАН-АБМАШДЗБ-2026/5 organized by the Staff of the Governor of Ararat Region of the Republic of Armenia (hereinafter referred to as the Client).

1.2 As a participant selected as a result of the procurement procedure, ensuring the necessary qualifications to fulfill the obligations stipulated in the contract to be concluded, the Company submits to the Client this penalty agreement and the attached payment request, completed and approved by the Company.

1.3 By signing the payment demand attached to this penalty agreement (hereinafter referred to as the Demand), the Company irrevocably agrees that:

a) By signing the Demand, the Company gives its confirmation of the "accepted payment" filled in the "Payment Terms" field of the Demand, in which case the /paying/ Bank servicing the Company in connection with the collection of the specified amount (hereinafter referred to as the Paying Bank) does not submit the received Demand to the Company for additional consent, since the Company has already signed the Demand for the purpose of acceptance.

b) The Demand Draft serves as a basis for the Paying Bank to debit the entire amount specified in the Demand Draft from the Company's account without additional acceptance.

c) The Company may not, in writing or otherwise, instruct the Paying Bank to withdraw its acceptance on the Demand Draft.

d) The Company confirms that it has accepted the Claim for the full amount of the penalty.

e) The Company hereby agrees that the Paying Bank shall not bear any liability for the legality, validity, submission deadlines of the payment request submitted by the Client and the Demand, and for the actions taken by the Paying Bank to ensure the execution of the Demand.

1.4 In case of non-performance or improper performance by the Company of the contract concluded as a result of the procurement procedure, if it leads to the unilateral termination of the contract by the Client, the Client shall submit this penalty agreement and the attached Demand Letter in originals to the Paying Bank, informing the Company in writing. If this penalty agreement and the attached Demand Letter are certified by an electronic digital signature, they shall be submitted to the Paying Bank in electronic media, as well as in printed paper versions thereof.

  - The Customer may submit other additional documents to the Paying Bank.

1.6 The Bank shall not be liable for any risks (losses incurred by the Company) and negative consequences incurred by the Company as a result of the payment of the amount specified in the Claim by the Paying Bank. The Bank shall not be obliged to verify the facts of the Company's violation of the terms of the contract.

1.7 In the event that the Company's account funds are insufficient, the Paying Bank must notify the Client in writing within 2 (two) business days after receiving the payment request.

1.8 After submitting this Agreement and the attached Demand to the Bank, if the amount is not paid to the Client within ten business days for reasons beyond the control of the Bank, the Client shall transmit information about the Company related to the non-payment to <<ACRA ​​Credit Reporting>> CJSC (Credit Bureau).

- Other conditions

2.1 This Agreement and the Request for Proposal are irrevocable, enter into force upon ratification by the Company and are valid until the twentieth business day following the date of full acceptance of the result of the execution of the contract concluded by the Client, inclusive.

2.2. By submitting this agreement and the attached Demand Letter to the Paying Bank by the Client:

2.2.1. The Client confirms that the Company has committed a breach of contractual obligations, and

2.2.2. The Company certifies that this Indemnity Agreement and the attached Demand Letter have been duly signed by an authorized person of the Company.

2.3 Disputes arising in connection with this Agreement shall be resolved through negotiations. In the event of failure to reach an agreement, disputes shall be resolved in court.

3. Company address, banking details:

company name

company address

Name of the bank servicing the company

company bank account number

company's tax registration number

name, surname and signature of the company director

K.T.

Day/month/year

| 1. PAYMENT REQUEST |  |
| --- | --- |
| 2. Number |  |
| 3. Presentation date`"___"___20___in. |  |
| 4. Name of the payer, or first name and surname (Company)` |  |
| 5. Financial institution serving the payer ( bank)` |  |
| 6. Payer's account number` |  |
| 7. Payer VAT number` |  |
| 8. Payer PSC` |  |
| 9. Beneficiary's name or first name and surname` Staff of the Governor of Ararat Region of the Republic of Armenia |  |
| 10. Beneficiary Social Security Number (not required) |  |
| 11. Beneficiary VAT number`04245019 |  |
| 12. To the beneficiary servicing Financial institution (bank)` FINANCIAL AFFAIRS DEPARTMENT OF THE RA |  |
| 13. Beneficiary account number(hh.N)900008000698 |  |
| 14. The amount(in numbers and in words)` |  |
| 15. Accepted amount: (in numbers) and in words) (intended for partial acceptance of the specified amount, which is not applicable) |  |
| 16. Currency(in words and with code)` |  |
| 17. Transaction(payment)goal` (to ensure qualification) |  |
| 18. Basis for payment: (Documents)name, including the agreement on the penalty,their the numbers,contract the codeon which the charge is made)`AHMA-ABMASHDB-2026/5 |  |
| 19. Payment terms: <accepted payment> |  |
| 20. Number of pages attached: --- page |  |
| 22.a. Beneficiary signatures /____________________/ /____________________/ 22.b. K.T. | 21.a. Payer's signatures: /____________________/ /____________________/ 21.b. K.T. |
| 24.a. Financial institution serving the beneficiary /____________________/ /signature/ | 23.a. Financial institution servicing the payer /____________________/ /signature/ |
| 24.b. K.T. 24.g "___"___20___in. | 23.b. K.T. 23.c. Date of execution: "___"___20___in. |

Mandatory requirements for a payment request and instructions for completing it

| H/N | The requirements for the document "Payment Request" | The specified field/ the presence of a requisite in a document | The requirement to complete the validation condition (related to the procurement process) | Validity condition the filling party: beneficiary or payer (related to the procurement process) |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |
| 1. | Document name | Required | mandatory | The document has a pre-filled <Payment Request> |
|  | payment request number | Required | mandatory | filled in by the beneficiary when submitting the payment request to the payer's bank |
|  | submission date | Required | mandatory | filled in by the beneficiary on the day of submission of the payment request to the payer's bank. |
|  | Payer's name or first name and last name | Required | mandatory The name of the person (payer) from whose account the amount specified in the claim is to be debited is filled in. The name and surname of the payer are filled in, if it is an individual or the name if it is a legal entity. Other data are also indicated, as necessary. Filled in by the payer | to be filled in by the payer |
| 5. | Name of the financial institution (branch) serving the payer (payer's bank) | Required | mandatory | to be filled in by the payer |
| 6. | payer's account number | Required | mandatory The payer's bank account number in the financial institution (branch) serving him is filled in, from which the amount specified in the claim should be debited. | to be filled in by the payer |
| 7. | payer's TIN | Required | optional is filled in in cases defined by the regulatory legal acts of the Republic of Armenia, when the payer is a registered taxpayer | to be filled in by the payer |
| 8. | Payer's Social Security Number | mandatory | optional is filled in in cases defined by the regulatory legal acts of the Republic of Armenia, when the payer is an individual | to be filled in by the payer |
| 9. | beneficiaryname, or first name, last name | Required | mandatory The name of the beneficiary (recipient of the payment) is filled in. Other information is also indicated, as necessary. | filled out in advance by the beneficiary, upon invitation |
| 10. | beneficiary's social security number | Required | optional (not filled in during the procurement process) | (not filled in) |
| 11. | beneficiary's TIN | Required | optional is filled in in cases defined by the regulatory legal acts of the Republic of Armenia, when the beneficiary is a registered taxpayer | filled out in advance by the beneficiary, upon invitation |
| 12. | Name of the financial institution (branch) serving the beneficiary | Required | mandatory | filled out in advance by the beneficiary, upon invitation |
| 13. | beneficiary account number | Required | mandatory The beneficiary's bank (treasury) account number to which the funds collected from the payer should be transferred is filled in. | filled out in advance by the beneficiary, upon invitation |
| 14. | amount (in numbers and words) | Required | mandatory The amount payable to the beneficiary is filled in. | to be filled in by the payer |
| 15. | Accepted amount: (in numbers) and in words) | Required | optional (intended for partial acceptance of the specified amount, which does not apply to purchases) | (not to be completed and not applicable) |
| 16. | currency (in words and code) | Required | mandatory | to be filled in by the payer |
| 17. | purpose of the transaction | Required | The words "for qualification purposes" must be filled in. | filled out in advance by the beneficiary, upon invitation |
| 18. | Basis for payment: | mandatory | mandatory The data of the document serving as the basis for the collection of the amount specified in the claim and payment to the beneficiary is filled in, based on which the beneficiary submits a payment claim to the bank servicing the payer, the contract number serving as the basis for submitting the claim is filled in, purchase procedure codeaccording to the agreement on compensation, | to be filled in by the beneficiary |
| 19. | Payment terms: | Required | mandatory the words <accepted payment> are added, which means that by signing the request, the payer gives his prior consent to debit the specified amount from his account | filled in in advance by the beneficiary |
| 20. | number of index pages | Required | optional The number of pages of documents attached to the claim, which must be provided to the payer (payer's bank), is filled in. If e is filled in <If the Payment Basis> field is filled in, this data is mandatory. | to be filled in by the beneficiary |
| 21.a. | payer's signature | Required | mandatory This field is filled in when the payer submits a claim. Moreover, ifPayment terms in the field<accepted payment> is indicated then the payer signing,in advanceagreeing to debit the specified amount from his account. In case the payer submits the claim electronically, the payer's electronic signature is placed in this field. | signed by the payer or the payer's electronic signature is placed |
| 21.b. | payer's stamp | Required | mandatory: in case of a seal, when the payer submits the claim in paper form | is signed by the payer when submitting in paper form |
| 22.a. | beneficiary's signature | Required | Required: filled in when submitting to the bank | signed by the beneficiary |
| 22.b. | beneficiary's seal | Required | mandatory: in case of seal | is signed by the beneficiary when submitting to the bank in paper form |
| 23.a. | Signature of an employee of the financial institution (branch) serving the payer | mandatory | mandatory in case the payment request is submitted in paper form to the financial institution servicing the payer |  |
| 23.b. | the stamp of the financial institution (branch) serving the payer | Required | mandatory in case the payment request is submitted in paper form to the financial institution servicing the payer |  |
| 23.g | Date, hour, minute of execution by the financial institution (branch) servicing the payer | Required | mandatory The date, hour, and minute of the request execution must be indicated by the financial institution (branch) serving the payer. |  |
| 24.a. | Signature of an employee of the financial institution (branch) serving the beneficiary | Required | optional is completed when the payment request is submitted to the financial institution serving the beneficiary, where the employee's signature is placed on the request submitted in paper form |  |
| 24.b. | the stamp of the financial institution (branch) serving the beneficiary | Required | optional The payment request is filled out when the latter is submitted, where the stamp is placed on the request submitted in paper form. |  |
| 24.g | Date, hour, minute of the financial institution serving the beneficiary | Required | optional The payment request is filled out when the latter is submitted, where this data is placed on the request submitted in paper form. |  |

Appendix5

Code: AHMAIM-ABMASHDB-2026/5

urgent open competition invitation

WARRANTY N __________

(contract security)

1. This guarantee (hereinafter referred to as the guarantee) is"Staff of the Governor of Ararat Region of the Republic of Armenia"  (hereinafter referred to as the beneficiary) and									  (hereinafter referred to as the Principal) between                       			selected participant's name

Ensuring the fulfillment of the principal's obligations (hereinafter referred to as guaranteed obligations) arising from the contract No. AHMA-ABMASHDB-2026/5 to be concluded.

2. With warranty								(hereinafter referred to as the guarantor)

name of the bank issuing the guarantee

unconditionally undertakes to pay the beneficiary upon the request submitted by the beneficiary in the manner and within the time limit specified in this guarantee (hereinafter referred to as the request)

amount in numbers and letters

(hereinafter referred to as the guarantee amount) within five working days of receiving the request. Payment is made to the beneficiary900008000664  via transfer to the account.

3. This guarantee is irrevocable.

4. The beneficiary's right to demand payment of the guarantee amount arising from this guarantee may be transferred to another person with the written consent of the guarantor.

5. The guarantee is valid from the moment of issuance and is valid from the date of entry into force of the agreement No. АХААН-АБМАШДБ-2026/5 to be signed between the beneficiary and the principal until														The deadline for the performance of the work stipulated in the contract to be signed, including the warranty period

The person providing the guarantee shall also send a printed copy of the original of this guarantee from his/her official e-mail address on the day of providing the guarantee to the secretary of the evaluation committee specified in the invitation to the procurement procedure organized for the purpose of concluding the contract specified in point 1 of this guarantee:araratmarz.gnumner@gmail.com emailto the address.

6. The beneficiary shall submit the claim to the guarantor in writing. The following documents shall be submitted with the claim:

1) Copies of the AHIA-ABMASHDB-2026/5 contract, including amendments and additional agreements made thereto;

2) unilateral termination of the contract by the beneficiarywww.procurement.am The notice published in the current newsletter at the address.

7. The guarantor shall, within a maximum of five working days after receiving the claim and the attached documents submitted by the beneficiary, consider the claim and the attached documents to determine their compliance with the terms of this guarantee.

8. The guarantor shall reject the beneficiary's claim if:

1) the claim or the attached documents do not comply with the terms of this guarantee;

2) the claim was submitted after the expiration of the period specified in the guarantee.

9. In the event of a decision to reject the claim, the guarantor shall immediately, but no later than the same business day, notify the beneficiary of the rejection.

10. The relevant provisions of the Civil Code of the Republic of Armenia apply to this guarantee.

11. Disputes arising in connection with this guarantee shall be subject to resolution in accordance with the procedure established by the legislation of the Republic of Armenia.

Head of the executive body

month, date, year

Appendix 5.1

Code: AHMAIM-ABMASHDB-2026/5

urgent open tender invitation

AGREEMENT ON PENALTIES

(contract security)

Yerevan city						                                  "         » 			20 years

,on behalf of the Company Director

Company name					    Name, surname, passport details of the company director,which operates on the basis of the Company's charter (hereinafter referred to as the Company), hereby unilaterally agrees to pay the following penalty:

1. Subject of the Agreement

1.1 The company participates "Staff of the Governor of Ararat Region of the Republic of Armenia"

(hereinafter referred to as the Client) organized by the procurement procedure with the code АХАНИН-АБМАШДБ-2026/5.

1.2 As a guarantee of the execution of the contract to be concluded as a result of the procurement procedure, the Company submits to the Client this penalty agreement and the attached payment request, completed and approved by the Company.

1.3 By signing the payment demand attached to this penalty agreement (hereinafter referred to as the Demand), the Company irrevocably agrees that

a) By signing the Demand, the Company gives its confirmation of the "accepted payment" filled in the "Payment Terms" field of the Demand, in which case the /paying/ Bank servicing the Company in connection with the collection of the specified amount (hereinafter referred to as the Paying Bank) does not submit the received Demand to the Company for additional consent, since the Company has already signed the Demand for the purpose of acceptance.

b) The Demand Draft serves as a basis for the Paying Bank to debit the entire amount specified in the Demand Draft from the Company's account without additional acceptance.

c) The Company may not, in writing or otherwise, instruct the Paying Bank to withdraw its acceptance on the Demand Draft.

d) The Company confirms that it has accepted the Claim for the full amount of the penalty.

e) The Company hereby agrees that the Paying Bank shall not bear any liability for the legality, validity, submission deadlines of the payment request submitted by the Client and the Demand and the actions taken by the Paying Bank to ensure the execution of the Demand. 1.4 In case of non-fulfillment or improper fulfillment by the Company of the contract concluded as a result of the procurement procedure, the Client shall submit this penalty agreement and the attached Demand in originals to the Paying Bank, informing the Company in writing. If this penalty agreement and the attached Demand are certified by an electronic digital signature, they shall be submitted to the Paying Bank in electronic media, as well as in printed paper versions thereof.

1.5 The Client may submit other additional documents to the Paying Bank.

  - The Bank shall not be liable for any risks (losses incurred by the Company) and negative consequences incurred by the Company as a result of the payment of the amount specified in the Request by the Paying Bank. The Bank shall not be obliged to verify the facts of the Company's violation of the terms of the contract.

  - In the event that the Company's account funds are insufficient, the Paying Bank must notify the Client in writing within 2 (two) business days after receiving the payment request.

  - After submitting this Agreement and the attached Demand to the Bank, if the amount is not paid to the Client within ten business days for reasons beyond the control of the Bank, the Client shall transmit information about the Company related to the non-payment to <<ACRA ​​Credit Reporting>> CJSC (Credit Bureau).

2. Other conditions

2.1 This Agreement and the Demand Letter are irrevocable, enter into force upon ratification by the Company and remain in force until the twentieth business day following the last day of full performance of the obligations assumed under the contract to be concluded by the Company, inclusive.

2.2. By submitting this agreement and the attached Demand Letter to the Paying Bank by the Client:

2.2.1. The Client confirms that the Company has committed a breach of contractual obligations, and

2.2.2. The Company certifies that this Indemnity Agreement and the attached Demand Letter have been duly signed by an authorized person of the Company.

2.3 Disputes arising in connection with this Agreement shall be resolved through negotiations. In the event of failure to reach an agreement, disputes shall be resolved in court.

3. Company address, banking details:

company name

company address

Name of the bank servicing the company

company bank account number

company's tax registration number

name, surname and signature of the company director

K.T.

Day/month/year

| 1. PAYMENT REQUEST |  |
| --- | --- |
| 2. Number |  |
| 3. Presentation date`"___"___20___in. |  |
| 4. Name of the payer, or first name and surname (Company)` |  |
| 5. Financial institution serving the payer ( bank)` |  |
| 6. Payer's account number` |  |
| 7. Payer VAT number` |  |
| 8. Payer PSC` |  |
| 9. Beneficiary's name or first name and surname`Staff of the Governor of Ararat Region of the Republic of Armenia |  |
| 10. Beneficiary Social Security Number (not required) |  |
| 11. Beneficiary VAT number`04245019 |  |
| 12. To the beneficiary servicing Financial institution (bank): Operational Department of the Ministry of Finance of the Republic of Armenia |  |
| 13. Beneficiary account number(hh.N)900008000664 |  |
| 14. The amount(in numbers and in words)` |  |
| 15. Accepted amount: (in numbers) and in words) (intended for partial acceptance of the specified amount, which is not applicable) |  |
| 16. Currency(in words and with code)` |  |
| 17. Transaction(payment)goal` (to ensure the performance of the contract) |  |
| 18. Basis for payment: (Documents)name, including the agreement on the penalty,their the numbers,contract the codeon which the charge is made)` AHMA-ABMASHDB-2026/5 |  |
| 19. Payment terms: <accepted payment> |  |
| 20. Number of pages attached: --- page |  |
| 22.a. Beneficiary signatures /____________________/ /____________________/ 22.b. K.T. | 21.a. Payer's signatures: /____________________/ /____________________/ 21.b. K.T. |
| 24.a. Financial institution serving the beneficiary /____________________/ /signature/ | 23.a. Financial institution servicing the payer /____________________/ /signature/ |
| 24.b. K.T. 24.g "___"___20___in. | 23.b. K.T. 23.c. Date of execution: "___"___20___in. |

Mandatory requirements for a payment request and instructions for completing it

| H/N | The requirements for the document "Payment Request" | The specified field/ the presence of a requisite in a document | The requirement to complete the validation condition (related to the procurement process) | Validity condition the filling party: beneficiary or payer (related to the procurement process) |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |
| 1. | Document name | mandatory | mandatory | The document has a pre-filled <Payment Request> |
|  | payment request number | mandatory | mandatory | filled in by the beneficiary when submitting the payment request to the payer's bank |
|  | submission date | mandatory | mandatory | filled in by the beneficiary on the day of submission of the payment request to the payer's bank. |
|  | Payer's name or first name and last name | mandatory | mandatory The name of the person (payer) from whose account the amount specified in the claim is to be debited is filled in. The name and surname of the payer are filled in, if it is an individual or the name if it is a legal entity. Other data are also indicated, as necessary. Filled in by the payer | to be filled in by the payer |
| 5. | Name of the financial institution (branch) serving the payer (payer's bank) | mandatory | mandatory | to be filled in by the payer |
| 6. | payer's account number | mandatory | mandatory The payer's bank account number in the financial institution (branch) serving him is filled in, from which the amount specified in the claim should be debited. | to be filled in by the payer |
| 7. | payer's TIN | mandatory | optional is filled in in cases defined by the regulatory legal acts of the Republic of Armenia, when the payer is a registered taxpayer | to be filled in by the payer |
| 8. | Payer's Social Security Number | mandatory | optional is filled in in cases defined by the regulatory legal acts of the Republic of Armenia, when the payer is an individual | to be filled in by the payer |
| 9. | beneficiaryname, or first name, last name | mandatory | mandatory The name of the beneficiary (recipient of the payment) is filled in. Other information is also indicated, as necessary. | filled out in advance by the beneficiary, upon invitation |
| 10. | beneficiary's social security number | mandatory | optional (not filled in during the procurement process) | (not filled in) |
| 11. | beneficiary's TIN | mandatory | optional is filled in in cases defined by the regulatory legal acts of the Republic of Armenia, when the beneficiary is a registered taxpayer | filled out in advance by the beneficiary, upon invitation |
| 12. | Name of the financial institution (branch) serving the beneficiary | mandatory | mandatory | filled out in advance by the beneficiary, upon invitation |
| 13. | beneficiary account number | mandatory | mandatory The beneficiary's bank (treasury) account number to which the funds collected from the payer should be transferred is filled in. | filled out in advance by the beneficiary, upon invitation |
| 14. | amount (in numbers and words) | mandatory | mandatory The amount payable to the beneficiary is filled in. | to be filled in by the payer |
| 15. | Accepted amount: (in numbers) and in words) | mandatory | optional (intended for partial acceptance of the specified amount, which does not apply to purchases) | (not to be completed and not applicable) |
| 16. | currency (in words and code) | mandatory | mandatory | to be filled in by the payer |
| 17. | purpose of the transaction | mandatory | The words "to ensure the performance of the contract" must be added. | filled out in advance by the beneficiary, upon invitation |
| 18. | Basis for payment: | mandatory | mandatory The data of the document serving as the basis for the collection of the amount specified in the claim and payment to the beneficiary is filled in, based on which the beneficiary submits a payment claim to the bank servicing the payer, the contract number serving as the basis for submitting the claim is filled in, purchase procedure codeaccording to the agreement on compensation, | to be filled in by the beneficiary |
| 19. | Payment terms: | mandatory | mandatory the words <accepted payment> are added, which means that by signing the request, the payer gives his prior consent to debit the specified amount from his account | filled in in advance by the beneficiary |
| 20. | number of index pages | mandatory | optional The number of pages of documents attached to the claim, which must be provided to the payer (payer's bank), is filled in. If e is filled in <If the Payment Basis> field is filled in, this data is mandatory. | to be filled in by the beneficiary |
| 21.a. | payer's signature | mandatory | mandatory This field is filled in when the payer submits a claim. Moreover, ifPayment terms in the field<accepted payment> is indicated then the payer signing,in advanceagreeing to debit the specified amount from his account. In case the payer submits the claim electronically, the payer's electronic signature is placed in this field. | signed by the payer or the payer's electronic signature is placed |
| 21.b. | payer's stamp | mandatory | mandatory: in case of a seal, when the payer submits the claim in paper form | is signed by the payer when submitting in paper form |
| 22.a. | beneficiary's signature | mandatory | Required: filled in when submitting to the bank | signed by the beneficiary |
| 22.b. | beneficiary's seal | mandatory | mandatory: in case of seal | is signed by the beneficiary when submitting to the bank in paper form |
| 23.a. | Signature of an employee of the financial institution (branch) serving the payer | mandatory | mandatory in case the payment request is submitted in paper form to the financial institution servicing the payer |  |
| 23.b. | the stamp of the financial institution (branch) serving the payer | mandatory | mandatory in case the payment request is submitted in paper form to the financial institution servicing the payer |  |
| 23.g | Date, hour, minute of execution by the financial institution (branch) servicing the payer | mandatory | mandatory The date, hour, and minute of the request execution must be indicated by the financial institution (branch) serving the payer. |  |
| 24.a. | Signature of an employee of the financial institution (branch) serving the beneficiary | mandatory | optional is completed when the payment request is submitted to the financial institution serving the beneficiary, where the employee's signature is placed on the request submitted in paper form |  |
| 24.b. | the stamp of the financial institution (branch) serving the beneficiary | mandatory | optional The payment request is filled out when the latter is submitted, where the stamp is placed on the request submitted in paper form. |  |
| 24.g | Date, hour, minute of the financial institution serving the beneficiary | mandatory | optional The payment request is filled out when the latter is submitted, where this data is placed on the request submitted in paper form. |  |

Appendix 7

Code: AHMAIM-ABMASHDB-2026/5

urgent open tender invitation

STATE  NEEDS FOR CAPE  WORKS  PERFORMANCE

STATE  PURCHASE  CONTRACT

N

city                                                                                                                   " "            20 years

Staff of the Governor of Ararat Region of the Republic of Armenia,in the face ofSecretary General of the Staff of the Governor of Ararat Region of the Republic of Armenia, Artur Mkrtchyanwhich is in operationStaff of the Governor of Ararat Region of the Republic of Armeniaon the basis of the charter (hereinafter referred to as the Client), on the one hand, and ------------------, represented by the director ------------------------, acting on the basis of the charter of ------------------ (hereinafter referred to as the Contractor), on the other hand, have concluded this agreement on the following.

1.CONTRACT SUBJECT

1.1	The contractor undertakes is  this by contract  defined in order,intended in volumes,in the form of and within the deadlines to do this contract (hereinafter referred to as the contract)No. 1With the app definedwith design documents, includingintended by theminstallation (use) of materials and (or) devices and equipment that comply with the technical specifications and warranty service conditions, andvolume sheet-by estimate intended Construction of a kindergarten in Yeghegnavan settlement, Vedi community, Ararat region, Armeniaworksexecution                                                                                                                                                               Works name

works(from now on`work),and Client undertakes is accept doneathe work and to reward its number. An integral part of this contract is the following submitted by the Contractor in the application within the framework of participation in the procurement procedure with the code .........:Confirmation of the obligation to install (use) materials and (or) devices and equipment that comply with the technical specifications and warranty service conditions established by the design documents.

1.2	Pwith a script intendedathe laborsThe contractorperformance is in accordance with urban planning regulatory and technical and approved design and estimate documents, as well as this contract inseparable part constituentahard work volume sheet-according to estimate.

1.3	Pwith a script intendedathe labors begins arepthe alphabet   strength in from entering after and  execution deadline defined is`If financial resources are provided, an agreement between the parties shall be signed, setting the deadline for the completion of construction works:Construction of a kindergarten in Yeghegnavan settlement, Vedi community, Ararat region, Armeniaworksexecutionworks: 340 calendar days:

works execution deadline

By contract intended separately type works,stages and volumes execution deadlines are set out in Annex 2 to this Agreementpresentedcalendar with a schedule.

2.CONTRACTOR BY MEANS WORKS COMPLETING

2.1   The work happening is With the contractor's labor and technical resources, construction materials and facilities.

2.2	The contractor responsibility is carry his/her provided materials and equipment quality number.

3.PARTIES RIGHTS AND DUTIES

3.1.Client right has`

3.1.1	Any time to check Contractor implemented work process and quality`without to intervene the latter activity.

3.1.2Contractor by contract1.3at the point mentioned deadline(including calendar schedule)violation in case his/her at your discretion to defineahard work execution new deadline and to demand From the contractor to pay contract6.2with a dot intended the penalty.

3.1.3	 Do not acceptahard work result`Armenia by law defined to the provisions,contract1.2with a dot intended to the requirements to not comply in case`his/her at your discretion defining shortcomings gratuitous elimination reasonable deadline and to demand From the contractor to pay  contract6.2with a dot intended the penalty,how also6.3with a dot intended the fine.

3.1.4	 	One-sided solve the contract and to demand to compensate himself caused damages,if.

a)	The contractor on time no startahard work performance orathe work performance is so much slowly,that its on time the end  becomes is obvious impossible,

b)	The contractor to violate is contract1.3at the point intended deadline(including calendar the schedule),

c)	Contractor by doneathe work no correspondunder clause 1.1 or 1.2 of this agreementdefined to the requirements,

d)	Contractor by to be violated are contract3.1.3with a dot intended on the groundsahard work shortcomings gratuitous elimination reasonable deadlines.

3.1.5	 Work result shortcomings back related requirements to present  warranty within the deadline.

3.1.6	 Authorize other person: ahard work implementation towards technical control to carry out for the purpose.

3.1.7	Until Customer by Contractor doneahard work the result acceptance,to demand himself to hand over unfinishedahard work result`  the contract by law or by contract intended on the grounds to stop in case.

3.2.Client obliged is`

3.2.1	The work while performing`to support To the contractor by contract intended in cases,in volume and in order.

3.2.2 Pwith a script intended within the deadline and in order Contractor with participation to examine and accept doneathe work(its result),and from the contractahard work result worsening deviations orain the tank other shortcomings to discover in cases`that about immediately to report To the contractor.

3.2.3	Pgrammar strength in to enter from the moment5working day during To the contractor to provideahard work implementation number appropriate area.

3.2.4	Pgrammar1.3with a dot intended within the deadlineahard work the result to accept in case To the contractor to pay the latter payment subject the money.

3.2.5 Provide the Contractor with the written consent provided for in subparagraph 2 of clause 3.4.3 of the Contract within ....... days.If the Customer does not provide the Contractor with written consent (disagreement) within the period specified in this clause, the consent is deemed to have been received by the Contractor. The parties may also carry out the procedure for obtaining consents by exchanging information via e-mail addresses. In this case, the parties shall exchange in advance, in a written form, the e-mail addresses to which the information should be sent. The documents provided for in this clause shall be an integral part of the executive acts.

3.3.The contractor right has`

3.3.1	Pgrammar1.3with a dot intended within the deadlineahard work result to hand over in case From the client to demand to pay contract5.1with a dot intended`payment subject the amount.

3.3.2	 Customer by contract5.4at the point mentioned deadlines violation in case From the client to demand to pay himself payment subject the money and contract6.5with a dot intended the penalty.

3․3․3 To propose to the Client to suspend or consider suspended the period specified in clause 1.3 of the contract in the event of circumstances making the performance of the work stipulated by the Contract impossible, including the need to implement design changes, if it is impossible to implement the construction work without implementing design changes.

3.4.The contractor obliged is`

3.4.1	To perform at least 70 percent of the work personally, in the manner and within the time limits stipulated in the contract, with his/her labor and technical resources, as well as with the necessary construction materials, means and of proper quality, in accordance with the project and the bill of quantities.

3.4.2	 Executeahard work regarding Customer given instructions,if them are not contradict contract to the conditions.

3.4.3	 Ensure:

1) Perform construction and installation works in accordance with urban development regulatory and technical documents and the terms of this contract, perform individual testing of the engineering communication systems (electricity supply, heating, water supply, sewage, ventilation, etc.) installed by him, participate in complex testing of the equipment.

2) installation (use) of materials and (or) devices and equipment that comply with the technical specifications and warranty service conditions established by the design documents, prior to installation (use) of their technical specifications, trademarks, brand names, marks and warranty periods having been previously agreed in writing with the customer.

3.4.4	Work result To the client when handing over him/her to report it requirements and rules about,the observance of which is necessary for the effective and safe use (exploitation) of the work product, as well as to provide information about the possible consequences of failure to comply with these requirements and rules.

3.4.5	Violation of the deadline specified in clause 1.3 of the Contract (including the calendar schedule) and non-performance of work by the Client execution new deadline to be defined in case,to provideahard work performance defined within the deadline and each late day number to pay contract  6.2with a dot intended the penalty.

3.4.6	Pgrammar3.1.4with a dot intended on the grounds contract solution in case to compensate To the client caused damages and pay the fine stipulated in clause 6.3.

3.4.7	Construction object conservation of necessity origin in case`his/her by means to doathe work to stop and construction to preserve out of necessity arising reasonable expenses.

3.4.8If construction programs execution result or its separately component number defined warranty deadline during in application arecamework doneshortcomings,then The contractor obliged is his/hermeanson account,Customer by defined reasonable within the deadline to eliminate disadvantages.

3.4.9 Pwith a script warranty deadline is defined Customer by alive in volumeAthe work to be admitted on the day subsequent from the day 1095 calendar days counted.If defects appear during the warranty periodWork donedefects, then the Contractor is obliged to eliminate the defects at his own expense within a reasonable period of time set by the Customer.

3.4.10Capable object,its separately parts(constructions and etc.)and to be used materialsand (or) the technical specifications of devices and equipment andwarranty on deadlines presented requirements presented are contractN –In the appendix.

3.4.11 Qualification andgrammar execution provision action during liquidation or bankruptcy process to start in case its about in advance written to inform To the client.

4.WORK TRANSFER AND ADMISSION THE ORDER

4.1 The work performed is accepted by signing a handover-acceptance protocol between the Client and the Contractor. The fact of handing over the work to the Client is recorded in a document mutually approved between the Client and the Contractor, indicating the date of preparation of the document.

Moreover, the acceptance of the work performed within the framework of this contract and submitted to the Client is carried out if the Contractor has fully, on a daily basis, ensured the requirements set forth in the urban development normative and technical and approved design and estimate documents, including the proper organization of the construction site, furnishing, technical safety, sanitary and hygienic and environmental (including climate change adaptation measures) norms, regarding which there is a written confirmation from the organization that has signed a contract with the Client and exercises technical supervision over the execution of construction works.

Before and including the date specified for the performance of the work under the contract, the Contractor shall provide the Customer with a signed document recording the fact of handing over the work to the Customer (Appendix N 4.1), and through the electronic procurement system armeps (the manual for the implementation of the operation is posted in the "Electronic Procurement" section of the website at www.procurement.am) - also the handover-acceptance protocol (Appendix N 4). At the same time, the Contractor shall not sign the handover-acceptance protocol, but shall confirm it with an electronic signature, filling in only those columns that relate to his data (the procedure for filling in is posted in the "Orders of the Minister of Finance" subsection of the "Legislation" section of the website at www.procurement.am).

4.2 If the work performed complies with the terms of the contract, the Customer shall, within 10 working days from the working day following the day of receipt of the documents specified in clause 4.1 of the contract, sign and provide the Contractor with the handover-acceptance protocol signed by him and the positive conclusion serving as the basis for its signing through the armeps electronic procurement system.

4.3 If the work performed or a part of it does not comply with the terms of the contract, the Customer shall not sign the handover-acceptance protocol and shall return the handover-acceptance protocol and the negative conclusion that served as the basis for its non-signing to the Contractor via the electronic procurement system armeps within the period specified in clause 4.2 of the contract. In the event of application of this clause, the Customer shall take the measures provided for in the contract for such a situation and shall apply the liability measures provided for in the contract to the Contractor.

4.4 If the Client does not accept the work performed or refuses to accept it within the period specified in clause 4.2 of the contract, the work performed shall be deemed accepted and the work shall be deemed to be completed within the period specified in clause 4.2 of the contract.On the working day following the deadline, the Client shall provide the Contractor with a signed acceptance certificate through the electronic procurement system.the note.

4.5	Work or contract calendar with a schedule intended separately type works,stages and volumes results design and estimate to the documents to not comply in case sides to make are bilateral act`enumerating shortcomings elimination number required`execution subject additional works and deadlines. The contractor obliged is contractual price within the limits,without additional pay,to do necessary works.

4.6 Work The following conditions also apply when accepting:

1) After receiving information from the Contractor about the completion of construction, the Head of the Client shall take measures to form a committee for accepting completed construction (hereinafter referred to as the Accepting Committee) established by the Resolution of the Government of the Republic of Armenia No. 596-N of March 19, 2015 and to accept the work performed.

2) the result of the contract execution is considered fully accepted if the head of the state administration body accepts the work performed by the commission formed in the manner prescribed by the Resolution of the Government of the Republic of Armenia No. 596-N of March 19, 2015;

3) prior to the acceptance of the completed construction object, the commission established in accordance with the Resolution of the Government of the Republic of Armenia No. 596-N of March 9, 2015, documents the completed construction object and draws up an act of the commission accepting the object for operation in accordance with the procedure established by the legislation of the Republic of Armenia.

4) After receiving the act specified in subparagraph 3 of this paragraph in the prescribed manner, the responsible department shall verify the compliance of the completed construction object (work performed) with the requirements of the contract and, if the work performed:

a. complies with the terms of the contract, then a final handover-acceptance protocol is signed on the acceptance of the result of the contract execution,

b. does not comply with the terms of the contract, then the protocol shall not be signed.

5) Before signing the final handover-acceptance protocol on accepting the results of the contract performance provided for in this paragraph, the Client shall not pay five percent of the total amount of the work performed for capital construction, and in case of payment by installments, the amount of the last payment, which cannot be less than five percent of the total amount of the work performed for capital construction.

5.WORK PRICE AND THE RENT

5.1 Thiscontract general price to make is-------------- (---------)  Armenia money,from which---------- (-------------------------------------------)Armenia the money`VAT-n. Price inclusion is Contractor by implemented all expenses,with in which`

1-in portion  .............. (.....................)  Armenia money`from which---------- (-------------------------)Armenia the money`VAT-n.

------------------------------------------------------------------------------------------------------------------

n-th portion  .............. (.....................)  Armenia money`from which---------- (---------------------------)Armenia the money`VAT-n.

The contractor fully ensures the measures envisaged at the start of construction work, the requirements set out in urban planning regulatory and technical documents, including technical safety, sanitary and hygienic and environmental (including climate change adaptation measures) norms.

5.2Work price stable is and The contractor right does not have to demand to add,and Client to reduce that price.

5.3	Client payment isahard work or contract calendar with a schedule In case of acceptance of the specified types of works, stages and volumes in accordance with the procedure provided for in Section 4 of the contract, by non-cash transfer of funds in Armenian drams to the Contractor's current account.

The transfer of funds is made based on the transfer-acceptance protocol, in the months specified in the payment schedule of the contract (Appendix No. 2), but no later than December --- of the given year.

Moreover, for the purpose of making payment, within 3 working days after the date of signing the handover-acceptance protocol, the customer enters the payment order and a copy of the handover-acceptance protocol into the treasury system of the authorized body, and based on the documents submitted in accordance with the established procedure, the authorized body makes the payment in question within five working days, provided that the handover-acceptance protocol is entered into the treasury system, within the terms specified in the payment schedule of this contract.

5.4 Payments for performance acts within the framework of the contract are made according to the following formula: ВГ=МГ/НГxКС, where:

The MG is the price specified in clause 5.1 of the contract (if more than one portion is included, then it is the price of that portion).

The EPC is the estimated price of construction work published in the invitation.

The scope of work presented in a given executive act is expressed in monetary terms.

The BOM is the amount paid for the work specified in the bill of quantities-estimated estimate.

6.PARTIES RESPONSIBILITY

6.1	The contractor responsibility is carry Work quality and this contract1.3with a dot(including calendar the schedule)intended deadline maintenance number.

6.2	This by contract intended Work execution deadline to violate in case From the contractor each lateworkingday number charged is penalty`execution subject,however unfulfilled Work price0.05 (zero whole five hundredth)percent to the extent.

6.3	Pgrammar3.1.3with a dot intended on the grounds Customer byathe work not to be accepted,how also3.1.4with a dot intended in order the contract to solve in case From the contractor charged is penalty`contract5.1at the point intended of money0.5 (zero whole five decimal)percent in size.Moreover, the penalty is also calculated in case the work result is completed within the time period specified in this contract, but is not accepted by the customer.

6.4	Pgrammar6.2,6.3 and 6.5.1with dots intended the penalty and the fine calculated and being offset are  To the contractor payable of money back.

6.5	Customer by contract5.3with a dot intended deadlines violation number Customer towards each lateworkingday number calculated is penalty`payment subject,however unpaid  of money0.05 (zero whole five hundredth)percent to the extent.

6.5.1 Throughout the performance of the works provided for in this contract, the following measures of liability shall be applied to the Contractor for each recorded case of non-compliance with the requirements established by the urban development normative and technical and approved design and estimate documents, including the proper organization of the construction site, furnishing, technical safety, sanitary and hygienic and environmental (including climate change adaptation measures) norms:.

| h/h | The violation | Liability: assignment of a penalty to the contract price |
| --- | --- | --- |
| 1 | Improper construction site: |  |
| 1․1 | organization | 0.1% |
| 1․2 | furnishing | 0.2% |
| 2 | Failure to comply with safety regulations | 0.5% |
| 3 | Failure to comply with sanitary and hygienic and environmental (including climate change adaptation measures) standards | 0.1% |

6.6	Pby agreement unforeseen in cases the sides their obligations to fail to comply or no proper to perform number responsibility are carry Armenia by law defined in order.

6.7	Penalties and(or) fines payment to the parties no release their contractual obligations from performing.

7.INVINCIBLE FORCE THE IMPACT(FORCE-MAJOR)

This by contract obligations completely or partially to fail to comply number the sides getting rid of are from responsibility,if that been is insurmountable strength impact as a result,which to arise is this the contract from sealing after,and which sides  were not can to predict or prevent. Such situations are the earthquake,the flood,the fire,the war,military and emergency situation announcement,political the excitement,strikes,communication means work termination,state bodies acts and etc.,which impossible are makes this by contract obligations performance. If emergency strength influence continues is3 (three)from the month more,then from the sides each one right has solve the contract`that about in advance aware holding the other to the side.

8.OTHER CONDITIONS

8.1 Pthe alphabet strength in is enter Parties signing from the moment and is valid until by agreement of the parties undertaken obligations alive in volume performance.

The condition for the fulfillment of the rights and obligations of the parties stipulated by the contract is the fact that the contract is registered by the Ministry of Finance of the Republic of Armenia.

8.2 From the Agreement born`side payment obligation no can to stop other from the contract born`counter-argument obligation by overdraft,without parties written and with a seal approved agreement.Pfrom the grammar born demand the right no can to be transferred other person,without debtor side written agreement.

8.3In the event that, as a result of monitoring or control over the implementation of the requirements of the law or the examination of complaints in accordance with the procedure prescribed by law, it is recorded that in the procurement process, before the conclusion of the contract, the Contractor has submitted false documents (information and data), or the decision to recognize the latter as a selected participant does not comply with the legislation of the Republic of Armenia, then after these grounds emerge, the Customer shall unilaterally terminate the contract, if the recorded violations had been known before the conclusion of the contract, they would have served as a basis for not concluding the contract in accordance with the legislation of the Republic of Armenia on procurement. Moreover, the Customer shall not bear the risk of losses or lost profits incurred by the Contractor as a result of the unilateral termination of the contract, and the latter shall be obliged to compensate the Customer for the losses incurred through its fault in the amount for which the contract was terminated.

8.4 Pgrammar back related the arguments subject are examination Armenia Republic in the courts.

8.5	Ptranscription changes and additions can are done only Parties mutual by agreement`agreement to seal through,which will be contract inseparable part.

It is prohibited to make any changes to the contract, and if the contract price is factored, also to the agreement signed in each subsequent year, which lead to an artificial change in the volume of work purchased or the unit price of work purchased or the contract price.

Each case of amendment of the contract due to factors independent of the parties to the contract shall be determined by the Government of the Republic of Armenia.

8.6 If the contract is implemented through subcontracting:

1) The contractor is liable for the failure or improper performance of the subcontractor's obligations.

2) In the event of a change in the subcontractor during the performance of the contract, the Contractor shall notify the Client in writing, providing a copy of the subcontract agreement and the details of the party to it, within five working days from the date of the change.Moreover, in the case of application of this sub-clause, the organization included in the list provided for in sub-clause 2 of clause 2-td of the RA Government Decision No. 817-A dated 20.06.2025 cannot be a subcontractor.:

8.7 If the contract is implemented through a joint activity (consortium) contract, the participants in that contract shall bear joint and several liability. Moreover, in the event of a consortium member withdrawing from the consortium, the contract shall be unilaterally terminated and the liability measures provided for in the contract shall be applied to the consortium members.

8.8 The term of performance of the work may be extended until the expiration of the term specified in the contract, upon the Contractor's proposal, provided that the Customer has not lost the requirement to use the work, and the Contractor's proposal was submitted no later than at least 7 calendar days before the expiration of the term initially specified in the contract for the performance of the work. Moreover, in the case specified in this clause, the term of performance of the work may be extended once for up to 30 calendar days, but not more than the term specified in the contract.

8.9	Under the conditions of proper performance of the contract, the benefits (savings) or losses incurred by the parties (Contractor or Client) are the benefits or losses incurred by that party.

The obligations of the parties to the contract towards third parties, including other transactions concluded by the Contractor within the framework of the performance of the contract and the obligations arising from them, are outside the scope of the contract and cannot affect the acceptance of the result of the performance of the contract. The relations related to the performance of these transactions and the obligations arising from them are regulated by the norms regulating the relations related to these transactions, and the Contractor is responsible for them.

8.10 The contract cannot be amended without the consent of the parties.as a result of partial non-fulfillment of obligations or be completely resolved by mutual agreement of the parties, except for cases of reduction of financial allocations necessary for the performance of work in accordance with the procedure established by the legislation of the Republic of Armenia. Moreover, the mutual agreement of the parties to the contract on partial non-fulfillment or complete resolution of obligations must be obtained before the reduction of financial allocations necessary for the performance of work in accordance with the procedure established by the legislation of the Republic of Armenia.

8.11 Failure to fulfill obligations assumed by the ContractorThe Client shall publish the notice of unilateral termination of the contract in whole or in part on the basis of non-performance or improper performance in the “Notices on Unilateral Termination of Contracts” section of the website at www.procurement.am, indicating the date of publication. The Contractor shall be deemed to have been duly notified of the unilateral termination of the contract on the day following the publication of the notice specified in this clause.On the day of publication in the gazette of the notice of unilateral termination of the contract in whole or in part, it shall also be sent to the Client and to the Contractor.to email.

8.12 The Contractor has the right, after the conclusion of the contract, to make a concession of a monetary claim arising from the purchase contract in the cases and in the manner prescribed by Chapter 48 of the Civil Code of the Republic of Armenia, on the basis of a financing (factoring) contract (hereinafter referred to as the factoring contract) in exchange for the concession of the claim. The factoring contract must stipulate that the financial agent agrees that, in the event of the existence of the grounds provided for by the contract, the Customer, when making payments, shall ensure the calculation of penalties and fines against the Contractor and their offset with the amounts to be paid, regardless of the fact that the claim has been conceded. Moreover, in the event of receiving a written notification (Appendix N 5) on the concession of the claim based on the factoring contract, the Customer shall make the payment specified in the contract to the financial agent, if the notification was received by the Customer on the day preceding the day of entering the payment order and a copy of the protocol into the treasury system of the authorized body.

8.13	This contract on the occasion born the arguments dissolving are negotiations through. Consent hand not to bring in case the arguments dissolving are judicial in order.

8.14This the contract composed is____from the page,being sealed is two from the example,which have equal legal strength,each to the side given is one by one example. This contractNo. 1, No. 2, No. 3,No. 4, No. 4.1 and No. 5applications,considered are contract inseparable part.

8.15 This contract back related  relationships towards applied is Armenia Republic the right.

8.16 The performance of the work stipulated by the Contract shall be carried out subject to the availability of financial resources for this purpose and the conclusion of an appropriate agreement between the parties on this basis. The Contract shall be terminated if no financial resources are provided for the performance of the Contract for this purpose within six months following the date of its conclusion. Moreover, the calculation of the six-month period provided for in this clause for the provision of financial resources for the conclusion of each subsequent Agreement shall begin from the date of acceptance by the Customer of the results of the performance of the work stipulated by the previous Agreement in full. If the amount of financial resources allocated for the performance of the Contract exceeds twenty-five times the base unit of the procurement, then the Customer shall conclude an Agreement if the qualifications and contract guarantees submitted by the Contractor in the form of a penalty are replaced by a guarantee or cash, taking into account the requirements of subparagraphs “c” of subparagraph 1 of paragraph 32 of Appendix No. 1 to the Decision of the Government of the Republic of Armenia dated May 4, 2017 N 526-N and subparagraphs “b” of subparagraph 17 of paragraph 32 of Appendix No. 1. Moreover, the Contractor shall conclude the agreement, and in case of replacement of the qualification and contract security submitted in the form of a penalty, shall also submit the new security to the Client within 15 working days from the date of receipt of the notification of conclusion of the agreement. Otherwise, the contract shall be unilaterally terminated by the Client.

8․17 By agreement of the Parties, the period for the performance of the works stipulated by the Contract may be suspended or deemed suspended in the event of circumstances making the performance of the suspended works impossible, including in the event of design changes, if the performance of the works stipulated by the Contract has become impossible without design changes. For the purposes of this clause, the suspended period shall be determined by the Customer and an agreement shall be concluded between the Parties thereto.

9.PARTIES ADDRESSES,BANK TERMS OF VALIDATION AND SIGNATURES

| CUSTOMER --------------------------------- /signature/ K.T |  | PAYER --------------------------------- /signature/ K.T |
| --- | --- | --- |

If necessary, provisions that do not contradict the legislation of the Republic of Armenia may be included in the draft contract.

Appendix number1

« » 2026t. sealed

Contract code: AHMAIM-ABMASHDB-2026/5

VOLUME SHEET-PRE-CALCULATION

"Construction of a kindergarten in Yeghegnavan settlement, Vedi community, Ararat region, Armeniaworksexecution

* The contractor is performing the work at 23/1 A. Khanjyan Street, Yeghegnavan settlement, Vedi community, Ararat region, Republic of Armenia.:

| ÐÐ ²ñ³ñ³ïÇ Ù³ñ½Ç ì»¹Ç Ñ³Ù³ÛÝùÇ ºÕ»·Ý³í³Ý µÝ³Ï³í³ÛñÇ Ù³ÝÏ³å³ñï»½Ç Ï³éáõóáõÙ / Project construction children's garden village Yeghegnavan,communities Veda,Araratsky marza Estimate volume sheet/Leaf estimated volume |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| N/A | ²ßË³ï³ÝùÝ»ñÇ ¨ Í³Ëë»ñÇ ³Ýí³ÝáõÙÁ / Name work and expenses | The world /eat.measure. | / K.-in | ØÇ³íáñ ·ÇÝ /Ñ³½. ¹ñ³Ù/price yes eat. /thousand.etc../ | ÀÝ¹³Ù»ÝÁ /Ñ³½. ¹ñ³Ù/Total/thousand.etc../ |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1 | Ö³ñï³ñ³å»ï³Ï³Ý Ù³ë/ Architectural part |  |  |  |  |
| 2 | ä³ï»ñ/Walls |  |  |  |  |
| 3 | Þ»ÝùÇ å³ï»ñÇ Çñ³Ï³Ý³óáõÙ Ï³ÝáÝ³íáñ ïáõý ù³ñáí b=400ÙÙ/Walls buildings from tufa correct forms masonryb=400mm | U²/m² | 210.0 | 32.62 | 6850.30 |
| 4 | Þ»ÝùÇ å³ï»ñÇ Çñ³Ï³Ý³óáõÙ å»Ù½³µÉáÏáí b=400ÙÙ/ Walls buildings from pumice stoneb=400mm | U²/m² | 5.2 | 27.35 | 142.20 |
| 5 | Þ³ñí³ÍùÇ ³Ùñ³Ý³íáñáõÙ ó³Ýóáí ³Ùñ³Ý 6A-Ic/Reinforcement masonry with a net reinforcement6A-Ic | /t | 0.425 | 753.69 | 320.32 |
| 6 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 7312.82 |
| 7 | I am/Roof |  |  |  |  |
| 8 | ÂáõÙµ»ñ Ï³Ý·Ý³ÏÝ»ñÇ ï³Ï, µ»ïáÝ B20 400x200/Beds under with racks,concreteB20 400x200 | U²/m² | 0.61 | 49.90 | 30.44 |
| 9 | î³ÝÇùÇ ÷³Ûï" ¿É»Ù»ÝïÝ"ñ (µ³ó³éáõÃÛ³Ùµ Ï³í³ñ³Ù³ÍÇ)/Wooden elements roof(except crates) | U²/m² | 13.53 | 253.92 | 3435.51 |
| 10 | øÇí³í³Ñ³Ý ï³Ëï³ÏÝ»ñ 120x50ÙÙ/Under the eaves shield from board120x50mm | U²/m² | 70.30 | 7.37 | 517.84 |
| 11 | Ðáë³ÝáóÇ ùÇí³í³Ñ³Ý 120x50 ÙÙ/Under the eaves shield120x50mm | U²/m² | 69.60 | 7.37 | 512.68 |
| 12 | î³ÝÇùÇ Í³ÍÏÇ Çñ³Ï³Ý³óáõÙÁ Ù»ï³Õ³ÏÕÙÇÝ¹ñáí (Ï³í³ñ³Ù³Íáí)/Overlapping roof with metal.with tiles(crate) | U²/m² | 607.44 | 14.02 | 8513.69 |
| 13 | î³ÝÇùÇ çñÑáñ¹³ÝÝ»ñÇ Çñ³Ï³Ý³óáõÙ ÷áß»Ý»ñÏí³Í óÇÝÏ³å³ï ÃÇÃ»Õáí,δ=0.5Hello,ï³Ëï³Ï³Ù³ÍÇ íñ³,The most important thing is to be happy. The world/Gutter roofs from galvanized list δ=0.5mm | 100 ·Í.Ù/p.m. | 0.574 | 1849.49 | 1061.61 |
| 14 | æñÑáë ËáÕáí³Ï ·áõÝ³íáñ óÇÝÏ³å³ï ÇÃ»ÕÇóδ=0.5Hello,ö100/Drainage pipe δ=0.5mm,ö100 | gm/p.m. | 32.2 | 8.2713 | 266.34 |
| 15 | î³ÝÇùÇ Éáõë³Ùáõï/Window roof | piece/pcs. | 2.0 | 64.45 | 128.89 |
| 16 | î³ÝÇùÇ Í³ÍÏÇ Çñ³Ï³Ý³óáõÙÁ ÷áß»Ý»ñÏí³Í Ñ³ñÃ ÃÇÃ»Õáí/Gutter roofs from galvanized smooth list | U²/m² | 20.0 | 2.64 | 52.75 |
| 17 | Í³ÝÇùÇ Í³ÍÏÇ åÇåÇ Çñ³Ï³Ý³óáõÙÁδ=0.50Hello ÷áß»Ý»ñÏí³Í The world is full of people. English:/Galvanized letter skate δ=0.50mm | U²/m² | 56.0 | 2.77 | 155.25 |
| 18 | ¶á·Ýáó Ý»ñÏ. ОÇÝÏ³å³ï ÃÇÃ»ÕÇóδ=0.5Hello/Apron from zinc.list | U²/m² | 41.5 | 2.77 | 115.05 |
| 19 | The worldδ=0.5 ÙÙ óÇÝÏ³å³ï ·áõÝ³íáñ ÃÇÃ»Õáí/Colorful galvanized letter valleys δ=0.5mm | U²/m² | 38.6 | 2.77 | 107.01 |
| 20 | The most important thing is to be happy.δ=0.5Hello óÇÝÏ³å³ï ·áõÝ³íáñ ÃÇÃ»Õáí/Facing cornice from galvanized list δ=0.5mm | U²/m² | 30.2 | 2.77 | 83.73 |
| 21 | ²ñóáõÝù³Ã³÷Ç ÷áß»Ý»ñÏí³Í óÇÝÏ. åñáý. ÃÇÃ»Õ:δ=0.5Hello, b=250,500Hello/Galvanized list lacrimal gland δ=0.5mm, b=250,500mm | U²/m² | 48.5 | 2.77 | 134.46 |
| 22 | ²Ùñ³Ý³ÛÇÝ áÉáñù/Krutka fittings | ïÝ/t | 0.06 | 711.77 | 42.71 |
| 23 | î³ÝÇùÇ Ï³í³ñ³Ù³ÍÇ Ññ³å³ßïå³ÝáõÃÛáõÝ/Fire resistance crates roof | U²/m² | 607.4 | 0.56 | 341.77 |
| 24 | î³ÝÇùÇ ·áÉáñß³Ù»ÏáõëÇã ß»ñï (Ç½á·³Ù)/Vapor barrier.layer roof | U²/m² | 406.3 | 3.42 | 1388.82 |
| 25 | î³ÝÇùÇ ç»ñÙ³Ù»Ïáõë³óáõÙ Ë³ñ³Ùáí/Thermal insulation roof slag | U³/m³ | 131.0 | 9.41 | 1233.02 |
| 26 | The most important thing is to be happy.δ=0.5Hello,I=1250/Snow guard: δ=0.5mm,I=1250 | gm/p.m. | 60.0 | 3.83 | 229.79 |
| 27 | î³ÝÇùÇ Ù»ï³Õ³Ï³Ý µ³½ñÇùÇ ï»Õ³¹ñáõÙ h=600ÙÙ/Metal.railing roof h=600ÙÙ | gm/p.m. | 61.0 | 2.36 | 143.91 |
| 28 | î³ÝÇùÇ Ù»ï³Õ³Ï³Ý µ³½ñÇùÇ Ý»ñÏáõÙ 2 ³Ý·³Ù Ñ³Ï³Ïáñá½ÇáÝ Ý»ñÏáí/Coloring metal.railing Antiseptic with paint/ 2once/ | /t | 0.190 | 17.04 | 3.24 |
| 29 | Ø»ï³Õ³Ï³Ý Ùïáó Ï³÷³ñÇã - 0,0283ïÝ, Ý»ñ¹Çñ ¿É»Ù»Ýï ØØ-1* - 0,0365ïÝ)/Metal.hatch | /t | 0.065 | 104.15 | 6.75 |
| 30 | Ø»ï³Õ³Ï³Ý ÙïáóÇ ³ñÅ»ùÁ/Cost metal.hatch | /t | 0.065 | 711.77 | 46.12 |
| 31 | Ø»ï³Õ³Ï³Ý ÙïáóÇ Ý»ñÏáõÙ 2 ³Ý·³Ù Ñ³Ï³Ïáñá½ÇáÝ Ý»ñÏáí/Coloring metal.hatch Antiseptic with paint / 2once/ | /t | 0.065 | 17.04 | 1.10 |
| 32 | Ø»ï³Õ³Ï³Ý ²ëïÇ×³Ý/Metal.ladder | /t | 0.0290 | 200.06 | 5.80 |
| 33 | Ø»ï³Õ³Ï³Ý ²ëïÇ×³ÝÇ ³ñÅ»ùÁ/Cost metal.stairs | /t | 0.0290 | 711.77 | 20.64 |
| 34 | Ø»ï³Õ³Ï³Ý ³ëïÇ×³ÝÝ»ñÇ Ý»ñÏáõÙ 2 ³Ý·³Ù Ñ³Ï³Ïáñá½ÇáÝ Ý»ñÏáí/Coloring metal.stairs Antiseptic with paint/ 2once/ | /t | 0.029 | 17.04 | 0.49 |
| 35 | ÀÝ¹³Ù»ÝÁ/Total |  |  | 0.00 | 18579.42 |
| 36 | ä³ïáõÑ³ÝÝ»ñ/Windows |  |  | 0.00 |  |
| 37 | 60. Ù»ç/µ³óíáÕ / Ïáñ³·ÇÍ/ Windows with metal.white profiles,two-layer,glass film/open.window | U²/m² | 40.4 | 54.77 | 2212.54 |
| 38 | 60. Ù»ç// /ãµ³óíáÕ /Ïáñ³·ÇÍ/Windows with metal.white profiles,two-layer,glass film/unopened.window | U²/m² | 28.4 | 43.81 | 1244.26 |
| 39 | 60. Ù»ç///µ³óíáÕ / áõÕÕ³ÝÏÛáõÝ/Windows with metal.white profiles,two-layer,glass film/open.window rectangular | U²/m² | 18.54 | 47.10 | 873.19 |
| 40 | 60. Ù»ç// /ãµ³óíáÕ // áõÕÕ³ÝÏÛáõÝ/Windows with metal.white profiles,two-layer,glass film/unopened.window rectangular | U²/m² | 5.6 | 35.05 | 196.28 |
| 41 | ä³ïáõÑ³Ý³·á·Ç ï»Õ³¹ñáõÙ åÉ³ëïÙ³ëë» ÏáÝëïñáõÏóÇ³Ûáí, d=400ÙÙ/Window sill plastic.construction d=400mm | Ù2 /m²/opening | 92.80 | 2.31 | 214.72 |
| 42 | ä³ïáõÑ³Ý³·á·Ç ³ñÅ»ùÁ d=400ÙÙ/Cost windowsilld=400mm | ·Ù | 54.9 | 5.41 | 297.01 |
| 43 | ²ñï³ùÇÝ å³ïáõÑ³Ý³·á·Ç Çñ³Ï³Ý³óáõÙ µ³½³Éï” 200x50(Ñ)ÙÙ Ïïñí³ÍùÇ ù³ñáí 51·Í.Ù/External windowsill from basalt tiles51p.m | U²/m² | 10.1 | 16.93 | 171.04 |
| 44 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 5209.05 |
| 45 | ¸éÝ»ñ/Doors |  |  |  |  |
| 46 | ¨ ¹»ï³ÉÝ»ñÁ)/ï»Õ³¹ñáõÙÁ ¨ ï»Õ³÷áËáõÙÁ Ý»ñ³éí³Í »Ý ·ÝÇ Ù»ç/ Installation aluminum glazed stained glass window with thermal by bridge,from which immobile12m²/installation and transportation included in cost/ | U²/m² | 15.90 | 125.96 | 2002.77 |
| 47 | ·áõÝ³íáñ Ã³Õ³ÝÃ ³å³ÏÇÝ»ñÇ Ñ³Ù³ñ/ Colorful film for glass | U²/m² | 6.20 | 3.77 | 23.35 |
| 48 | 2) ¹»ï³ÉÝ»ñÁ)/ï»Õ³¹ñáõÙÁ ¨ ï»Õ³÷áËáõÙÁ Ý»ñ³éí³Í »Ý ·ÝÇ Ù»ç/Installation aluminum colorful glazed door with thermal by bridge,from which immobile3.0m²/installation and transportation included in cost/ | U²/m² | 6.20 | 79.96 | 495.73 |
| 49 | ²ÉÛáõÙÇÝ", ³ñï³ùÇÝ, ç»ñÙ³Ï³Ùñç³Ïáí, ³å³Ï»å³ï ¹é³Ý ï»Õ³¹ñáõÙ, ï»Õ³¹ñáõÙÁ ¨ ï»Õ³÷áËáõÙÁ Ý»ñ³éí³Í »Ý ·ÝÇ Ù»ç/Installation aluminum colorful glazed door with thermal by bridge,installation and transportation included in cost | U²/m² | 21.10 | 79.95 | 1687.01 |
| 50 | Ø»ï³Õ³åÉ³ëï» ë/Ñ ¹éÝ»ñ áñÇó ³Ýß³ñÅ í»ñÝ³÷»ÕÏÁ 2ù³é.Ù/Металлапластовые: doors,from which immobile window sill2.0m² | U²/m² | 7.10 | 79.95 | 567.67 |
| 51 | Ø¸ü, ³å³Ï»å³ï (Ý»ñ³éÛ³É ë³ñù»ñ, ë³ñù³íáñáõÙÝ»ñÁ)/MDF glazed | U²/m² | 46.4 | 60.89 | 2826.63 |
| 52 | Ø¸ü, ËáõÉ (Ý»ñ³éÛ³É ë³ñù»ñ, ë³ñù³íáñáõÙÝ»ñÁ)/MDF deaf | U²/m² | 38.5 | 53.51 | 2060.10 |
| 53 | Ø»ï³Õ³Ï³Ý ¹áõé ,Ù»ï³Õ³Ï³Ý ×³Õ³í³Ý¹³Ïáí/Metallic door | U²/m² | 3.6 | 161.02 | 579.67 |
| 54 | Ð³Ï³Ññ¹»Ñ³ÛÇÝ ËáõÉ ¹áõé | U² | 4.2 | 161.02 | 676.28 |
| 55 | ¸é³Ý ³ñ·»É³ÏÇãÝ»ñ µ³óíáÕ ¹éÝ»ñÇ Ñ³Ù³ñ/Doors limiters | Ñ³ï | 75 | 9.49 | 711.98 |
|  | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 11631.19 |
| 56 | The most important thing is to be happy.Floors |  |  |  |  |
| 57 | Ð³ï³ÏÝ»ñÇ ï³Ï ·ñáõÝïÇ ïá÷³ÝáõÙ Ë×áí/Compacted soil with gravel | U²/m² | 320.9 | 0.37 | 117.42 |
| 58 | Ð³ï³ÏÝ»ñÇ Ý³Ë³å³ïñ³ëï³Ï³Ý ß»ñïÇ Çñ³Ï³Ý³óáõÙ Ë×áí 100ÙÙ Ñ³ëï./Preparation: layer with gravel | U²/m² | 32.09 | 15.43 | 495.05 |
| 59 | Ð³ï³ÏÝ»ñÇ µ»ïáÝ» »ÝÃ³ß»ñïÇ ³Ùñ³Ý³íáñáõÙ 320.9ù³é.Ù/Reinforcement concrete sublayer320.9m² | /t | 0.3 | 24.75 | 7.43 |
| 60 | 4BpI ³Ùñ³Ý ø.150x150/ 4BpIreinforcement sh.150x150 | U²/m² | 320.9 | 1.18 | 378.23 |
| 61 | Ð³ï³ÏÝ»ñÇ Ë³ñ³Ù³µ»ïáÝ» »ÝÃ³ß»ñï 140ÙÙ Ñ³ëï.Sublayer slag concrete140mm | U²/m² | 56.20 | 44.68 | 2510.76 |
| 62 | Ð³ï³ÏÝ»ñÇ »ÝÃ³ß»ñï 100ÙÙ Ñ³ëï. /Sublayer100mm | U²/m² | 32.10 | 46.79 | 1502.06 |
| 63 | æñ³Ù»Ïáõë³óáõÙ Ç½á·³Ùáí 1 ß»ñï Ý»ñ³éÛ³É å³ï»ñÇ ÏáÕùáí/Waterproofing isogamous layer | U²/m² | 429.1 | 4.90 | 2102.20 |
| 64 | Ð³ï³ÏÇ ï³Ï Ñ³ñÃ»óÝáÕ ß»ñïÇ Çñ³Ï³Ý³óáõÙ ó»Ù»ÝïÇ ß³Õ³Ëáí ÙÇç. 30Leveling layer with cement by mass thick30mm | U²/m² | 333.40 | 1.74 | 579.97 |
| 65 | Ð³ï³ÏÇ ï³Ï Ñ³ñÃ»óÝáÕ ß»ñïÇ Çñ³Ï³Ý³óáõÙ ó»Ù»ÝïÇ ß³Õ³Ëáí ÙÇç. 40ÙÙ Ñ³ëïáõÃÛ³Ùµ/ /Leveling layer with cement by mass thick40mm | U²/m² | 566.70 | 2.24 | 1269.22 |
| 66 | ìÇÝÇÉ³ÛÇÝ Ñ³ï³ÏÇ Çñ³Ï³Ý³óáõÙ 2ÙÙ Ñ³ëï, ßñÇß³ÏÝ»ñÇ Ñ»ï ÙÇ³ëÇÝ /Vinyl floor thick2mm | U²/m² | 370.1 | 17.12 | 6334.41 |
| 67 | 12 ÙÙ /Laminate with sponge and glue12mm | U²/m² | 17.7 | 8.77 | 155.26 |
| 68 | Î»ó»ë³É»ñáí Ñ³ï³ÏÇ Çñ³Ï³Ý³óáõÙ /Metlach non-slip | U²/m² | 109.1 | 7.85 | 856.18 |
| 69 | Ø³ÙÉ³·ñ³ÝÇï» ë³É»ñáí Ñ³ï³ÏÇ Çñ³Ï³Ý³óáõÙ/Pressed granite | U²/m² | 398.7 | 10.20 | 4066.31 |
| 70 | Ê»ó»ë³É» ßñÇß³ÏÝ»ñÇ Çñ³Ï³Ý³óáõÙ 100ÙÙ µ³ñÓñáõÃÛ³Ý/Metlokhovye skirting boards 100mm | gm/p.m. | 73.3 | 1.13 | 82.91 |
| 71 | Ø³ÙÉ³·ñ³ÝÇï» ßñÇß³ÏÝ»ñÇ Çñ³Ï³Ý³óáõÙ 160ÙÙ µ³ñÓñáõÃÛ³Ý/Press granite skirting boards160mm | gm/p.m. | 14.5 | 1.37 | 19.90 |
| 72 | Ø³ÙÉ³·ñ³ÝÇï» ßñÇß³ÏÝ»ñÇ Çñ³Ï³Ý³óáõÙ 100ÙÙ µ³ñÓñáõÃÛ³Ý/Press granite skirting boards100mm | gm/p.m. | 286.0 | 1.37 | 392.54 |
| 73 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 20869.87 |
| 74 | Ü»ñùÇÝ Ñ³ñ¹³ñÙ³Ý ³ßË³ï³ÝùÝ»ñ |  |  |  |  |
| 75 | ä³ï»ñÇ µ³ñÓñáñ³Ï ëí³ÕáõÙ ·³çÇ ß³Õ³Ëáí/High quality gas station plaster wall | U²/m² | 1664.3 | 5.64 | 9394.13 |
| 76 | ä³ï»ñÇ µ³ñÓñáñ³Ï Ý»ñÏáõÙ É³ï»ùë³ÛÇÝ Ý»ñÏáí/High quality painting wall latex with paint | U²/m² | 1725.5 | 2.01 | 3464.91 |
| 77 | ä³ï»ñÇ ëí³ÕáõÙ ó»Ù»Ýï³ÛÇÝ ß³Õ³Ëáí ó³ÝóÇ íñ³ÛÇó Ñ³Ë×³ë³ÉÇ ï³Ï/C/P plaster wall | U²/m² | 289.0 | 2.45 | 706.79 |
| 78 | ä³ï»ñÇ É³íáñ³Ï Ý»ñÏáõÙ ÛáõÕ³Ý»ñÏáí É³íáñ³Ï 2 ³Ý·³Ù/Maslyanaya paint wall two layer | U²/m² | 190.5 | 1.33 | 253.89 |
| 79 | ä³ï»ñÇ »ñ»ë³å³ïáõÙ Ñ³Ë×³ë³Éáí/Facing wall tiled tile | U²/m² | 289.0 | 7.89 | 2279.76 |
| 80 | ²é³ëï³ÕÇ ·³çÇ µ³ñÓñáñ³Ï ëí³Õ/High quality gas station plaster ceiling | U²/m² | 816.8 | 6.94 | 5672.43 |
| 81 | ²é³ëï³ÕÇ µ³ñÓñáñ³Ï Ý»ñÏáõÙ É³ï»ùë Ý»ñÏáí /High quality painting latex with paint | U³/m³ | 833.5 | 2.37 | 1979.53 |
| 82 | ²é³ëï³ÕÇ É³íáñ³Ï Ý»ñÏáõÙ ÛáõÕ³Ý»ñÏáí É³íáñ³Ï 2 ³Ý·³Ù/Maslyanaya paint ceiling good qualities two layer | U²/m² | 36.5 | 1.40 | 51.25 |
| 83 | Î³ËáíÇ ³é³ëï³Õ §²ñÙëÃáÝ·¦ ïÇåÇ ë³É»ñÇó /Ý»ñ³éÛ³É ³Ùñ³óÙ³Ý ¹»ï³ÉÝ»ñÁ/Suspended ceiling type§Armstrong¦ | U²/m² | 57.3 | 4.25 | 243.69 |
| 84 | ¸éÝ»ñÇ ¨ å³ïáõÑ³ÝÝ»ñÇ ß»å»ñÇ ·³çÇ ëí³Õ/Gazhevaya plaster slopes doors and window | U²/m² | 124.1 | 6.60 | 818.91 |
| 85 | ¸éÝ»ñÇ ¨ å³ïáõÑ³ÝÝ»ñÇ ß»å»river µ³ñÓñáñ³Ï Ý»ñÏáõÙ É³ï»ùë³ÛÇÝ Ý»ñÏáí with a paste coating/High quality painting doors and window latex with paint | U²/m² | 124.1 | 2.01 | 249.20 |
| 86 | ä³ïáõÑ³ÝÇ ¨ å³ïáõÑ³Ý³·á·Ç ï³Ï ÉÇóù Ñ³ñÃ»óÝáÕ ß»ñïáí 3ëÙ Ñ³ëï/Filling under window and windowsill3cm | U²/m² | 0.69 | 1.51 | 1.04 |
| 87 | Ø³ÝÏ³Ï³Ý ë³ÝÑ³Ý·áõÛóÝ»ñáõÙ É³ÙÇÝ³ï» ÙÇçÝáñÙÝ»ñÇ ¨ ¹éÝ³ÏÝ»ñÇ Çñ³Ï³Ý³óáõÙ (Ý»ñ³éÛ³É ³Ùñ³óÙ³Ý ¹»ï³ÉÝ»ñÁ)/Partitions and doors from laminate in children's in the bathroom | U²/m² | 29.00 | 23.21 | 672.99 |
| 88 | ÜÇÏ»É³å³ï ¹»Ïáñ³ïÇí Ï³Ý·Ý³Ï ö32/Decorative rack nickel-plated | gm/p.m. | 55.0 | 3.96 | 217.67 |
| 89 | ÌËÝÇ/Loop | piece/pcs. | 42.0 | 3.96 | 166.22 |
| 90 | ´éÝ³Ï-÷³Ï³Ý/Pen | piece/pcs. | 14.0 | 5.17 | 72.36 |
| 91 | Þ»ñï³í³ñ³·áõÛñ/Blinds | U²/m² | 108.5 | 6.65 | 721.00 |
| 92 | Ð³Û»ÉÇÝ»ñ ë³ÝÑ³Ý·áõÛóÝ»ñáõÙ/Mirrors in in the bathroom | piece/pcs. | 14.0 | 12.31 | 172.27 |
| 93 | Î³ËÇãÝ»ñ ëñµÇãÝ»ñÇ Ñ³Ù³ñ/Hangers for towel | piece/pcs. | 77.00 | 1.18 | 90.96 |
| 94 | ¼áõ·. ÃÕÃÇ Ï³ËÇãÝ»ñ/Hangers for toilet paper | piece/pcs. | 14.0 | 2.22 | 31.01 |
| 95 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 27260.01 |
| 96 | ²ñï³ùÇÝ Ñ³ñ¹³ñÙ³Ý ³ßË³ï³ÝùÝ»ñ/ Outdoor finishing works |  |  |  |  |
| 97 | ò/³ Ñ³ñÃ»óÝáÕ ß»ñïÇ Çñ³Ï³Ý³óáõÙ Ù»ï³Õ³Ï³Ý ó³ÝóÇ íñ³ 30ÙÙ/C/P Leveling layer no metal.to the grid30mm | U²/m² | 576.4 | 2.95 | 1699.63 |
| 98 | 50Thermal insulation external wall and slopes | U²/m² | 576.40 | 1.14 | 657.53 |
| 99 | ¸éÝ»ñÇ ¨ å³ïáõÑ³ÝÝ»ñÇ ß»å»ñÇ ëí³Õ ó»Ù»Ýï³í³½³ÛÇÝ ß³Õ³Ëáí/C/P Plaster doors and slopes window | U²/m² | 71.2 | 2.43 | 173.21 |
| 100 | Ø»ï³Õ³Ï³Ý Ëó³µáõÃ³Ï d-12mm L-250mm/Met.dowel d-12mm L-250mm | Ï³ï | 574.00 | 0.52 | 296.67 |
| 101 | Ø»ï³Õ³Ï³Ý ó³Ýó ³Ùñ³Ý ö 4Bp-1/Met.mesh reinforcement | /t | 0.2550 | 670.42 | 170.96 |
| 102 | The most important thing is to be happy.δ=0.7Hello/Galvanized letter δ=0.7mm | U²/m² | 3.10 | 13.02 | 40.35 |
| 103 | ó/³í³½" ëí³Õ ó³ÝóÇ íñ³/C/P plaster no to the grid | U²/m² | 272.0 | 2.06 | 561.05 |
| 104 | Ö³Ï³ïÝ»ñÇ Ý»ñÏáõÙ ×³Ï³ï³ÛÇÝ çñ³Ï³ÛáõÝ Ý»ñÏáí/Coloring facades with waterproof with paint | U²/m² | 272.0 | 0.70 | 190.71 |
| 105 | àñÙÝ³Ë³ñÇëËÇ »ñ»ëå³ïáõÙ µ³½³Éï” 30ÙÙ Ñ³ëï ë³ÉÇÏÝ»ñáí (Ý»ñ³éÛ³É ·ÉË³¹ÇñÝ»ñÁ 8,2.0Ù2)/Facing plinth | U²/m² | 52.2 | 28.88 | 1507.58 |
| 106 | ä³ïáõÑ³ÝÝ»ñÇ ßáõñç ßñç³Ý³ÏÝ»ñÇ Çñ³Ï³Ý³óáõÙ 30ÙÙ Ñ³ëï. µ³½³Éï» ë³ÉÇÏÝ»ñáí (b=200ÙÙ, 30ÙÙ Ñ³ëï., L=2200ÙÙ)Installation frame around window basalt tiles thick30mm(b=200)mm, 30Hello full., L=2200mm) | U²/m² | 37.0 | 28.88 | 1068.59 |
| 107 | ä³ï»ñÇ »ñ»ë³å³ïáõÙ ïñ³í»ñïÇÝ» ë³ÉÇÏÝ»ñáí, Ñ³ëï 3ëÙ 5.8-(0.06*7), 0.13-(0.005*7), 8.9-(0.11*7)/Facing wall tiles travertine | U²/m² | 53,100 | 21.76 | 1155.34 |
| 108 | ä³ï»ñÇ ¨ ß»å»ñÇ ºñ»ë³å³ïáõÙ ²ñÃÇÏÇ ù³ñÑ³ÝùÇ ïáõý» ë³ÉÇÏÝ»ñáí, Ñ³ëï 3ëÙ 5.8-(0.06*7), 0.13-(0.005*7), 8.9-(0.11*7)/Facing wall and slopes tiles tufa Artica3cm | U²/m² | 389.1 | 20.28 | 7891.37 |
| 109 | Ö³Ï³ïÝ»ñÇ íñ³ ¹Ç½³ÛÝ»ñ³Ï³Ý ·áõÝ³íáñ ù³ñÇÏÝ»ñÇ ï»Õ³¹ñáõÙ/Installation design.colorful pebble no facades | U²/m² | 14.0 | 20.65 | 289.10 |
| 110 | ²³Ý¹Õ³í³Ý¹³ÑáõÙ ³ÉÛáõÙÇÝ” Ñ³í³ùáíÛ ¿É»Ù»ÝïÝ»ñÇó µ³½ñÇùÝ»ñÇ ï»Õ³¹ñáõÙ/Installation railing from aluminum.elements | gm/p.m. | 14.1 | 29.43 | 414.90 |
| 111 | Ø»ï³Õ³Ï³Ý µ³½ñÇù Ð³ñÃ³ÏÇ íñ³/Metal.-I railing no on the site | gm/p.m. | 5.50 | 10.15 | 55.85 |
| 112 | ´êÊ ë³ÝÑ³Ý·áõÛóÝ»ñáõÙ µéÝ³ÓáÕÇ ï»Õ³¹ñáõÙ/Poruche in in the bathroom MGN | gm/p.m. | 9.00 | 10.15 | 91.39 |
| 113 | î³ÝÇùÇ åáÕå³ï" ÑáÕÙ³óáõÛóª Ý"ñÏáõÙáí (³ùÉáñ)/Steel weather vane no on the roof | piece/pcs. | 1.00 | 16.24 | 16.24 |
| 114 | ´³½³Éï» ë³ÉÇÏÝ»ñáí 30ÙÙ Ñ³ëï.¶ÈÊ²¸Æð/Nozzle from basalt tile | U²/m² | 3.3 | 19.37 | 64.31 |
| 115 | ²ñï³ùÇ Ñ³ñ¹³ñÙ³Ý ³ßË³ï³ÝùÝ»ñÇ Ñ³Ù³ñ ï³Ëï³Ï³Ù³ÍÇ Ï³éáõóáõÙ/Platform for external finishing work | U²/m² | 302.00 | 3.51 | 1060.47 |
| 116 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 17405.23 |
| 117 | Ð³ñÃ³ÏÝ»ñÇ ³ëïÇ×³ÝÝ»ñ ¨ Ã»ù³Ñ³ñÃ³Ï / Playground-ramp |  |  |  |  |
| 118 | III Ï³ñ·Ç ÑáÕÇ ÷áñáõÙ Ñ³ñÃ³ÏÝ»ñÇ ¨ Ã»ù³Ñ³ñÃ³ÏÇ ï³Ï/Digging land3go variety under platforms and ramp | U³/m³ | 23.8 | 3.05 | 72.62 |
| 119 | 24,55* / Transfer to 2km24.55* | /t | 42.80 | 1.91 | 81.90 |
| 120 | Ê³Ùù³ñ³µ»ïáÝ B12,5 ¹³ëÇ/ButobetonB 12.5 | U³/m³ | 44.4 | 45.26 | 2009.39 |
| 121 | ´»ïáÝ B15 ¹³ëÇ µ»ïáÝ 150ÙÙ Ñ³ëï. /ConcreteB 15in thickness150mm | U³/m³ | 5.84 | 48.04 | 280.53 |
| 122 | Ð³ñÃ³ÏÝ»ñÇ, Ã»ù³Ñ³ñÃ³ÏÇ ¨ ³ëïÇ×³ÝÝ»ñÇ µ³½³Éï» ë³ÉÇÏÝ»ñÇ ï³Ï ó»Ù»Ýï³í³½» ëí³Õ 30ÙÙ Ñ³ëï./ C/P plaster30mm under under tiles platforms,ramp and ladder | U²/m² | 95.8 | 1.74 | 167.09 |
| 123 | Ð³ñÃ³ÏÝ»ñÇ, Ã»ù³Ñ³ñÃ³ÏÇ ¨ ³ëïÇ×³ÝÝ»ñÇ »ñ»ëå³ïáõÙ µ³½³Éï» ë³ÉÇÏÝ»ñáí 30ÙÙ Ñ³ëï./Facing platforms,ramp and ladder with basalt with plates | U²/m² | 40.0 | 19.37 | 774.83 |
| 124 | Ð³ñÃ³ÏÝ»ñÇ, Ã»ù³Ñ³ñÃ³ÏÇ ¨ ³ëïÇ×³ÝÝ»ñÇ ÏáÕ³ÛÇÝ Ù³ë»ñÇ »ñ»ëå³ïáõÙ µ³½³Éï» 30ÙÙ ë³É»ñáí 7.7-(0.08*7), 0.15-(0.0055*7), 10.2-(0.155*7)/Facing platforms,ramp and ladder with basalt with plates 30mm | U²/m² | 42.3 | 28.79 | 1217.92 |
| 125 | Ø»ï³Õ³Ï³Ý ³ÝÏ»éÝ»ñ ö10, L=150ÙÙ/Metallic.Anchor | /t | 0.0085 | 711.77 | 6.05 |
| 126 | ´³½³Éï» »½ñ³ù³ñ 50x100ÙÙ Ïïñí³ÍùÇ/Basalt curb | gm/p.m. | 12.0 | 11.82 | 141.85 |
| 127 | ²³Ý¹Õ³í³Ý¹³ÑáõÙ ³ÉÛáõÙÇÝ” Ñ³í³ùáíÛ ¿É»Ù»ÝïÝ»ñÇó µ³½ñÇùÝ»ñÇ ï»Õ³¹ñáõÙ/Installation railing from aluminum.elements | gm/p.m. | 14.1 | 29.43 | 414.90 |
| 128 | Ø»ï³Õ³Ï³Ý ÷áß»Ý»ñÏí³Í ×³Õ³ß³ñÇ ï»Õ³¹ñáõÙ/ Installation metal.railing | gm/p.m. | 34.30 | 10.82 | 371.09 |
| 129 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 5538.18 |
| 130 | ÜÏáõÕÇ Ùáõïù/Login in basement floor |  |  |  |  |
| 131 | äáÕå³ï» ÷áß»Ý»ñÏí³Í ¿É»Ù»ÝïÝ»ñÇó Ï³ñÏ³ëÇ å³ïñ³ëïáõÙ/Installation frame | /t | 0.427 | 109.93 | 46.95 |
| 132 | äáÕå³ïÇó ¿É»Ù»ÝïÝ»ñÇ ³ñÅ»ùÁ/ ËáÕáí³É 60*60*3ÙÙ/Cost steel elements/pipe60*60*3mm | gm/p.m. | 22.2 | 3.46 | 76.71 |
| 133 | äáÕå³ïÇó ¿É»Ù»ÝïÝ»ñÇ ³ñÅ»ùÁ/ ËáÕáí³É 20*20*1,5ÙÙ/Cost steel elements/pipe 20*20*1.5mm | gm/p.m. | 28.0 | 0.88 | 24.64 |
| 134 | äáÕå³ïÇó ¿É»Ù»ÝïÝ»ñÇ ³ñÅ»ùÁ/ ËáÕáí³É 20*20*3ÙÙ/Cost steel elements/pipe20*20*3mm | gm/p.m. | 33.3 | 1.39 | 46.42 |
| 135 | Ü»ñ¹Çñ ¿É»Ù»Ýï /Bookmark element | /t | 0.026 | 1061.73 | 27.71 |
| 136 | äáÕå³ïÇó ¿É»Ù»ÝïÝ»ñÇ ³ñÅ»ùÁ/ ³ÝÏÛáõÝ³Ï 75*75*5ÙÙ/Cost steel elements/Branch75*75*5mm | gm/p.m. | 6.0 | 4.77 | 28.64 |
| 137 | ØÇ³ÓáõÛÉ »/µ Í³ÍÏÇ Çñ³Ï³Ý³óáõÙ B-20¹³ëÇ µ»ïáÝÇó / J/B coating fromB-20 | U³/m³ | 5.20 | 82.33 | 428.13 |
| 138 | 8Ac-1 ¹³ëÇ ³Ùñ³ÝÇ ³ñÅ»ùÁ/Cost fittings8Ac-1type | /t | 0.1060 | 670.67 | 71.09 |
| 139 | 16A-500c ¹³ëÇ ³Ùñ³ÝÇ ³ñÅ»ùÁ/Cost fittings16A-500ctype | /t | 0.7960 | 559.91 | 445.69 |
| 140 | î³ÝÇùÇ Í³ÍÏÇ Çñ³Ï³Ý³óáõÙÁ Ù»ï³Õ³ÏÕÙÇÝ¹ñáí (Ï³í³ñ³Ù³Íáí /Coverage roof from metal.tile(Crate) | U²/m² | 11.00 | 14.02 | 154.17 |
| 141 | ²ëïÇ×³ÝÝ»ñÇ ÏáÕ³ÛÇÝ Ù³ë»ñÇ, Ñ³ñÃ³ÏÇ, å³ï»ñÇ ¨ Ñ³ï³ÏÇ »ñ»ëå³ïáõÙ µ³½³Éï» 30ÙÙ ë³É»ñáí 7.7-(0.08*7), 0.15-(0.0055*7), 10.2-(0.155*7)/Facing platforms,ramp and ladder with basalt with plates30mm | U²/m² | 85.0 | 28.79 | 2447.35 |
| 142 | Ð³ñÃ³ÏÝ»ñÇ, ¨ ³ëïÇ×³ÝÝ»ñÇ »ñ»ëå³ïáõÙ µ³½³Éï» ë³ÉÇÏÝ»ñáí 30ÙÙ Ñ³ëï.¶ÈÊ²¸Æð Ê²èæ¦Ç Ñ»ï ÙÇ³ëÇ/Facing platforms,ramp and ladder with basalt with plates30mm | U²/m² | 5.3 | 19.37 | 102.67 |
| 143 | Ð³ñÃ³ÏÝ»ñÇ, Ã»ù³Ñ³ñÃ³ÏÇ ¨ ³ëïÇ×³ÝÝ»ñÇ µ³½³Éï» ë³ÉÇÏÝ»ñÇ ï³Ï ó»Ù»Ýï³í³½» ëí³Õ 30ÙÙ Ñ³ëï./ C/P plaster30mm under under tiles platforms,ramp and ladder | U²/m² | 85.0 | 1.74 | 148.25 |
| 144 | Ø»ï³Õ³Ï³Ý ×³Õ³í³Ý¹³Ïáí ¹áõé, Çñ ë³ñù³íáñáõÙÝ»ñáí, Ý»ñÏáõÙáí/Door with metal.with a grate | U²/m² | 1.2 | 161.02 | 193.22 |
| 145 | ²ÉÛáõÙÇÝ" µéÝ³ÓáÕÇ ï»Õ³¹ñáõÙ/Installation aluminum.handrail | gm/p.m. | 12.0 | 19.09 | 229.06 |
| 146 | Resolution: 250, 3.0, 960*1250/ Lift vertical | Ñ³ï/pcs | 1.0 | 1056.65 | 1056.65 |
| 147 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 5527.38 |
| 148 | ²å³Ï» ÑáíÑ³ñ 1/Glass visor |  |  |  |  |
| 149 | Ðáí³ñ ûñ·³å³Ïáõó 8ÙÙ Ñ³ëï/1Ñ³ï/ 4*1,6Ù,SM1,GOST30826-2014, 15kg/m2,Ý»ñ³éÛ³É ³Ùñ³óÙ³Ý ¹»ï³ÉÝ»ñ óÇÝÏ³å³ï ÓáÕ,5Ñ³ï ³å³ÏáõÝ ³Ùñ³óíáÕ ¹»ï³ÉÝ»ñ 16Ñ³ï, å³ïÇÝ ³Ùñ³óíáÕ ¹»ï³ÉÝ»ñ 16 Ñ³ï,/ï»Õ³÷áËáõÙÁ ¨ ï»Õ³¹ñáõÙÁ Ý»ñ³éí³Í ¿ ·ÝÇ Ù»ç/Manufacturing visor from forged glass8mm | U²/m² | 2,300 | 218.85 | 503.37 |
| 150 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 503.37 |
|  | ÀÝ¹Ñ³ÝáõñÁ/Generaly |  |  |  | 119836.50 |
|  | Constructor part/Konstruktorskaya part |  |  |  |  |
| 1 | 1. ÐáÕ³ÛÇÝ ³ßË³ï³ÝùÝ»ñ/Earthen Works |  |  |  |  |
| 2 | III.Digging soil3y categories in trenches excavator | U³/m³ | 1120.0 | 0.52 | 586.86 |
| 3 | III.Digging soil3y categories in trenches excavator | U³/m³ | 214.4 | 0.52 | 112.34 |
| 4 | III Ï³ñ·Ç ·ñáõÝïÇ í»ñçÝ³Ùß³ÏáõÙ Ó»éùáí ÷áëáñ³ÏáõÙ/Final development soil3y categories by hand digging | U³/m³ | 53.6 | 3.05 | 163.55 |
| 5 | î»Õ³÷áËáõÙ ÙÇÝã¨ 2ÏÙ /Transportation to2km | /t | 1650.0 | 1.41 | 2333.45 |
| 6 | ø³Ý¹í³Í ·ñáõÝïÇ Ñ»ïÉÇóùª µáõÉ¹á½»ñáí ïá÷³ÝáõÙáí/Reverse backfill soil by bulldozer with a rammer | U³/m³ | 214.4 | 0.01 | 2.30 |
| 7 | ÜáõÛÝÁ Ó»éùáí/Thoth or by hand | U³/m³ | 53.6 | 1.28 | 68.39 |
| 8 | ´Ý³ÑáÕÇ ïá÷³ÝáõÙ åÝ¨Ù³ïá÷³ÝÇãÝ»ñáí/Rammer soil | U³/m³ | 268.00 | 0.39 | 103.25 |
| 9 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 3370.14 |
| 10 | 2.ÐÇÙù»ñ/Foundations |  |  |  |  |
| 11 | ´»ïáÝ» Ý³Ë³å³ïñ³ëï³Ï³Ý ß»»ñïÇ Çñ³Ï³Ý³óáõÙ B7,5 ¹³ëÇ Ñ=10ëÙ/Conduct concrete preparatory layer fromB-7.5S=10cm | U³/m³ | 20.1 | 40.21 | 808.22 |
| 12 | B15/Conduct concrete point basis fromB-15under metal.Stairs | U²/m² | 4.5 | 62.46 | 281.05 |
| 13 | B15/Concrete foundation under partition B15 | U²/m² | 18.0 | 57.33 | 1032.00 |
| 14 | ¿¿¿¿¿¿¿¿¿¿¿¿¿¿¿¿?Waterproofing-warm bituminous pasta2once | U²/m² | 370.0 | 1.34 | 496.67 |
| 15 | º/µ ÑÇÙÝ³ÛÇÝ Ñ»Í³ÝÇ Çñ³Ï³Ý³óáõÙ B25/J/B beamB25 | U²/m² | 93.1 | 92.13 | 8577.43 |
| 16 | ³Ùñ³Ý 8ö Ac-I/Armature8ö Ac-I | /t | 2.4516 | 639.90 | 1568.77 |
| 17 | ³Ùñ³Ý16öA500C/Armature16öA500C | /t | 0.7678 | 559.91 | 429.90 |
| 18 | ³Ùñ³Ý18öA500C/Armature18öA500C | /t | 0.1736 | 559.91 | 97.20 |
| 19 | ³Ùñ³ 20öA500C/Armature20öA500C | /t | 0.7072 | 562.99 | 398.15 |
| 20 | ³Ùñ³Ý22öA500C/Armature22öA500C | /t | 1.5515 | 559.91 | 868.71 |
| 21 | ³Ùñ³Ý25öA500C/Armature25öA500C | /t | 1.4968 | 559.91 | 838.08 |
| 22 | ³Ùñ³Ý28öA500C/Armature28öA500C | /t | 0.7347 | 562.99 | 413.63 |
| 23 | ³Ùñ³Ý 32öA500C/Armature32öA500C | /t | 1.1338 | 562.99 | 638.32 |
| 24 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 16448.14 |
| 25 | ä³ï»ñ/Walls |  |  |  |  |
| 26 | º/µ å³ïÇ Çñ³Ï³Ý³óáõÙ µ»ïáÝ B25/JB wall concreteB25 | U³/m³ | 92.2 | 111.09 | 10242.18 |
| 27 | ³Ùñ³Ý 6öA-Ic/Armature 6öA-Ic | /t | 0.1544 | 510.69 | 78.85 |
| 28 | ³Ùñ³Ý 8öA500C/Armature8öA500C | /t | 0.935 | 639.90 | 598.30 |
| 29 | ³Ùñ³Ý12öA500C/Armature12öA500C | /t | 3.2985 | 562.99 | 1857.02 |
| 30 | º/µ å³ïÇ Çñ³Ï³Ý³óáõÙ µ»ïáÝ B25/J/B wall concreteB25 | U³/m³ | 18 | 111.09 | 1999.56 |
| 31 | ³Ùñ³Ý 6öA-Ic/Armature 6öA-Ic | /t | 0.0664 | 510.69 | 33.91 |
| 32 | ³Ùñ³Ý 8öA500C/Armature8öA500C | /t | 0.3480 | 639.90 | 222.68 |
| 33 | ³Ùñ³Ý12öA500C/Armature12öA500C | /t | 0.577 | 562.99 | 324.85 |
| 34 | ³Ùñ³Ý14öA500C/Armature14öA500C | /t | 0.448 | 562.99 | 252.22 |
| 35 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 15609.58 |
| 36 | Ðáñ³Ý 1-1`/Mine1-1 |  |  |  |  |
| 37 | º/µ Ñáñ³ÝÇ Çñ³Ï³Ý³óáõÙ µ»ïáÝ B7,5/J/B mine concreteB7.5 | U³/m³ | 0.15 | 42.43 | 6.36 |
| 38 | º/µ Ñáñ³ÝÇ Çñ³Ï³Ý³óáõÙ µ»ïáÝ B15/J/B mine concreteB15 | U³/m³ | 1 | 57.41 | 57.41 |
| 39 | ³Ùñ³Ý 6öA-Ic/Armature 6öA-Ic | /t | 0.0144 | 510.69 | 7.35 |
| 40 | Ø»ï³Õ³Ï³Ý ¿É»Ù»ÝïÝ»ñ/Metal.Elements | /t | 0.0587 | 1061.73 | 62.32 |
| 41 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 133.45 |
| 42 | º/µ ßñç³Ý³ÏÝ»ñ/J/B frames |  |  |  |  |
| 43 | º/µ ëÛáõÝ»ñÇ Çñ³Ï³Ý³óáõÙ µ»ïáÝ B25/J/B pillar concreteB25 | U³/m³ | 50.7 | 116.37 | 5899.74 |
| 44 | ³Ùñ³Ý ö 8 A-Ic/Armature ö8 A-Ic | /t | 3.0628 | 510.69 | 1564.14 |
| 45 | ³Ùñ³Ý 25 A500C/Armature25 A500C | /t | 1.7196 | 464.73 | 799.15 |
| 46 | ³Ùñ³Ý28öA500C/Armature28öA500C | /t | 4.1570 | 562.99 | 2340.35 |
| 47 | ³Ùñ³Ý 32öA500C/Armature32öA500C | /t | 3.9600 | 562.99 | 2229.44 |
| 48 | Ý»ñ¹Çñ Ù³ë/tab | /t | 0.6402 | 1061.73 | 679.72 |
| 49 | º/µ å³ñ½áõÝ³ÏÝ»ñÇ Çñ³Ï³Ý³óáõÙ µ»ïáÝ B25/J/B crossbar concrete B25 | U³/m³ | 133.5 | 100.53 | 13421.29 |
| 50 | ³Ùñ³Ý ö 8 A-Ic/Armature ö8 A-Ic | /t | 5.7978 | 510.69 | 2960.88 |
| 51 | ³Ùñ³Ý 16 A500C/Armature16 A500C | /t | 0.9324 | 464.73 | 433.31 |
| 52 | ³Ùñ³Ý 18 A500C/Armature18 A500C | /t | 0.5808 | 464.73 | 269.91 |
| 53 | ³Ùñ³Ý 20 A500C/Armature20 A500C | /t | 6.6799 | 467.28 | 3121.40 |
| 54 | ³Ùñ³Ý 22 A500C/Armature22 A500C | /t | 1.2306 | 464.73 | 571.90 |
| 55 | ³Ùñ³Ý 25 A500C/Armature25 A500C | /t | 3.9001 | 464.73 | 1812.49 |
| 56 | ³Ùñ³Ý 28 A500C/Armature28 A500C | /t | 0.2648 | 467.28 | 123.74 |
| 57 | Ý»ñ¹Çñ Ù³ë/Tab | /t | 0.7148 | 1061.73 | 758.92 |
| 58 | º/µ Ñ»Í³ÝÝ»ñÇ Çñ³Ï³Ý³óáõÙ µ»ïáÝ B25/ J/B light concrete B25 | U³/m³ | 2 | 100.53 | 201.07 |
| 59 | ³Ùñ³Ý ö 8 A-Ic/Armature ö8 A-Ic | /t | 0.0886 | 510.69 | 45.25 |
| 60 | ³Ùñ³Ý 22 A500C/Armature22 A500C | /t | 0.3468 | 464.73 | 161.17 |
| 61 | º/µ Ï³Ý·Ý³ÏÇ Çñ³Ï³Ý³óáõÙ µ»ïáÝ B15/J/B rack concrete B15 | U³/m³ | 2.7 | 106.49 | 287.53 |
| 62 | ³Ùñ³Ý 6ö A-Ic/Armature6öA-Ic | /t | 0.0471 | 510.69 | 24.05 |
| 63 | ³Ùñ³Ý 12öA500C/Armature 12öA500C | /t | 0.168 | 467.28 | 78.50 |
| 64 | º/µ å³ñ³å»ïÇ Çñ³Ï³Ý³óáõÙ µ»ïáÝ B 25/J/B parapet concrete B25 | U³/m³ | 9.5 | 111.09 | 1055.32 |
| 65 | ³Ùñ³Ý ö 6A-Ic/Armature ö 6A-Ic | /t | 0.0245 | 510.69 | 12.51 |
| 66 | ³Ùñ³Ý 8ö A500C/Armature8ö A500C | /t | 0.569 | 531.12 | 302.21 |
| 67 | Ø»ï³Õ³Ï³Ý ó³Ýó ³Ùñ³Ý 6ö A-Ic/Metal.Grid reinforcement6öA-Ic | /t | 0.5973 | 1007.11 | 601.55 |
| 68 | ²é³ÝÓÇÝ ³Ùñ³Ý³ÓáÕ»ñ ³Ùñ³Ý 12A500C/ Armature12A500C | ï | 0.0840 | 562.99 | 47.29 |
| 69 | º/µ µ³ñ³íáñ µ»ïáÝ B15/J/B jumper concrete B15 | U³/m³ | 12.32 | 95.61 | 1177.89 |
| 70 | ³Ùñ³Ý ö 6A-Ic/Armature ö 6A-Ic | /t | 0.1745 | 510.69 | 89.12 |
| 71 | ³Ùñ³Ý 12öA500C/Armature12öA500C | /t | 0.414 | 562.99 | 233.08 |
| 72 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 41302.92 |
| 73 | ²ëïÇ×³ÝÝ»ñ ²êî-1/Staircase-1 |  |  |  |  |
| 74 | º/µ ³ëïÇ×³ÝÝ»ñÇ Çñ³Ï³Ý³óáõÙ B25 /J/B stairs B25 | U³/m³ | 4.55 | 84.75 | 385.60 |
| 75 | ³Ùñ³Ý ö 6A-Ic/Armature ö 6A-Ic | /t | 0.0412 | 510.69 | 21.04 |
| 76 | ³Ùñ³Ý 8öA500C/Armature8öA500C | /t | 0.1126 | 639.90 | 72.05 |
| 77 | ³Ùñ³Ý 12öA500C/Armature12öA500C | /t | 0.4179 | 562.99 | 235.27 |
| 78 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 713.97 |
| 79 | ²ñï³ùÇÝ Ù»ï³Õ³Ï³Ý ³ëïÇ×³ÝÝ»ñ/ Outdoor metal stairs |  |  |  |  |
| 80 | ²ñï³ùÇÝ Ù»ï³Õ³Ï³Ý ³ëïÇ×³ÝÝ»ñÇ ÙáÝï³ÅáõÙ/Mounting external metallic ladder | /t | 3,053 | 200.18 | 611.16 |
| 81 | Ø»ï³Õ³Ï³Ý ³ëïÇ×³ÝÇ ³ñÅ»ùÁ/Cost metal.stairs | /t | 3.05 | 711.77 | 2173.03 |
| 82 | Ø»ï³Õ³Ï³Ý ³ëïÇ×³ÝÝ»ñÇ Ý»ñÏáõÙ 2 ³Ý·³Ù Ñ³Ï³Ïáñá½ÇáÝ Ý»ñÏáí /Coloring metal.ladder2once | /t | 3.05 | 90.41 | 276.01 |
| 83 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 3060.19 |
| 84 | I/Overlapping |  |  |  |  |
| 85 | º/µ Í³ÍÏ Çñ³Ï³Ý³óáõÙ µ»ïáÝ B25/J/B Overlapping concreteB25 | U³/m³ | 174.5 | 84.75 | 14788.51 |
| 86 | ³Ùñ³Ý 6ö A-Ic/Armature 6ö A-Ic | /t | 0.3379 | 510.69 | 172.56 |
| 87 | ³Ùñ³Ý 8ö A-Ic/Armature8ö A-Ic |  | 0.8367 | 1279.79 | 1070.80 |
| 88 | ³Ùñ³Ý 10ö A500C/Armature10ö A500C | /t | 11.50 | 612.23 | 7040.32 |
| 89 | ³Ùñ³Ý 12ö A500C/Armature12ö A500C | /t | 6.6787 | 562.99 | 3760.05 |
| 90 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 26832.24 |
| 91 | ØÇçÝáñÙÝ»ñÇ Çñ³Ï³Ý³óáõÙ/ |  |  |  |  |
| 92 | ØÇçÝáñÙÇ Çñ³Ï³Ý³óáõÙ 100ÙÙ Ñ³ëï. ÙÇçÝáñÙ³ÛÇÝ ë³Éáí/Partition thick100mm pl. | U²/m² | 63.9 | 6.37 | 407.23 |
| 93 | ØÇçÝáñÙÇ Çñ³Ï³Ý³óáõÙ 200ÙÙ Ñ³ëï. å»Ù½³µÉáÏáí/Partition thick200mm pumice stone | U²/m² | 117.1 | 28.24 | 3307.25 |
| 94 | ²Ýóù»ñÇ Éó³÷³ÏáõÙ Ã»Ã¨ µ»ïáÝáí B 15¹³ëÇ/Filling holes easy concreteB 15 | U³/m³ | 20,200 | 43.76 | 883.89 |
| 95 | ³Ùñ³Ý 6A-Ic/Armature6A-Ic | /t | 0.0036 | 510.69 | 1.84 |
| 96 | ³Ùñ³Ý 8A-Ic/Armature8A-Ic | /t | 0.04 | 510.69 | 20.43 |
| 97 | ³Ùñ³Ý 12A500C/Armature12A500C | /t | 0.956 | 639.90 | 611.74 |
| 98 | Ø»ï³Õ³Ï³Ý ó³Ýó ³Ùñ³Ý 6öA-Ic/Metal.Grid reinforcement6öA-Ic | /t | 0.7728 | 670.67 | 518.29 |
| 99 | Ý»ñ¹Çñ Ù³ë/Tab | /t | 0.637 | 1061.73 | 675.89 |
| 100 | º/µ³ñ³íáñ Çñ³Ï³Ý³óáõÙ µ»ïáÝ B15/J/B jumper concrete B15 | U³/m³ | 2.87 | 91.90 | 263.76 |
| 101 | ³Ùñ³Ý 6öA-Ic/Armature 6öA-Ic | /t | 0.086 | 510.69 | 43.92 |
| 102 | ³Ùñ³Ý 12öA500C/Armature12öA500C | /t | 0.2382 | 562.99 | 134.10 |
| 103 | Î³ñ³ÝÝ»ñÇ ÷³ÏáõÙ ÷ñ÷ñ³åÉ³ëïáí 100ÙÙ Ñ³ëï./Coverage seam with foam plastic by in vain100mm | U²/m² | 18.4 | 1.48 | 27.17 |
| 104 | ÷ñ÷ñ³åÉ³ëï 200ÙÙÙ, L=200 480·Í/Styrofoam200ÙÙ, L=200 480p.m | U²/m² | 96.0 | 2.95 | 283.53 |
| 105 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 7179.04 |
| 106 | ºñ»ë³å³ïÙ³Ý ë³ÉÇÏÝ»ñÇ ³Ùñ³Ï³åáõÙ/ |  |  |  |  |
| 107 | ºñ»ë³å³ïÙ³Ý ë³ÉÇÏÝ»ñÇ ³Ùñ³Ï³åáõÙ/Fastening facing tiles | /t | 0.7826 | 60.47 | 47.32 |
| 108 | ³Ùñ³Ý 8öA500C/Armature8öA500C | /t | 0.1548 | 639.90 | 99.06 |
| 109 | ³Ùñ³Ý ö 4Bp-1/Armature ö 4Bp-1 | /t | 0.6278 | 670.42 | 420.89 |
| 110 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 567.27 |
| 111 | ²ñ¨³ÛÇÝ Ù³ñïÏáóÝ»ñÇ Ù»ï³Õ³Ï³Ý ÏáÝëïñáõÏóÇ³ÛÇ ï»Õ³¹ñáõÙ Ý»ñÏáõÙáí/Installation metal.constructions solar battery | /t | 0.9680 | 207.35 | 200.72 |
| 112 | ÎáÝëïñáõÏóÇ³ÛÇ ³ñÅ»ùÁ/Cost constructions | /t | 0.9680 | 711.77 | 688.99 |
| 113 | Ø»ï³Õ³Ï³Ý Ñ³Ý·áõÛóÝ»ñÇ Ý»ñÏáõÙ 2 ³Ý·³ÙÇ/Coloring metal.-x nodes 2once | /t | 0.9680 | 17.04 | 16.50 |
| 114 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 906.20 |
|  | ÀÝ¹Ñ³ÝáõñÁ/Generaly |  |  |  | 116123.16 |
|  | Heating/Heating |  |  |  |  |
| 1 | æ»éáõóÙ³Ý ïáõñµá Ï³Ãë³ Ý»ñ³éÛ³É ÍË³ï³ñÁ 32Ïíï/ Heating turbo boiler including smoke32corner | Ï-ï/k-t | 2 | 7.99 | 15.98 |
| 2 | The world is full of people/Cost boiler | Ï-ï/k-t | 2 | 325.00 | 650.00 |
| 3 | æ»éáõóÙ³Ý åáÕå³ï» å³Ý»É³ÛÇÝ Ù³ñïÏáóÝ»ñÇ ï»Õ³¹ñáõÙ 1,08Ïíï 50*50ëÝ/Installation steel panel battery1.08kW50*50 | ¿ÏÙ | 183.0 | 0.74 | 135.20 |
| 4 | æ»éáõóÙ³Ý åáÕå³ï» å³,»É³ÛÇÝ Ù³ñïÏáóÝ»ñ 1,08Ïíï 50*50ëÝ/ Steel panel batteries1.08kW50*50 | piece/pcs. | 18 | 49.22 | 885.96 |
| 5 | æ»éáõóÙ³Ý åáÕå³ï» å³,»É³ÛÇÝ Ù³ñïÏáóÝ»ñ 1,295Ïíï 50*60ëÝ/Steel panel batteries1,295kW50*60 | piece/pcs. | 15 | 61.01 | 915.15 |
| 6 | æ»éáõóÙ³Ý åáÕå³ï» å³,»É³ÛÇÝ Ù³ñïÏáóÝ»ñ 1,51Ïíï 50*70ëÝ/Steel panel batteries1.51kW50*70 | piece/pcs. | 4 | 89.52 | 358.08 |
| 7 | æ»éáõóÙ³Ý åáÕå³ï» å³,»É³ÛÇÝ Ù³ñïÏáóÝ»ñ 2,59Ïíï 50*120ëÝ/Steel panel batteries 2.59kW50*120 | piece/pcs. | 5 | 152.10 | 760.50 |
| 8 | æ»ñÙ³ï³ñÇ ßñç³Ý³éáõÃÛ³Ý åáÙå H-6Ù N-0,55Ïíï G=3Ù3/Å³Ù/PumpH-6m N-0.55kWG=3m3/hour | piece/pcs. | 1 | 18.72 | 18.72 |
| 9 | Þñç³Ý³éáõÃÛ³Ý åáÙåÇ ³ñ H-6Ù N-0,55Ïíï G=3Ù3/Å³Ù/PumpH-6m N-0.55kWG=3m3/hour | piece/pcs. | 1 | 37.88 | 37.88 |
| 10 | Ø»ï³Õ³Ï³Ý ÏáÉÉ»Ïïáñ d=89*3,5mm I-1Ø/Metallic collectord=89*3.5mm I-1M | piece/pcs. | 2 | 16.53 | 33.06 |
| 11 | ú¹³Ñ»é³óáõóÇñÇã d=15ÙÙ/Air conditioner | piece/pcs. | 1 | 2.38 | 2.38 |
| 12 | æ»ñÙ³Ù³ÝáÙ»ïñ/Thermomanometer | piece/pcs. | 1 | 3.69 | 3.69 |
| 13 | æñÇ ½ïÇã d=20mm/Water filterd=20mm | piece/pcs. | 2 | 6.85 | 13.71 |
| 14 | æñÇ ½ïÇã d=15mm/ Water filterd=15mm | piece/pcs. | 2 | 6.85 | 13.71 |
| 15 | Êó³÷³ÏÇã d=89*3.5mm/Plugd=89*3.5mm | piece/pcs. | 4 | 39.58 | 158.30 |
| 16 | Size: PN20 d=63*8.6Polypropylene: pipes including shaped parts with examinationPN20 d=63*8.6mm | gm/p.m. | 6.0 | 8.98 | 53.88 |
| 17 | ÄáÉÇåñáåÇÉ»Ý³ÛÇÝ ËáÕáí³ÏÝ»ñ Ý»ñ³éÛ³É Ó¨³íáñ Ù³ë»ñÁ PN20 d=50*6,9ÙÙ ÷áñÓ³ñÏáõÙáí/Polypropylene: pipes including shaped parts with examinationPN20 d=50*6.9mm | gm/p.m. | 7.0 | 7.63 | 53.40 |
| 18 | ÄáÉÇåñáåÇÉ»Ý³ÛÇÝ ËáÕáí³ÏÝ»ñ Ý»ñ³éÛ³É Ó¨³íáñ Ù³ë»ñÁ PN20 d=40*5,5ÙÙ ÷áñÓ³ñÏáõÙáí/Polypropylene: pipes including shaped parts with examinationd=40*5.5mm | gm/p.m. | 19.0 | 6.06 | 115.07 |
| 19 | ÄáÉÇåñáåÇÉ»Ý³ÛÇÝ ËáÕáí³ÏÝ»ñ Ý»ñ³éÛ³É Ó¨³íáñ Ù³ë»ñÁ PN20 d=32*4,4ÙÙ ÷áñÓ³ñÏáõÙáí/Polypropylene: pipes including shaped parts with examinationPN20 d=32*4.4mm | gm/p.m. | 133.0 | 3.77 | 501.71 |
| 20 | äáÉÇåñáåÇÉ»Ý³ÛÇÝ ËáÕáí³ÏÝ»ñ Ý»ñ³éÛ³É Ó¨³íáñ Ù³ë»ñÁ Ý»ñ³éÛ³É Ó¨³íáñ Ù³ë»ñÁ PN20 d=25x3,25ÙÙ ÷áñÓ³ñÏáõÙáí/Polypropylene: pipes including shaped parts with examinationPN20 d=25x3.25mm | gm/p.m. | 181.0 | 3.59 | 648.98 |
| 21 | PN20 d=20x2,8 PN20 d=20x2,8Polypropylene: pipes including shaped parts with examinationPN20 d=20x2.8mm | gm/p.m. | 76.0 | 3.96 | 300.90 |
| 22 | ²ñáõÛñ" ÷³Ï³ÝÝ"ñ d=15mm/Brass valved=15mm | piece/pcs. | 2.0 | 5.63 | 11.25 |
| 23 | ²ñáõÛñ" ÷³Ï³ÝÝ"ñ d=20mm/Brass valved=20mm | piece/pcs. | 4.0 | 6.36 | 25.45 |
| 24 | ²ñáõÛñ" ÷³Ï³ÝÝ"ñ d=25mm/Brass valved=25mm | piece/pcs. | 4.0 | 7.96 | 31.86 |
| 25 | ²ñáõÛñ" ÷³Ï³ÝÝ"ñ d=32mm/Brass valved=32mm | piece/pcs. | 4.0 | 8.42 | 33.66 |
| 26 | ²ñáõÛñ" ÷³Ï³ÝÝ"ñ d=50mm/Brass valved=50mm | piece/pcs. | 2.0 | 9.33 | 18.66 |
| 27 | ¸³ï³ñÏÙ³Ý ÷³Ï³Ý d=15mm/Drain valved=15mm | piece/pcs. | 2.0 | 5.63 | 11.25 |
| 28 | Î³ñ·³íáñáÕ ÷³Ï³Ý d=15mm/Adjustable valved=15mm | piece/pcs. | 42.0 | 14.77 | 620.17 |
| 29 | Ð»ï³¹³ñÓ ·ÍÇ ÷³Ï³Ý d=15mm/Valve reverse lines d=15mm | piece/pcs. | 42.0 | 5.63 | 236.26 |
| 30 | ä³ñÏáõ×Ý»ñÇ ï»Õ³¹ñáõÙ ÙÇçÝáÙÝ»ñáõÙ d=25*2,5ÙÙ È-100ÙÙ 2 Ñëï/Installation sleeve in partitiond=25*2.5ÙÙ È-100mm2full. | gm/p.m. | 0.2 | 1.77 | 0.35 |
| 31 | ä³ñÏáõ×Ý»ñÇ ï»Õ³¹ñáõÙ ÙÇçÝáÙÝ»ñáõÙ d=38*2,5ÙÙ È-200ÙÙ 4 Ñëï/Installation sleeve in partitiond=38*2.5mm I-200mm 4full | gm/p.m. | 0.8 | 2.50 | 2.00 |
| 32 | ä³ñÏáõ×Ý»ñÇ ï»Õ³¹ñáõÙ ÙÇçÝáÙÝ»ñáõÙ d=38*2,5ÙÙ È-100ÙÙ 6Ñëï/Installation sleeve in partition d=38*2.5mm I-100mm 6full | gm/p.m. | 0.6 | 2.50 | 1.50 |
| 33 | ä³ñÏáõ×Ý»ñÇ ï»Õ³¹ñáõÙ ù³ñ» å³ï»ñáõÙ d=25*2,5ÙÙ È-400ÙÙ 20Ñëï/Installation sleeve in stone on the wallsd=25*2.5mm I-400mm20tl | gm/p.m. | 8.0 | 1.77 | 14.16 |
| 34 | ä³ñÏáõ×Ý»ñÇ ï»Õ³¹ñáõÙ ù³ñ» å³ï»ñáõÙ d=38*2,5ÙÙ È-400ÙÙ 16Ñëï/Installation sleeve in stone on the wallsd=38*2.5mm I-400mm16tl | gm/p.m. | 6.4 | 3.23 | 20.67 |
| 35 | ä³ñÏáõ×Ý»ñÇ ï»Õ³¹ñáõÙ ÙÇçÑ³ñÏ³ÛÇÝ Í³ÍÏ»ñáõÙ d=57*3ÙÙ È-350ÙÙ 2Ñëï/Installation sleeve in stone on the walls d=57*3mm I-350mm 2tl | gm/p.m. | 0.7 | 3.48 | 2.44 |
| 36 | è»ïÇÝ» ç»ñÙ³Ù»ÏáõëÇã ËáÕáí³Ï d=25ÙÙ Rubber thermal insulation piped=25mm | gm/p.m. | 14.0 | 1.14 | 16.02 |
| 37 | È³ÙÇÝ³óí³Í ÷³Ûï³ï³ß»Õ³ÛÇÝ ë³É»ñáí ËáÕáí³ÏÝ»ñÇ »ñ»ë³å³ïÙ³Ý Ñ³Ù³ñ Ù»ï³Õ³Ï³Ý Ï³ñÏ³ëÇ Çñ³Ï³Ý³óáõÙ/Installation metallic frame | U²/m² | 49.5 | 2.67 | 132.32 |
| 38 | Ø»ï³Õ³Ï³Ý åñáýÇÉÇ ³ñÅ»ùÁ ³ÝÏÛáõÝ³Ï 25*25*2ÙÙ 537Ù Ý»ñÉí³Í/Cost metallic profile Branch25*25*2mm 537m | Ï·/kg | 390 | 1.11 | 431.93 |
| 39 | Ø»ï³Õ³Ï³Ý Ï³ñÏ³ëÇ »ñ»ë³å³ïáõÙ É³ÙÇÝ³óí³Í ÷³Ûï³ï³ß»Õ³ÛÇÝ ë³É»ñáí/Facing metallic frame | U²/m² | 49.5 | 6.98 | 345.47 |
| 40 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 7631.71 |
| ú¹³÷áËáõÃÛáõÝ/Ventilation |  |  |  |  |  |
|  | ÜÏáõÕ³ÛÇÝ Ñ³ñÏ/Basement Floor |  |  |  |  |
| 1 | ú¹Ç Ý»ñ³ÍÙ³Ý ³·ñ»·³ïÇ ÏáÙåÉ»Ïï È-2000Ø3/Ä³Ù/ Pritochny unit I-2000m³/hour | Ï-ï/k-t | 1 | 86.74 | 86.74 |
| 2 | ú¹Ç Ý»ñ³ÍÙ³Ý ³·ñ»·³ïÇ ÏáÙåÉ»Ïï È-2000Ø3/Å³Ù /³ñÅ»ùÁ/Set inflow aggregate I-2000m³/h/cost/ | Ï-ï/k-t | 1 | 1468.00 | 1468.00 |
| 3 | Î»ÝïñáÝ³ËáõÑ½ û¹³÷áËÇã È-2000Ù3/Å³Ù, P250ä²/Centrifugal fan I-2000m³/h | Ï-ï/k-t | 1 | 86.74 | 86.74 |
| 4 | Î»ÝïñáÝ³ËáõÑ½ û¹³÷áËÇã È-2000Ù3/Å³Ù ³ñÅ»ùÁ P250ä²/Centrifugal fan È-2000m3/h P250PA | Ï-ï/k-t | 1 | 66.19 | 66.19 |
| 5 | ¾É»Ïïñ³Ï³Ý û¹³÷áËÇã 25Ïíï/Electricity.Fan | piece/pcs. | 1 | 73.77 | 73.77 |
| 6 | ²íïáÙëï Ï³é³í³ñÙ³Ý ¨ ë³é»óáõÙÇó å³Ñå³ÝÙ³Ý Ñ³Ù³Ï³ñ· Ñ³Ù³å³ï³ëË³Ý ïíõãÝ»ñáí EFD50-25/System automatic machine.regulation and protection refrigeratedand | piece/pcs. | 1 | 4.15 | 4.15 |
| 7 | ú¹Ç ½ëå³Ý³Ï³íáñ Ñ»ï³¹³ñÓ ÷³Ï³Ý/Reverse valve | piece/pcs. | 1 | 11.29 | 11.29 |
| 8 | ú¹³Ñ³í³ùÇã ×³Õ³ß³ñ ITA 50-25/Grid collectorITA 50-25 | piece/pcs. | 1 | 12.63 | 12.63 |
| 9 | ²ÕÙÏ³ËÉ³óáõóÇã LDR 50-25/SilencerLDR 50-25 | piece/pcs. | 1 | 103.99 | 103.99 |
| 10 | T-120/Timer T-120 | piece/pcs. | 1 | 79.10 | 79.10 |
| 11 | ¼ïÇã EU-5 BETTA /2000//5/CleanerEU-5 BETTA /2000//5 | piece/pcs. | 1 | 114.89 | 114.89 |
| 12 | EU-7 BETTA 2000/7/CleanerEU-7 BETTA 2000/7/ | piece/pcs. | 1 | 158.27 | 158.27 |
| 13 | ÖÏáõÝ Ý»ñ¹Çñ DS 50-25/Flexible insertDS 50-25 | piece/pcs. | 2 | 11.72 | 23.44 |
| 14 | ´³ÏïéáñáÉá·Ç³Ï³Ý ¼ïÇã /Cleaner bacterial | piece/pcs. | 1 | 39.17 | 39.17 |
| 15 | ú¹³ï³ñ óÇÝÏ³å³ï ÃÇÃ»ÕÇó 0,7ÙÙ 500*250ÙÙ 15·Í.Ù/ Duct from galvanized steel 0.7mm500*250mm 15p.m./ | U²/m² | 22.5 | 8.82 | 198.48 |
| 16 | ú¹³ï³ñ óÇÝÏ³å³ï ÃÇÃ»ÕÇó 0,7ÙÙ 500*200ÙÙ 10·Í.Ù/ Duct from galvanized steel0.7mm500*200mm 10pm | U²/m² | 14 | 8.82 | 123.50 |
| 17 | ú¹³ï³ñ óÇÝÏ³å³ï ÃÇÃ»ÕÇó 0,7ÙÙ 300*200ÙÙ 15·Í.Ù/ Duct from galvanized steel 0.7mm300*200mm15p.m. | U²/m² | 15 | 8.82 | 132.32 |
| 18 | ú¹³÷áËáõÃÛ³Ý ×³Õ³ß³ñ 300*150/Ventilation grilles300*150 | piece/pcs. | 15 | 12.19 | 182.79 |
| 19 | ú¹³÷áËáõÃÛ³Ý ×³Õ³ß³ñ 150*150ÙÙ/Ventilation grilles150*150mm | piece/pcs. | 2 | 3.33 | 6.65 |
| 20 | Ò»éùáí ³ßË³ïáÕ Ü»ñ³ÍÙ³Ý û¹³ÙáõÕ È-2000Ø3/Å³Ù/Fan with manual management È-2000m3/h | piece/pcs. | 1 | 33.60 | 33.60 |
| 21 | ú¹Ç ÑáëùÇ Ï³ñ·³íáñÇã 500*250ÙÙ/Regulator stream air 500*250mm | piece/pcs. | 2 | 173.49 | 346.98 |
| 22 | ú¹³÷áËáõÃÛ³Ý ³ñï³ÍÙ³Ý Ñ³Ý³Ï³ñ·/ Ventilation derived system |  |  |  |  |
| 23 | Î³Ý³É³ÛÇÝ û¹³ÙáõÕ È2000 Ø3/Å³Ù P-250å³ /Canal air duct È2000m3/hP-250pa | Ï-ï/k-t | 1.0 | 8.11 | 8.11 |
| 24 | Î³Ý³É³ÛÇÝ û¹³ÙáõÕ È2000Ø3/Å³Ù P-250å³ ³ñÅ»ùÁ/ Canal air duct cost I2000m3/hP-250pa | Ï-ï/k-t | 1.0 | 1468.00 | 1468.00 |
| 25 | ú¹³ï³ñ óÇÝÏ³å³ï ÃÇÃ»ÕÇó 0,7ÙÙ 500*250ÙÙ 12·Í.Ù/Duct from galvanized steel0.7mm500*250mm 12p.m. | U²/m² | 18 | 8.82 | 158.78 |
| 26 | ú¹³ï³ñ óÇÝÏ³å³ï ÃÇÃ»ÕÇó 0,7ÙÙ 300*200ÙÙ 22·Í.Ù/Duct from galvanized steel0.7mm300*200mm 22p.m. | U²/m² | 22 | 8.82 | 194.07 |
| 27 | ú¹³ï³ñ óÇÝÏ³å³ï ÃÇÃ»ÕÇó 0,5ÙÙ 150*150ÙÙ 2·Í.Ù/Duct from galvanized steel0.5mm150*150mm2p.m. | U²/m² | 1.2 | 6.60 | 7.92 |
| 28 | ú¹³÷áËáõÃÛ³Ý ×³Õ³ß³ñ 150*150ÙÙ/Ventilation grilles150*150mm | piece/pcs. | 5 | 12.14 | 60.71 |
| 29 | ú¹³÷áËáõÃÛ³Ý ×³Õ³ß³ñ 300*150ÙÙ/Ventilation grilles300*150mm | piece/pcs. | 10 | 3.28 | 32.83 |
| 30 | Ò»éùáí ³ßË³ïáÕ ³ñï³ÍÙ³Ý û¹³ÙáõÕ È-2000Ø3/Å³Ù/ Remote fan with manual management È-2000m3/h | Ï-ï/k-t | 1 | 33.60 | 33.60 |
| 31 | ú¹³ï³ñÝ»ñÇ ç»ñÙ³Ù»Ïáõë³óáõÙ ÇÝùÝ³ÏåãáõÝ ç»ñÙ³ÙáõëÇãáí/Thermal insulation air ducts self-adhesive heat insulator | U²/m² | 90.0 | 3.59 | 323.35 |
| 32 | ú¹Ç ÑáëùÇ Ï³ñ·³íáñÇã 500*250ÙÙ/Regulator stream air 500*250mm | piece/pcs. | 2 | 173.49 | 346.98 |
| 33 | ê³ÝÑ³Ý·áõÛóÝ»ñÇó û¹Ç ³ñï³ÍáõÙ/ Removal air from bathrooms |  |  | 0.00 | 0.00 |
| 34 | ú¹³ï³ñ óÇÝÏ³å³ï ÃÇÃ»ÕÇó 0,5ÙÙ 150*150ÙÙ 30·Í.Ù/Duct from galvanized steel 0.5mm150*150mm 30p.m. | U²/m² | 18 | 7.49 | 134.74 |
| 35 | ú¹³÷áËáõÃÛ³Ý ×³Õ³ß³ñ 150*150ÙÙ 30·Í.Ù/Ventilation grilles150*150mm30p.m. | piece/pcs. | 3 | 7.42 | 22.25 |
| 36 | 1-ÇÝ ¨2-ñ¹ Ñ³ñÏ»ñÇ û¹³÷áËáõÃÛ³Ý Ñ³Ý³Ï³ñ·/Ventilation system1go and2go floors |  |  | 0.00 | 0.00 |
| 37 | Î³Ý³É³ÛÇÝ Ï»ÝïñáÝ³ËáõÛ½ û¹³÷áËÇã È-365Ù3/Å³Ù N=33íï/Canal fan I-365m3/hN=33Tue | piece/pcs. | 1.0 | 7.00 | 7.00 |
| 38 | Î³Ý³É³ÛÇÝ Ï»ÝïñáÝ³ËáõÛ½ û¹³÷áËÇã È-365Ù3/Å³Ù N=33íï ³ñÅ»ùÁ/Canal fan cost È-365m3/hN=33Tue | piece/pcs. | 1.0 | 52.51 | 52.51 |
| 39 | Î³Ý³É³ÛÇÝ Ï»ÝïñáÝ³ËáõÛ½ û¹³÷áËÇã È-135Ù3/Å³Ù N=36íï/Canal fan I-135m3/hN=36Tue/ | piece/pcs. | 2.0 | 7.00 | 14.01 |
| 40 | Î³Ý³É³ÛÇÝ Ï»ÝïñáÝ³ËáõÛ½ û¹³÷áËÇã È-135Ù3/Å³Ù N=36íï ³ñÅ»ùÁ/Canal fan cost I-135m3/hN=36Tue | piece/pcs. | 2.0 | 28.50 | 57.00 |
| 41 | ²é³Ýóù³ÛÇÝ û¹³÷áËÇã È-175Ù3/Å³Ù N=20íï/ Main fan I-175m3/hN=20Tue | piece/pcs. | 3.0 | 7.00 | 21.01 |
| 42 | ²é³Ýóù³ÛÇÝ û¹³÷áËÇã È-175Ù3/Å³Ù N=20íï ³ñÅ»ùÁ/ Main fan I-175m3/hN=20Tue cost | piece/pcs. | 3.0 | 48.00 | 144.00 |
| 43 | ²é³Ýóù³ÛÇÝ û¹³÷áËÇã È-90Ù3/Å³Ù N=18íï/ Main fan I-90m3/hN=18Tue | piece/pcs. | 2.0 | 7.00 | 14.01 |
| 44 | ²é³Ýóù³ÛÇÝ û¹³÷áËÇã È-90Ù3/Å³Ù N=18íï ³ñÅ»ùÁ/ Main fan I-90m3/hN=18Tue cost | piece/pcs. | 2.0 | 32.64 | 65.28 |
| 45 | Size 1300*-820*500 0,9 1/Headband galvanized steel 1300*-820*500mm 0.9mm1pcs | U²/m² | 0.5 | 15.21 | 8.06 |
| 46 | äáÕå³ï» ³ÝÏÛáõÝ³Ï 20*20ÙÙ /·ÉË³ÝáóÇ Ñ³Ù³ñ/ ÛáõÕ³Ý»ñÏáõÙáí 4,9Ï· /Steel triangle20*20mm | gm/p.m. | 8.6 | 0.43 | 3.69 |
| 47 | ú¹³ï³ñ óÇÝÏ³å³ï ÃÇÃ»ÕÇó 0,5ÙÙ D-100ÙÙL-45·Í.Ù/Duct from galvanized steel0.5mm D-100mmL-45p.m. | U²/m² | 15.3 | 6.47 | 99.05 |
| 48 | ú¹³ï³ñ óÇÝÏ ³å³ï ÃÇÃ»ÕÇó 0,5ÙÙ D-120ÙÙ L-14·Í.Ù/Duct from galvanized steel 0.5mmD-120mmL-14p.m. | U²/m² | 6.0 | 7.76 | 46.57 |
| 49 | Ø»ï³Õ³Ï³Ý ß»ñï³÷»ÕÏ D-100ÙÙ/Metal.Blinds | piece/pcs. | 2.0 | 0.45 | 0.90 |
| 50 | Ø»ï³Õ³Ï³Ý ó³Ýó D-100ÙÙ/Metal.GridD-100UU | U²/m² | 0.11 | 0.56 | 0.06 |
| 51 | Ø»ï³Õ³Ï³Ý ó³Ýó D-120ÙÙ/Metal.GridD-120mm | U²/m² | 0.1 | 0.56 | 0.06 |
| 52 | ¸»Ïáñ³ïÇí ß»ñï³÷»ÕÏ 150*150ÙÙ/Decorative. Blinds | piece/pcs. | 20 | 1.55 | 30.93 |
| 53 | ²Ùñ³óÙ³Ý ¹»ï³ÉÝ»ñ ·ÉË³ÝáóÇ ¨ û¹³ï³ñÝ»ñÇ Ñ³Ù³ñ/ Details fasteners for headband and air duct | I | 15 | 0.62 | 9.32 |
| 54 | ÏáÙáõÝÇÏ³óÇáÝ ïáõ÷»ñÇ ÑÇÙÝ³ÏÙ³ËùÁ/å³ïñ³ëïáõÙ / Frame communication boxes | U²/m² | 12.5 | 5.30 | 66.26 |
| 55 | ÏáÙáõÝÇÏ³óÇáÝ ïáõ÷»ñÇ å³ïñ³ëïáõÙ ·Çåë³ëïí³ñ³ÃÕÃÇó / Frame communication boxes from drywall | U²/m² | 12.5 | 4.04 | 50.51 |
| 56 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 6834.24 |
| Internal cold water supply/Internalohcoldohwater supply |  |  |  |  |  |
| 1 | Pipeline holding polypropylene from pipes d=50*4.4mm,by testing/Transitions polypropylene piped=50*4.4mm | gm/p.m. | 5 | 5.13 | 25.67 |
| 2 | Pipeline holding polypropylene from pipes d=40x3.7mm,by testing/Transitions polypropylene piped=40x3.7mm | gm/p.m. | 32 | 4.49 | 143.57 |
| 3 | Pipeline holding polypropylene from pipes d=32*3mm, ,by testing/Transitions polypropylene piped=32*3mm | gm/p.m. | 9 | 3.51 | 31.55 |
| 4 | Pipeline holding polypropylene from pipes d=25*2.3mm, ,by testing/Transitions polypropylene piped=25*2.3mm | gm/p.m. | 40 | 3.75 | 150.04 |
| 5 | Pipeline holding polypropylene from pipes d=20x1.9mm, ,by testing/Transitions polypropylene piped=20x1.9mm | gm/p.m. | 63 | 3.63 | 228.59 |
| 6 | Cornerd=15mm/Branchd=15mm | piece/pcs. | 29 | 0.06 | 1.84 |
| 7 | Cornerd=20mm/Branch d=20mm | piece/pcs. | 14 | 0.10 | 1.34 |
| 8 | Cornerd=25mm/Branch d=25mm | piece/pcs. | 3 | 0.10 | 0.29 |
| 9 | Cornerd=32mm/Branch d=32mm | piece/pcs. | 4 | 0.10 | 0.38 |
| 10 | Cornerd=40mm/Branch d=40mm | piece/pcs. | 3 | 0.06 | 0.19 |
| 11 | Tripartited=15*15*15mm/ Teed=15*15*15mm/ | piece/pcs. | 6 | 0.10 | 0.58 |
| 12 | Tripartited=20*15*20mm/Teed=20*15*20mm | piece/pcs. | 2 | 0.10 | 0.19 |
| 13 | Tripartited=20*20*20mm/Teed=20*20*20mm/ | piece/pcs. | 2 | 0.10 | 0.19 |
| 14 | Tripartited=25*15*25mm/Teed=25*15*25mm/ | piece/pcs. | 2 | 0.12 | 0.25 |
| 15 | Tripartited=25*25*20mm/Teed=25*25*20mm/ | piece/pcs. | 1 | 0.12 | 0.12 |
| 16 | Transition25*20mm/Transition25*20mm/ | piece/pcs. | 2 | 0.11 | 0.21 |
| 17 | Transition25*15m/Transition25*15m/ | piece/pcs. | 1 | 0.11 | 0.11 |
| 18 | Transition20*15m/Transition20*15m/ | piece/pcs. | 8 | 0.11 | 0.85 |
| 19 | Sinks faucet-mixers installation/ Mixer for washbasin | piece/pcs. | 15 | 9.05 | 135.69 |
| 20 | Kitchen utensils faucet-mixers installation/Mixer for car washes | piece/pcs. | 5 | 9.05 | 45.23 |
| 21 | With a shower faucet-mixers installation/Crane-mixer | piece/pcs. | 5 | 16.02 | 80.10 |
| 22 | Flexible pipes installationD=15mm/Flexible hoseD=15mm | piece/pcs. | 32 | 1.18 | 37.80 |
| 23 | Lock regimentaldy=15mm/Valvedy=15mm | piece/pcs. | 17 | 5.63 | 95.65 |
| 24 | Lock regimentaldy=20mm/Valvedy=20mm | piece/pcs. | 7 | 6.37 | 44.56 |
| 25 | Lock regimentaldy=25mm/Valvedy=25mm | piece/pcs. | 1 | 7.96 | 7.96 |
| 26 | Lock regimentaldy=32mm/Valvedy=32mm | piece/pcs. | 2 | 8.05 | 16.09 |
| 27 | Lock angulardy=15mm/Valvedy=15mm | piece/pcs. | 21 | 5.63 | 118.16 |
| 28 | Pipeline washing with disinfection/ Washroom,disinfection pipeline | gm/p.m. | 149 | 0.35 | 51.92 |
| 29 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 1219.16 |
| 30 | ÞÇÝ³ñ³ñ³Ï³Ý ³ßË³ï³ÝùÝ»ñ/Construction works |  |  |  |  |
| 31 | ²ÝóùáõÙ åáÕå³ï» å³ïÛ³ÝÇ ö159*4ÙÙ, L=0,7Ù ï»Õ³¹ñáõÙ 1 Ñ³ï/case ö159*4mm, L=0.7m | gm/p.m. | 0.70 | 15.83 | 11.08 |
| 32 | åáÕå³ï» å³ïÛ³ÝÇ ÛáõÕ³Ý»ñÏáõÙ Ñ³Ï³ù³Ûù³ÛÇã Ý»ñÏáí/Coloring case anti-corrosion with paint | U²/m² | 0.44 | 4.43 | 1.95 |
| 33 | Pipes thermal insulation rubber tubular with insulation/Thermal insulation pipe rubber tubular insulation | gm/p.m. | 110 | 0.44 | 48.73 |
| 34 | Êó³÷³ÏáõÙ å³ïÛ³ÝÇ ¨ ËáÕáí³ÏÇ ÙÇç¨ ³é³Ó·³Ï³Ý ÝÛáõÃáí/Closing holes between casing and with a pipe elastic material | U³/m³ | 0.017 | 22.15 | 0.38 |
| 35 | Êó³÷³ÏáõÙ B12,5 ¹³ëÇ µ»ïáÝáí/Sealing holes concreteB12.5 | U³/m³ | 0.07 | 154.37 | 10.81 |
| Ü»ñùÇÝ ï³ù çñ³Ù³ï³Ï³ñ³ñáõÙ/Internal warm water supply |  |  |  | 0 |  |
| 1 | Pipeline holding polypropylene from pipes d=32*3mm, ,by testing/Transitions pipeline from polypropylene piped=32*3mm | gm/p.m. | 9 | 4.22 | 38.00 |
| 2 | Pipeline holding polypropylene from pipes d=25*2.3mm, ,by testing/Transitions pipeline from polypropylene piped=25*2.3mm | gm/p.m. | 30 | 4.23 | 126.75 |
| 3 | Pipeline holding polypropylene from pipes d=20x1.9mm, ,by testing/Transitions polypropylene piped=20x1.9mm | gm/p.m. | 103 | 3.86 | 397.30 |
| 4 | Cornerd=15mm/Branchd=15mm | piece/pcs. | 38 | 0.06 | 2.41 |
| 5 | Cornerd=20mm/Branch d=20mm | piece/pcs. | 14 | 0.10 | 1.34 |
| 6 | Cornerd=25mm/Branch d=25mm | piece/pcs. | 2 | 0.10 | 0.19 |
| 7 | Tripartited=15*15*15mm/ Teed=15*15*15mm | piece/pcs. | 6 | 0.10 | 0.58 |
| 8 | Tripartited=20*20*20mm/Teed=20*20*20mm | piece/pcs. | 2 | 0.10 | 0.19 |
| 9 | Transition20*15m/Transition20*15m | piece/pcs. | 8 | 0.11 | 0.85 |
| 10 | Flexible pipes installationD=15mm/ Flexible hoseD=15mm | piece/pcs. | 20 | 1.18 | 23.63 |
| 11 | Lock regimentaldy=15mm/Valvedy=15mm | piece/pcs. | 1 | 5.63 | 5.63 |
| 12 | Lock regimentaldy=20mm/Valvedy=20mm | piece/pcs. | 3 | 6.37 | 19.10 |
| 13 | Lock regimentaldy=25mm/Valvedy=25mm | piece/pcs. | 1 | 7.96 | 7.96 |
| 14 | Lock angulardy=15mm/Valvedy=15mm | piece/pcs. | 21 | 5.63 | 118.16 |
| 15 | Pipeline washing with disinfection/ Washroom,disinfection pipeline | gm/p.m. | 142 | 0.35 | 49.48 |
| 16 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 791.59 |
| 17 | ÞÇÝ³ñ³ñ³Ï³Ý ³ßË³ï³ÝùÝ»ñ/Construction works |  |  |  |  |
| 18 | Pipes thermal insulation rubber tubular with insulation/Thermal insulation pipe rubber tubular insulation | gm/p.m. | 110 | 0.44 | 48.73 |
| 19 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 48.73 |
| Ü»ñùÇÝ ë³éÁ çñ³Ù³ï³Ï³ñ³ñáõÙ /ÝÏáõÕ/³å³ëï³ñ³Ý/Internalohcoldohwater supply/Shelter |  |  |  |  |  |
| 1 | Steel water and gas pipeline pipes installationd=50mm/Installation steel gas pipelined=50mm | gm/p.m. | 4 | 2.85 | 11.38 |
| 2 | Pipeline holding polypropylene from pipes d=25*2.3mm, ,by testing/Transitions polypropylene piped=25*2.3mm | gm/p.m. | 10 | 3.75 | 37.51 |
| 3 | Pipeline holding polypropylene from pipes d=20x1.9mm, ,by testing/Transitions polypropylene piped=20x1.9mm | gm/p.m. | 14 | 3.63 | 50.80 |
| 4 | Cornerd=15mm/Branchd=15mm | piece/pcs. | 10 | 0.06 | 0.63 |
| 5 | Cornerd=25mm/Branch d=25mm | piece/pcs. | 3 | 0.10 | 0.29 |
| 6 | Tripartited=15*15*15mm/Teed=15*15*15mm | piece/pcs. | 4 | 0.10 | 0.39 |
| 7 | Tripartited=20*15*20mm/Teed=20*15*20mm | piece/pcs. | 3 | 0.10 | 0.29 |
| 8 | Tripartited=20*25*15mm/Tee d=20*25*15mm | piece/pcs. | 1 | 0.12 | 0.12 |
| 9 | Steel passage50*25mm/Steel transition50*25mm | piece/pcs. | 1 | 2.85 | 2.85 |
| 10 | Transition20*15m/Transition20*15m | piece/pcs. | 3 | 0.11 | 0.32 |
| 11 | Sinks faucet/Crane for washbasin | piece/pcs. | 5 | 7.41 | 37.03 |
| 12 | Flexible pipes installationD=15mm/Flexible hoseD=15mm | piece/pcs. | 10 | 1.18 | 11.81 |
| 13 | Lock regimentaldy=15mm/Valvedy=15mm | piece/pcs. | 5 | 5.63 | 28.13 |
| 14 | Lock regimentaldy=25mm/Valvedy=25mm | piece/pcs. | 2 | 7.96 | 15.93 |
| 15 | Lock angulardy=15mm/Valvedy=15mm | piece/pcs. | 5 | 5.63 | 28.13 |
| 16 | Return valve dy=25mm/Reverse valvedy=25mm | piece/pcs. | 1 | 7.37 | 7.37 |
| 17 | äáÙå³ÛÇÝ ï»Õ³Ï³Û³Ýù /Õ»Ï³í³ñÙ³Ý µÉáÏáí, ×ÝßÙ³Ý é»É»Ûáí ¨ ×ÝßáõÙ³ÛÇÝ ÑÇ¹ñáµ³ùáí,Q=2Ù3/Å H=15Ù/PumpQ=2m3/h H=15m | Ï-ï/k-t | 1 | 23.56 | 23.56 |
| 18 | äáÙåÇ ³ñÅ»ùÁ/Cost pump | Ï-ï/k-t | 1 | 258.26 | 258.26 |
| 19 | Pipeline washing with disinfection/ Washroom,disinfection pipeline | gm/p.m. | 28 | 0.35 | 9.76 |
| 20 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 524.57 |
| 21 | Water tank stainless made of steel2*1.7*1.9m 4mm thick,The most important thing is to be happy. The world English:/Buck for water from stainless steel | piece/pcs. | 1 | 523.75 | 523.75 |
| 22 | Bucky thermal insulationõgrowth with mineral wool/Thermal insulation tank for water vitreous | U³/m³ | 1.05 | 37.97 | 39.87 |
| 23 | Swimming pool valve/Float valve | piece/pcs. | 1 | 4.43 | 4.43 |
| 24 | Pipes thermal insulation rubber tubular with insulation/Thermal insulation pipe rubber tubular insulation | gm/p.m. | 28 | 0.44 | 12.40 |
| 25 | Glass door16installation included is price in | gm/p.m. | 4 | 11.96 | 47.84 |
| 26 | Îñ³ÏÙ³ñÇã ÷ñ÷ñ³ÛÇÝ/Fire extinguisherь | piece/pcs. | 2 | 18.87 | 37.74 |
| 27 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 666.04 |
| Solar hot water supply/Sunny warm water supply |  |  |  |  |  |
| 1 | ²ñ¨³ÛÇÝ í³ÏáõÙ³ÛÇÝ ÏáÉ»ÏïáñÝ»ñ 30 ËáÕáí³Ïáí 2,4Ù²/Sunny-vacuum collectors30pipe | piece/pcs. | 3 | 75.46 | 226.38 |
| 2 | V=300/Heat exchanger with electric heaterV=300l | piece/pcs. | 1 | 434.36 | 434.36 |
| 3 | ÀÝ¹³ñÓ³ÏÙ³Ý ³ÝáÃ V=30É/ Expansion tankV=30l | piece/pcs. | 1 | 16.32 | 16.32 |
| 4 | ¸ñ»Ý³Å³ÛÇÝ µ³ù /ãÅ³Ý·áïíáÕ åáÕå³ïÇó, Ï³Ù åÕÝÓÇó/ V=20É/Drainage tank V=20l | piece/pcs. | 1 | 22.85 | 22.85 |
| 5 | ²íïáÙ³ï Ë³éÝÇã dy20/Automatic mixer | piece/pcs. | 1 | 77.51 | 77.51 |
| 6 | ²å³ÑáíÇã ÷³Ï³Ý P=6µ³ñ/Safety: valve P=6bar | piece/pcs. | 1 | 27.86 | 27.86 |
| 7 | ²å³ÑáíÇã ÷³Ï³Ý P=3µ³ñ/Safety: valve P=3bar | piece/pcs. | 1 | 13.93 | 13.93 |
| 8 | ²ñ¨³ÛÇÝ Ï³ñ·³íáñÇã (controller)/Sunny controller | piece/pcs. | 1 | 2.04 | 2.04 |
| 9 | Þñç³Ý³éáõ µ³ù V=20É/Buck V=20l | piece/pcs. | 1 | 21.15 | 21.15 |
| 10 | Þñç³Ý³éáõ åáÙå G=3000É/Å³Ù, H=4Ù, N=0.16-0.3Ïìï/ PumpG=3000l/h, H=4m, N=0.16-0.3kW | piece/pcs. | 1 | 48.36 | 48.36 |
| 11 | Þñç³Ý³éáõ åáÙå G=2000É/Å³Ù, H=2.0Ù/PumpG=2000l/h, H=2.0m | piece/pcs. | 1 | 45.86 | 45.86 |
| 12 | ²íïáÙ³ï û¹³Ñ³Ý Ï³÷áõÛñ dy15ÙÙ/Automatic valve for reset air dy15mm | piece/pcs. | 1 | 3.66 | 3.66 |
| 13 | PPR pipe dy20ÙÙ/ PPRvalvedy20mm | piece/pcs. | 6 | 6.26 | 37.58 |
| 14 | PPR Ñ»ï³¹³ñÓ ÷³Ï³Ý dy20ÙÙ/ PPRReverse valvedy20mm | piece/pcs. | 1 | 5.91 | 5.91 |
| 15 | PPR ¹³ï³ñÏÙ³Ý ÷³Ï³Ý dy15ÙÙ/ Valve spherical | piece/pcs. | 3 | 7.35 | 22.05 |
| 16 | äÕÝÓ" ËáÕáí³ÏÝ"ñ Ø22ÙÙ, Ý»ñ³éÛ³É Ó¨³íáñ Ù³ë»ñÁ/Copper pipes Ø22mm,including shaped parts | gm/p.m. | 12.0 | 5.21 | 62.57 |
| 17 | äáÉÇåñáåÇÉ»Ý³ÛÇÝ ç»ñÙ³¹ÇÙ³óÏáõÝ ËáÕáí³ÏÝ»ñ d=25x3.5ÙÙ, Ý»ñ³éÛ³É Ó¨³íáñ Ù³ë»ñÁ/Polypropylene: heat-resistant pipesd=25x3.5mm | gm/p.m. | 30.0 | 3.95 | 118.42 |
| 18 | UPS 0.8-1.0 Ïìï/ UPS 0.8-1.0kW | piece/pcs. | 1 | 116.73 | 116.73 |
| 19 | è»ïÇÝ» ç»ñÙ³Ù»ÏáõëÇã d=32ÙÙ åÕÝÓ” ¨ åáÉÇåñáåÇÉ»Ý³ÛÇÝ ËáÕáí³ÏÝ»ñÁ ç»ñÙ³Ù»Ïáõë³óÝ»Éáõ Ñ³Ù³ñ /Rubber heat insulator for thermal insulation copper and polypropylene pipe | gm/p.m. | 42.0 | 0.39 | 16.24 |
| 20 | Ð³Ù³Ï³ñ·Ç Éí³óáõÙ ¨ ÷áñÓ³ñÏáõÙ/ Washroom systems and testing | gm/p.m. | 42.0 | 0.31 | 13.21 |
| 21 | Ð³Ï³ë³é»óáõóÇã Ñ»ÕáõÏ (³ÝïÇýñÇ½)/Antifreeze | E/l | 42.0 | 0.58 | 24.52 |
|  | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 1357.50 |
| Ü»ñùÇÝ çñÑáë /³å³ëï³ñ³Ý/Internal drain /refuge/ |  |  |  |  |  |
| 1 | D=150*4mm/ Steel casingD=150*4mm | gm/p.m. | 0.7 | 16.71 | 11.70 |
| 2 | Êó³÷³ÏáõÙ å³ïÛ³ÝÇ ¨ Ëáóáí³ÏÇ ÙÇç¨ ³é³ÝÓ·³Ï³Ý ÝÛáõÃáí/Closing holes between casing and with a pipe elastic material | U³/m³ | 0.012 | 22.15 | 0.27 |
| 3 | ä³ïÛ³ÝÇ ÛáõÕ³Ý»ñÏáõÙ Ý»ñÏáõÙ Ñ³Ï³ù³Ûù³ÛÇã Ý»ñÏáí 2 ³Ý·³Ù/Coloring case anti-corrosion with paint2layer | U²/m² | 0.26 | 4.58 | 1.19 |
| 4 | ²Ýóù»ñÇ Êó³÷³ÏáõÙ B12,5 ¹³ëÇ µ»ïáÝáí/sealing holes concreteB12.5 | U³/m³ | 0.04 | 154.37 | 6.17 |
| 5 | äálivinyl chloride pipes installation P50mm,rubber clamp with rings,The most important thing is to be happy./Pipes PVC P50mm | gm/p.m. | 17 | 1.62 | 27.53 |
| 6 | äáÉÇ¿ïÇÉ»Ý»pipes installation P50mm,rubber clamp with rings,The most important thing is to be happy./Pipes PVC P50mm | gm/p.m. | 20 | 1.73 | 34.64 |
| 7 | êáõ½³åáÙå CC-7 Q=1,23-2,7lÉ/íñÏ H-4,3Ù N=2.6-3.7Ïìï n= 3356åï/ñáå»/PumpCC-7 Q=1.23-2.7ll/secH-4.3m N=2.6-3.7kWn= 3356water./min. | piece/pcs. | 1 | 207.37 | 207.37 |
| 8 | Ð»ï³¹³ñÓ ÷³Ï³Ý d=50ÙÙ | piece/pcs. | 1 | 11.86 | 11.86 |
| 9 | êáÕÝ³Ï d=50ÙÙ/Gate valve | piece/pcs. | 1 | 19.24 | 19.24 |
| 10 | Nickel-plated streams installationD=50mm/Nickel-plated trapD=50mm | piece/pcs. | 3 | 6.02 | 18.05 |
| 11 | Â»ù »é³µ³ßËhow muchD=50*50*50mm/Oblique teeD=50*50*50mm | piece/pcs. | 1 | 0.33 | 0.33 |
| 12 | ²ÝÏÛáõÝ³Ï D=50mm90/Branch D=50mm 90 | piece/pcs. | 3 | 0.43 | 1.29 |
| 13 | ²ÝÏÛáõÝ³Ï D=50mm45/Branch D=50mm45 | piece/pcs. | 4 | 0.17 | 0.69 |
| 14 | Ê³ÙáõÃÝ»ñ ÊáÕáí³ÏÝ»ñÇ ³Ùñ³óÙ³Ý Ñ³Ý³ñ/Clamps for fasteners pipe | Ï·/kg | 1 | 0.71 | 0.71 |
| 15 | ÆÝùÝ³å³ñáõñíáÕ åïáõï³ÏÝ»ñ/Self-tapping screw | piece/pcs. | 10 | 0.22 | 2.22 |
| 16 | Ø»ï³Õ³Ï³Ý ï³ññ»ñÇ ÛÝ»ñÏáõÙ Ñ³Ï³ù³Ûù³ÛÇã Ý»ñÏáí 2 ³Ý·³Ù/Coloring metallic elements in2layer | U²/m² | 0.5 | 4.43 | 2.22 |
| 17 | System test/Test systems | gm/p.m. | 37.0 | 0.37 | 13.66 |
|  | ÀÝ·³Ù»ÝÁ/Total |  |  |  | 359.14 |
| Î»Ýó³Õ³ÛÇÝ ÏáÛáõÕáõ Ý»ñùÇÝ ó³Ýó/Internal network sewerage |  |  |  |  |  |
| 1 | Case steel from pipesDy=275*4mm, L=0.7m/casing from steel pipesDy=275*4mm, L=0.7m | gm/p.m. | 0.7 | 25.81 | 18.07 |
| 2 | Case oil painting2times/Coloring case2layer | U²/m² | 0.44 | 1.08 | 0.47 |
| 3 | Blockage shell and pipe between elastic with material/Closing holes between casing and with a pipe elastic material | U³/m³ | 0.02 | 22.15 | 0.44 |
| 4 | BlockageB12.5class with concrete/Sealing holes concreteB12.5 | U³/m³ | 0.07 | 159.41 | 11.16 |
| 5 | Shell sinks installation with a tombstone and with a siphon/ Podon with siphon | Ï-ï/k-t | 2 | 23.34 | 46.68 |
| 6 | Shell sinks installation with a tombstone and with a siphon(children's)/Podon with siphon children's | Ï-ï/k-t | 13 | 33.63 | 437.24 |
| 7 | Toilet bowls installation oblique with issue low installable washing with a barrel,flexible with connection/Toilet with oblique release and low established drain barrel | Ï-ï/k-t | 1 | 57.85 | 57.85 |
| 8 | Toilet bowls installation oblique with issue low installable washing with a barrel,flexible with connection/children's/Toilet with oblique release and low established drain barrel,children's | Ï-ï/k-t | 11 | 42.76 | 470.32 |
| 9 | Two places steel kitchen utensils installation with a siphon and stainless made of steel/Washroom from stainless steel with siphon | Ï-ï/k-t | 5 | 40.29 | 201.47 |
| 10 | Of the shelves/diaper/installation composite/acrylic/from the material,including the siphon | Ï-ï/k-t | 2 | 47.61 | 95.21 |
| 11 | The same children's/Thoth or children's | Ï-ï/k-t | 3 | 32.84 | 98.52 |
| 12 | Nickel-plated streams installationD=50mm/Nickel-plated trapD=50mm | piece/pcs. | 8 | 6.02 | 48.14 |
| 13 | Laundry car/Washing machine car | piece/pcs. | 2 | 250.00 | 500.00 |
| 14 | Checker D=110mm/Audit, d=110mm | piece/pcs. | 6 | 1.43 | 8.58 |
| 15 | Checker D=50mm/Audit, d=110mm | piece/pcs. | 2 | 1.11 | 2.22 |
| 16 | Tripartite110*110/Tee110*110 | piece/pcs. | 4 | 0.77 | 3.08 |
| 17 | Tripartite oblique110*110/Oblique tee110*110 | piece/pcs. | 12 | 0.77 | 9.23 |
| 18 | Tripartite110*50straight/ Tee110*50straight. | piece/pcs. | 5 | 0.66 | 3.32 |
| 19 | Tripartite oblique110*50/Oblique tee110*50 | piece/pcs. | 6 | 0.66 | 3.99 |
| 20 | Tripartite50*50straight/Tee50*50straight. | piece/pcs. | 14 | 0.29 | 4.09 |
| 21 | Tripartite50*50oblique/Oblique tee50*50 | piece/pcs. | 3 | 0.29 | 0.88 |
| 22 | Internal sewer pipeline polyvinyl chloride pipes installation P110mm,rubber clamp with rings/Pipes PVC P110mm | gm/p.m. | 45 | 2.45 | 110.44 |
| 23 | Internal sewer pipeline polyvinyl chloride pipes installation P50mm,rubber clamp with rings,Pipes PVC P50mm | gm/p.m. | 21 | 1.78 | 37.39 |
| 24 | Plastic door controllers number300*300mm/Plastic door for revisions300x300mm | piece/pcs. | 8 | 5.98 | 47.84 |
| 25 | TransitionD=100*50mm/Transition, d=100x50mm | piece/pcs. | 4 | 0.31 | 1.23 |
| 26 | CornerD=110mm 90/Branch, d=110mm,α=90/ | piece/pcs. | 5 | 0.43 | 2.16 |
| 27 | CornerD=50mm 90/Branch, d=50mm,α=90/ | piece/pcs. | 13 | 0.17 | 2.25 |
| 28 | TransitionD=100mm 45/Transition, d=100mm | piece/pcs. | 3 | 0.43 | 1.29 |
| 29 | CornerD=50mm 45/Branch, d=50mm,α=45 | piece/pcs. | 23 | 0.17 | 3.97 |
| 30 | Smokers pipes reinforcement number/Clamps for fasteners pipe | kg/kg | 5 | 0.71 | 3.56 |
| 31 | Self-winding screwd-6mm/Self-tapping screwd-6mm | piece/pcs. | 20 | 0.22 | 4.43 |
| 32 | Metal elements The most important thing is to be happy. The most important thing is to be happy. The word "Ý»ñÏáí" means "the one who is the/Coloring metallic elements anti-corrosion. | U²/m² | 2 | 1.08 | 2.15 |
| 33 | System test/Test systems | gm/p.m. | 66.0 | 0.13 | 8.58 |
|  | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 2246.27 |
| Î»Ýó³Õ³ÛÇÝ ÏáÛáõÕáõ Ý»ñùÇÝ ó³Ýó /³å³ëï³ñ³ÝÝ/ Internal network sewerage/Shelter/ |  |  |  |  |  |
| 1 | ²ÝóùáõÙ åáÕå³ï» å³ïÛ³ÝÇ ö159*4ÙÙ, L=0,7Ù ï»Õ³¹ñáõÙ 1 Ñ³ï/Installation steel case in hole ∅159x4., L=0.7m | gm/p.m. | 0.70 | 15.83 | 11.08 |
| 2 | Case oil painting2times/Coloring case anti-corrosion with paint2layer | U²/m² | 0.26 | 4.43 | 1.15 |
| 3 | Blockage shell and pipe between elastic with material/Sealing holes case and pipe flexible material | U³/m³ | 0.012 | 22.15 | 0.27 |
| 4 | BlockageB12.5class with concrete/Sealing holes concreteB12.5 | U³/m³ | 0.04 | 341.79 | 13.67 |
| 5 | Shell sinks installation with a tombstone and with a siphon/ Podon with siphon | Ï-ï/k-t | 2 | 23.34 | 46.68 |
| 6 | Shell sinks installation with a tombstone and with a siphon(children's)/Podon with siphon children's | Ï-ï/k-t | 3 | 33.63 | 100.90 |
| 7 | Toilet bowls installation oblique with issue low installable washing with a barrel,flexible with connection/Toilet with oblique release and low established drain barrel | Ï-ï/k-t | 2 | 57.85 | 115.71 |
| 8 | Toilet bowls installation oblique with issue low installable washing with a barrel,flexible with connection/children's/Toilet with oblique release and low established drain barrel,children's | Ï-ï/k-t | 3 | 42.76 | 128.27 |
| 9 | î³Ï³éÇÏ åáÙå Sololilt 2CWC3 Q-1,6l/sec, H-5mN-0.7kWn2800pt/minute/Pump barrelSololilt 2CWC3 Q-1.6l/sec, H-5mN-0.7kWn2800water./min. | Ï-ï/k-t | 1 | 547.98 | 547.98 |
| 10 | Internal sewer pipeline polyvinyl chloride pipes installation P110mm,rubber clamp with rings/Pipes PVC P110mm | gm/p.m. | 22 | 2.45 | 54.00 |
| 11 | Internal sewer pipeline polyvinyl chloride pipes installation P50mm,rubber clamp with rings/Pipes PVC P50mm | gm/p.m. | 5 | 1.78 | 8.90 |
| 12 | äáÉÇ¿ïÇÉ»Ý» ËáÕáí³ÏÝ»ñÇ ï»Õ³¹ñáõÙP50/63*5.8mm/Pipes Polyethylene.P50/63*5.8mm | gm/p.m. | 17 | 2.90 | 49.35 |
| 13 | Plastic checkpointD=110mm/Plastic Audit, d=110mm | piece/pcs. | 1 | 1.00 | 1.00 |
| 14 | Plastic cleanerD=110mm/Plastic cleaning, d=110mm | piece/pcs. | 1 | 1.00 | 1.00 |
| 15 | CornerD=110mm 90/Branch, d=110mm/mm,α=90 | piece/pcs. | 1 | 0.43 | 0.43 |
| 16 | CornerD=50mm 90/Branch, d=50mm,α=90 | piece/pcs. | 2 | 0.17 | 0.35 |
| 17 | TransitionD=100mm 45/Transition, d=100mm α=45 | piece/pcs. | 3 | 0.43 | 1.29 |
| 18 | CornerD=50mm 45/Branch, d=50mm,α=45 | piece/pcs. | 4 | 0.17 | 0.69 |
| 19 | Tripartite110*110/Tee110*110 | piece/pcs. | 1 | 0.77 | 0.77 |
| 20 | Tripartite oblique110*110/Oblique tee110*110 | piece/pcs. | 7 | 0.77 | 5.39 |
| 21 | Tripartite110*50Ã»ù/Oblique tee110*50 | piece/pcs. | 1 | 0.66 | 0.66 |
| 22 | Tripartite50*50 Ã»ù/Oblique tee50*50 | piece/pcs. | 3 | 0.29 | 0.88 |
| 23 | Smokers pipes reinforcement number/Clamps for fasteners pipe | kg/kg | 2 | 0.71 | 1.42 |
| 24 | Self-winding screwd-6mm/Self-tapping screwd-6mm | piece/pcs. | 20 | 0.22 | 4.43 |
| 25 | Metal elements The most important thing is to be happy. The most important thing is to be happy. The word "Ý»ñÏáí" means "the one who is the/Painting metallic elements | U²/m² | 1 | 4.43 | 4.43 |
| 26 | Toilet paper hanger installation/metal,nickel-plated/Clothesline for toilet paper/metallic,nickel-plated/ | piece/pcs. | 5 | 4 | 22 |
| 27 | System test/Test systems | gm/p.m. | 44.0 | 0.37 | 16.25 |
| 28 | ÀÝ¹³Ù»ÝÁ/Total |  |  |  | 1139.10 |
| Ü»ñùÇÝ ·³½³Ù³ï³Ï³ñ³ñáõÙ /internal feed gas |  |  |  |  |  |
| 1 | äáÕå³ï» ·³½³ï³ñ ËáÕáí³Ï d=15ÙÙ Ý»ñ³éÛ³É Ó¨³íáñ Ù³ë»ñÁ /steel gas pipe,including shaped parts | gm/p.m. | 3 | 1.41 | 4.22 |
| 2 | äáÕå³ï» ·³½³ï³ñ ËáÕáí³Ï Ý»ñ³éÛ³É Ó¨³íáñ Ù³ë»ñÁ d=32ÙÙ / steel gas pipe,including shaped parts | gm/p.m. | 1.5 | 1.41 | 2.11 |
| 3 | Ø»ï³Õ³Ï³Ý ×Ï³ËáÕáí³Ï å³ïÛ³Ý d=15ÙÙ È-0,6Ù /metallic tubular body | piece/pcs. | 2 | 1.18 | 2.36 |
| 4 | Ø»ï³Õ³Ï³Ý ËáÕáí³ÏÇó å³ïÛ³Ý d=57*3ÙÙ È-0,4Ù 1Ñ³ï /body from metallic pipes | gm/p.m. | 0.4 | 3.51 | 1.40 |
| 5 | Ø»ï³Õ³Ï³Ý ËáÕáí³ÏÇó å³ïÛ³Ý d=108*4 ÙÙ È-0,4Ù 2Ñ³ï /body from metallic pipes | gm/p.m. | 0.8 | 10.07 | 8.05 |
| 6 | ¶³½Ç Ëó³Ý³ÛÇÝ ÷³Ï³Ý d=15ÙÙ /gas cork valve | piece/pcs. | 2 | 8.17 | 16.34 |
| 7 | Êó³÷³ÏÇã d=38*2,5ÙÙ /cork | piece/pcs. | 1 | 0.52 | 0.52 |
| 8 | ²½¹³Ýß³Ý³ÛÇÝ Ñ³Ù³Ï³ñ·Ç å³Ñå³ÝÇã ÷³Ï³Ý ¿É»Ïïñ³Ù³·ÝÇë³Ï³Ý Ï³÷áõÛñ d=32ÙÙ /safety valve systems alarms,electromagnetic: valve | piece/pcs. | 1 | 32.64 | 32.64 |
| 9 | ²½¹³Ýß³Ý³ÛÇÝ ë³ñù /signal device | piece/pcs. | 1 | 52.62 | 52.62 |
| 10 | ÊáÕáí³ÏÝ»ñÇ Ý»ñÏáõÙ 2 ³Ý·³Ù / pipes to paint twice | U²/m² | 0.5 | 1.39 | 0.70 |
| 11 | äáÕå³ï» ·³½³ï³ñ ËáÕáí³ÏÝ»ñÇ ÷ã³Ù³ùñáõÙ /blowdown gas pipelines | gm/p.m. | 4.5 | 0.69 | 3.12 |
| 12 | äáÕå³ï» ·³½³ï³ñ ËáÕáí³ÏÝ»ñÇ åÝ¨Ù³ïÇÏ ÷áñÓ³ñÏáõÙ / pneumatic tests gas pipelines | gm/p.m. | 4.5 | 0.69 | 3.12 |
| 13 | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 127.21 |
| ¾É»Ïïñ³ï»ËÝÇÏ³Ï³Ý Ù³ë /electric part |  |  |  |  |  |
| 1 | ØáÝï³Å³ÛÇÝ ³ßË³ï³ÝùÝ»ñ /assembly works |  |  |  |  |
| 2 | öáË³ñÏÇã »é³µ¨»é 160²/³å³ÑáíáÕ ³Ýç³ïáõÙÁ µ»éÇ ï³Ï/ / Three-pole overturned switch providing switching under with load 160A | piece/pcs. | 1 | 185.07 | 185.07 |
| 3 | öáË³ñÏÇã »é³µ¨»é 100²/³å³ÑáíáÕ ³Ýç³ïáõÙÁ µ»éÇ ï³Ï/Three-pole overturned switch providing switching under with load 100A | piece/pcs. | 1 | 102.91 | 102.91 |
| 4 | ä³Ñ³ñ³Ý ¹éÝ³Ïáí í³Ñ³ÝÇ ÏáÙål»Ïï³íáñÙ³Ý Ñ³Ù³ñ715*655*215 /Distributive: shield with door | piece/pcs. | 2 | 24.13 | 48.25 |
| 5 | ä³Ñ³ñ³Ý ¹éÝ³Ïáí í³Ñ³ÝÇ ÏáÙål»Ïï³íáñÙ³Ý Ñ³Ù³ñ300*450*128 18ï»ÕÇ Ñ³Ù³ñ/Distributive: shield with door | piece/pcs. | 3 | 31.86 | 95.57 |
| 6 | ä³Ñ³ñ³Ý ¹éÝ³Ïáí í³Ñ³ÝÇ ÏáÙål»Ïï³íáñÙ³Ý Ñ³Ù³ñ450*450*128 36ï»ÕÇ Ñ³Ù³ñ / Distributive: shield with door | piece/pcs. | 2 | 56.80 | 113.60 |
| 7 | ä³Ñ³ñ³Ý ¹éÝ³Ïáí í³Ñ³ÝÇ ÏáÙål»Ïï³íáñÙ³Ý Ñ³Ù³ñ225*210*97Hello8ï»ÕÇ Ñ³Ù³ñ /Distributive: shield with door | piece/pcs. | 1 | 14.76 | 14.76 |
| 8 | ä³Ñ³ñ³Ý ¹éÝ³Ïáí í³Ñ³ÝÇ ÏáÙål»Ïï³íáñÙ³Ý Ñ³Ù³ñ6ï»ÕÇ Ñ³Ù³ñ /Distributive: shield with door | piece/pcs. | 3 | 12.18 | 36.54 |
| 9 | ²ñÏÕinThe word "عَبَاه" means "to be free".ïñ³ÝëýrEnglish025/36 /Box with lowering transformer | piece/pcs. | 1 | 13.81 | 13.81 |
| 10 | ²Ýç³ïÇã µ³Å³ÝÇno160² »é³µ¨»é / switch-disconnector three-pole | piece/pcs. | 1 | 22.44 | 22.44 |
| 11 | ²Ýç³ïÇã µ³Å³ÝÇno100² »é³µ¨»é /switch-disconnector three-pole | piece/pcs. | 1 | 18.16 | 18.16 |
| 12 | ²Ýç³ïÇã µ³Å³ÝÇno80² »é³µ¨»é /switch-disconnector three-pole | piece/pcs. | 1 | 12.66 | 12.66 |
| 13 | ²Ýç³ïÇã µ³Å³ÝÇno63² »é³µ¨»é /switch-disconnector three-pole | piece/pcs. | 1 | 10.58 | 10.58 |
| 14 | ²Ýç³ïÇã µ³Å³ÝÇno40² »é³µ¨»é / switch-disconnector three-pole | piece/pcs. | 2 | 7.77 | 15.54 |
| 15 | ²Ýç³ïÇã µ³Å³ÝÇno32² »é³µ¨»é /switch-disconnector three-pole | piece/pcs. | 2 | 6.79 | 13.59 |
| 16 | ²Ýç³ïÇã µ³Å³ÝÇno32² ÙÇ³µ¨»é / switch-disconnector unipolar | piece/pcs. | 3 | 5.62 | 16.86 |
| 17 | ²íïáÙ³ï ³Ýç³ïÇã 100² »é³µ¨»é / automatic switch three-pole | piece/pcs. | 1 | 4.11 | 4.11 |
| 18 | ²íïáÙ³ï ³Ýç³ïÇã 63² »é³µ¨»é /automatic switch three-pole | piece/pcs. | 2 | 8.73 | 17.46 |
| 19 | ²íïáÙ³ï ³Ýç³ïÇã 50² »é³µ¨»é /automatic switch three-pole | piece/pcs. | 1 | 7.64 | 7.64 |
| 20 | ²íïáÙ³ï ³Ýç³ïÇã 40² »é³µ¨»é / automatic switch three-pole | piece/pcs. | 3 | 7.64 | 22.91 |
| 21 | ²íïáÙ³ï ³Ýç³ïÇã 32² »é³µ¨»é /automatic switch three-pole | piece/pcs. | 2 | 7.64 | 15.28 |
| 22 | ²íïáÙ³ï ³Ýç³ïÇã 32² ÙÇ³µ¨»é /automatic switch single-pole | piece/pcs. | 5 | 3.74 | 18.71 |
| 23 | ¸Çý»ñ»nóÛ³É"Sáë³ÝùÇ"rkµ¨»é25²/bipolar switch differential current | piece/pcs. | 2 | 6.10 | 12.21 |
| 24 | ä³ßïå³ÝÇã ³Ýç³ïÙ³Ý ë³ñù 32²RCD / device protective shutdown | piece/pcs. | 3 | 9.53 | 28.60 |
| 25 | ²íïáÙ³ï ³Ýç³ïÇã 63² »é³µ¨»é / automatic switch three-pole | piece/pcs. | 2 | 8.73 | 17.46 |
| 26 | ²íïáÙ³ï ³Ýç³ïÇã 50² »é³µ¨»é /automatic switch three-pole | piece/pcs. | 1 | 7.64 | 7.64 |
| 27 | ²íïáÙ³ï ³Ýç³ïÇã 25² »é³µ¨»é/automatic switch three-pole | piece/pcs. | 2 | 7.64 | 15.28 |
| 28 | ²íïáÙ³ï ³Ýç³ïÇã10² ÙÇ³µ¨»é / automatic switch single-pole | piece/pcs. | 9 | 4.11 | 37.00 |
| 29 | ²íïáÙ³ï ³Ýç³ïÇã16² ÙÇ³µ¨»é /automatic switch single-pole | piece/pcs. | 15 | 4.11 | 61.67 |
| 30 | ²íïáÙ³ï ³Ýç³ïÇã25² ÙÇ³µ¨»é /automatic switch single-pole | piece/pcs. | 15 | 4.11 | 61.67 |
| 31 | ²íïáÙ³ï ³Ýç³ïÇã 32² ÙÇ³µ¨»é /automatic switch single-pole | piece/pcs. | 1 | 4.11 | 4.11 |
| 32 | ²íïáÙ³ï ³Ýç³ïÇã 40² ÙÇ³µ¨»é / automatic switch single-pole | piece/pcs. | 1 | 4.11 | 4.11 |
| 33 | ÎáÝï³Ïïáñ Ùá¹áõÉ³ÛÇÝ »ñÏµ”»é 9²/6² /contactor modular bipolar | piece/pcs. | 3 | 6.78 | 20.35 |
| 34 | ÎáÝï³Ïïáñ Ùá¹áõÉ³ÛÇÝ »é³µ»»é 9²/9² / contactor modular three-pole | piece/pcs. | 1 | 8.20 | 8.20 |
| 35 | ÎáÝï³Ïïáñ Ùá¹áõÉ³ÛÇÝ »é³µ»»é 65²/50² / contactor modular three-pole | piece/pcs. | 1 | 59.99 | 59.99 |
| 36 | Ô»Ï³í³ñÙ³Ý Ïá×áÏ /button management | piece/pcs. | 5 | 3.69 | 18.46 |
| 37 | Èáõë³¹Çá¹³ÛÇÝ Éáõë³ïáõÝ»ñ 1*36íï /Lamp with LED with lamps | piece/pcs. | 46 | 14.18 | 652.28 |
| 38 | Èáõë³¹Çá¹³ÛÇÝ ³é³ëï³ÕÇ Éáõë³ïáõÝ»ñ 1*18íï / Lamp ceiling with LED with lamps | piece/pcs. | 9 | 9.75 | 87.75 |
| 39 | Èáõë³¹Çá¹³ÛÇÝ Éáõë³ïáõÝ»ñ ë³ÝÑ³Ý·áõÛóÝ»ñáõÙ ï»Õ³¹ñíáÕ 1*10íï / Lamp ceiling with LED with lamps for bathroom | piece/pcs. | 17 | 7.53 | 128.09 |
| 40 | Èáõë³¹Çá¹³ÛÇÝ Éáõë³ïáõÝ»ñ ¿í³Ïáõ³óÇáÝ 1*15íï / Lamp LED evacuation lighting with battery | piece/pcs. | 22 | 8.27 | 182.01 |
| 41 | Èáõë³¹Çá¹³ÛÇÝ Éáõë³ïáõÝ»ñ å³ïÇ 1*14íï /Lamp wall-mounted with LED with lamps | piece/pcs. | 10 | 8.27 | 82.73 |
| 42 | Èáõë³¹Çá¹³ÛÇÝ Éáõë³ïáõÝ»ñ ³é³ëï³ÕÇ 1*12íï /Lamp ceiling with LED with lamps | piece/pcs. | 28 | 7.68 | 215.11 |
| 43 | Èáõë³¹Çá¹³ÛÇÝ Éáõë³ïáõÝ»ñ ³é³ëï³ÕÇ 1*11íï /Lamp ceiling with LED with lamps | piece/pcs. | 28 | 7.53 | 210.98 |
| 44 | Êó³ÏÇ í³ñ¹³ÏÝ»ñ »ñÏµ¨»é ÑáÕ³ÝóÇãáí 10² / socket plug-in single-seater with2-them grounding contact | piece/pcs. | 27 | 2.44 | 65.84 |
| 45 | 10² / socket plug-in bipolar with2-them grounding contact | piece/pcs. | 10 | 2.71 | 27.10 |
| 46 | Êó³ÏÇ í³ñ¹³ÏÝ»ñ »ñÏµ¨»é ÑáÕ³ÝóÇãáí ¿É. ë³ÉÇÏ / socket plug-in bipolar with grounding contact | piece/pcs. | 1 | 2.44 | 2.44 |
| 47 | Êó³ÏÇ í³ñ¹³ÏÝ»ñ »ñÏµ¨»é ÑáÕ³ÝóÇãáí Ï³÷³ñÇãáí / socket plug-in with2-them grounding contact with with a lid | piece/pcs. | 5 | 2.44 | 12.19 |
| 48 | Êó³ÏÇ í³ñ¹³ÏÝ»ñ »ñÏµ¨»é ÑáÕ³ÝóÇãáí »ñ»ù ï»Õ³ÝÇ 10² /socket plug-in bipolar with3-them grounding contact | piece/pcs. | 1 | 3.01 | 3.01 |
| 49 | Ø»Ï ëï»ÕÝ³íáñ ³Ýç³ïÇãÝ»ñ / teacher one-key | piece/pcs. | 55 | 1.79 | 98.58 |
| 50 | ºñÏëï»ÕÝ³íáñ ³Ýç³ïÇãÝ»ñ / teacher two-key | piece/pcs. | 7 | 2.16 | 15.13 |
| 51 | îáõ÷ ×ÛáõÕ³íáñÙ³Ý /box soldering iron | piece/pcs. | 40 | 0.22 | 8.86 |
| 52 | îáõ÷ ³Ýç³ïõãÝ»ñÇ ¨ í³ñ¹³ÏÝ»ñÇ / box installation for plug-in pose and switches | piece/pcs. | 116 | 0.04 | 5.14 |
| 53 | ÏÂ31x1,5 ÙÙ2 Ñ³ïí³Íùáí åÕÝÓ” Ñ³Õáñ¹³É³ñ / провод с медной жилой | gm/p.m. | 2100.0 | 0.19 | 405.24 |
| 54 | ÏÂ31x2.5 ÙÙ2 Ñ³ïí³Íùáí åÕÝÓ” Ñ³Õáñ¹³É³ñ / провод с медной жилой | gm/p.m. | 750.0 | 0.24 | 180.88 |
| 55 | ÏÂ31x4 ÙÙ2 Ñ³ïí³Íùáí åÕÝÓ” Ñ³Õáñ¹³É³ñ / провод с медной жилой | gm/p.m. | 400.0 | 0.32 | 129.00 |
| 56 | ÏÂ31x25 ÙÙ2 Ñ³ïí³Íùáí åÕÝÓ” Ñ³Õáñ¹³É³ñ / провод с медной жилой | gm/p.m. | 20.0 | 2.00 | 39.95 |
| 57 | ВВГ 3*2,5ÙÙ2 Ñ³ïí³Íùáí åÕÝÓ" çÕ»ñááí Ù³ÉáõË / кабел с медными жилами | gm/p.m. | 70.0 | 0.83 | 58.05 |
| 58 | ВВГ 3*4ÙÙ2 Ñ³ïí³Íùáí åÕÝÓ" çÕ»ñááí Ù³ÉáõË / кабел с медными жилами | gm/p.m. | 108.0 | 1.18 | 127.14 |
| 59 | ВВГ 3*70ÙÙ2 Ñ³ïí³Íùáí åÕÝÓ" çÕ»ñááí Ù³ÉáõË / кабел с медными жилами | gm/p.m. | 3.00 | 16.74 | 50.21 |
| 60 | ВВГ 5*4ÙÙ2 Ñ³ïí³Íùáí åÕÝÓ" çÕ»ñááí Ù³ÉáõË / кабел с медными жилами | gm/p.m. | 35.00 | 1.92 | 67.09 |
| 61 | ВВГ 5*6ÙÙ2 Ñ³ïí³Íùáí åÕÝÓ" çÕ»ñááí Ù³ÉáõË / кабел с медными жилами | gm/p.m. | 82.00 | 2.26 | 185.59 |
| 62 | ВВГ 5*16ÙÙ2 Ñ³ïí³Íùáí åÕÝÓ" çÕ»ñááí Ù³ÉáõË / кабел с медными жилами | gm/p.m. | 35.00 | 6.78 | 237.26 |
| 63 | ВВГ 5*25ÙÙ2 Ñ³ïí³Íùáí åÕÝÓ" çÕ»ñááí Ù³ÉáõË / кабел с медными жилами | gm/p.m. | 15.00 | 11.32 | 169.83 |
| 64 | ВВГ 1*35ÙÙ2 Ñ³ïí³Íùáí åÕÝÓ" çÕ»ñááí Ù³ÉáõË / кабел с медными жилами | gm/p.m. | 85.00 | 4.02 | 341.92 |
| 65 | ВВГ 4*16ÙÙ2 Ñ³ïí³Íùáí åÕÝÓ" çÕ»ñááí Ù³ÉáõË / кабел с медными жилами | gm/p.m. | 45.00 | 5.46 | 245.74 |
| 66 | ВВГ 4*4ÙÙ2 Ñ³ïí³Íùáí åÕÝÓ" çÕ»ñááí Ù³ÉáõË / кабел с медными жилами | gm/p.m. | 3.00 | 1.57 | 4.71 |
| 67 | ØÇçå³ï³ÛÇÝ ³Ýóù»ñáõÙ ï»Õ³¹ñíáÕ Ïáßï ËáÕáí³Ï d-32ÙÙ /pipe for passage wire between walls from self-extinguishing | gm/p.m. | 3.00 | 1.20 | 3.60 |
| 68 | ¸Ç½»É³ÛÇÝ ·»Ý»ñ³ïáñ 35Ïìï 44 Ïí³ 1600*850*1850 /diesel generator | Ñ³ï | 1.00 | 920.00 | 920.00 |
| 69 | òÇÝÏ³å³ï ß»ñï³åáÕå³ï 40*5ÙÙ / steel striped galvanized | gm/p.m. | 12 | 1.81 | 21.69 |
| 70 | Size 50x50x5 È=2,5Ù - 10 Î³ï / steel angular galvanized | 10 Ñ³ï | 0.4 | 22.76 | 9.11 |
| 71 | Þ»ñï³íáñ åáÕå³ï 4*25ÙÙ ×ÛáõÕ³íáñáõÙÝ»ñÇ Ñ³Ù³ñ / steel striped galvanized | gm/p.m. | 30.0 | 1.39 | 41.77 |
| 72 | ÖÏ³ËáÕáí³Ï äìê 20 /pipe flexible corrugated | gm/p.m. | 1083.0 | 0.30 | 319.85 |
| 73 | 100 /pipe | gm/p.m. | 2.0 | 2.22 | 4.43 |
| 74 | 150*50 /box | gm/p.m. | 10.0 | 1.08 | 10.75 |
| 75 | Ø³;áõË³ï³ñ ³ëïÇ×³Ý³Ó¨ 250*50ÙÙ /tray staircase type | gm/p.m. | 40.0 | 5.38 | 215.01 |
| 76 | Ø»ï³Õ³Ï³Ý Çñ»ñ ³Ùñ³Ï³åÙ³Ý Ñ³Ù³ñ /metallic products | Ï·/ kg | 15.0 | 0.71 | 10.68 |
| 77 | ¶ñáõÝïÇ Ùß³ÏáõÙ Ó»éùáí / processing soil manually | U³/m³ | 4 | 3.05 | 12.20 |
| 78 | ¶ñáõÝïÇ »ïÉÇóù Ó»éùáí/reverse backfill soil manually | U³/m³ | 4.0 | 1.28 | 5.10 |
| 79 | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 6777.25 |
| Ðñ¹»Ñ³ÛÇÝ ³½¹³ñ³ñáõÙ |  |  |  |  |  |
| 1 | Ð³Ï³Ññ¹»Ñ³ÛÇÝ ³½¹³ÝßáõÙÝ»ñÇ å³Ý»É ûÕ³ÏÇ Ñ³Ù³ñ FP-2000/Ï³Ù Ñ³Ù³ñÅ»ù/ /refractory panel no two rings or equivalent | É-½Ù /k-t | 1 | 25.98 | 25.98 |
| 2 | Ðñ¹»Ñ³ÛÇÝ ïíÇã, ÍËÇ DP-2061 /Ï³Ù Ñ³Ù³ñÅ»ù/ /firefighter sensor or equivalent | piece/pcs. | 40 | 4.15 | 165.92 |
| 3 | Ðñ¹»Ñ³ÛÇÝ ïíÇã, Ó»éÝ³í³ñáõÙáí DM-2000 /Ï³Ù Ñ³Ù³ñÅ»ù/ firefighter sensor/or equivalent | piece/pcs. | 11 | 5.21 | 57.36 |
| 4 | 24B, 6.5A /hermetic rechargeable battery | piece/pcs. | 2 | 50.95 | 101.90 |
| 5 | ShVVP2x0.75gasket copper wires | gm/p.m. | 310 | 0.32 | 98.23 |
| 6 | 911-Í³é³ÛáõÃÛ³Ý Ñ»ï Ï³åÇ ÙÇçáó /Tandem-2M-in/Ï³Ù The most important thing is to be happy./ Method to contact with911 or equivalent | piece/pcs. | 1 | 73.60 | 73.60 |
| 7 | Þã³Ï /horn | piece/pcs. | 2 | 10.77 | 21.55 |
| 8 | öáß»³ÝÙ³Ý Ùá¹áõÉ Ññ¹»ÑÇ Ù³ñÙ³Ý Ñ³Ù³ñ ï»Õ³¹ñáõÙÁ Ý»ñ³éí³Í ¿ ·ÝÇ Ù»ç/MPP-7MIG/ | Ñ³ï | 2 | 44.52 | 89.04 |
|  | ÀÝ¹³Ù»ÝÁ / Total |  |  |  | 633.58 |
|  | Reservoir / pool |  |  |  |  |
| 1 | 1. ÐáÕ³ÛÇÝ ³ßË³ï³ÝùÝ»ñ /earthen works |  |  |  |  |
| 2 | III Ï³ñ·Ç ·ñáõÝïÇ ù³Ý¹áõÙ ¿ùëÏ³í³ïáñáí ÏáÕÉÇó /Processing soilIIIcategories excavator. | U³/m³ | 96.0 | 0.52 | 50.30 |
| 3 | III Ï³ñ·Ç ·ñáõÝïÇ Ñ»ïÙß³ÏáõÙ Ó»éùáí /Processing soilIIIcategories manually | U³/m³ | 11.0 | 3.05 | 33.56 |
| 4 | ø³Ý¹í³Í ·ñáõÝïÇ Ñ»ïÉÇóùª µáõÉ¹áÁ½»ñáí ïá÷³ÝáõÙáí/Processing soil by bulldozer for styling | U³/m³ | 96.0 | 0.01 | 1.03 |
| 5 | ÜáõÛÝÁ Ó»éùáí /that or only manually | U³/m³ | 11.0 | 1.28 | 14.04 |
| 6 | ´Ý³ÑáÕÇ ïá÷³ÝáõÙ åÝ¨Ù³ïá÷³ÝÇãÝ»ñáí /Processing soil for styling | U³/m³ | 107.00 | 0.39 | 41.22 |
| 7 | ÀÝ¹³Ù»ÝÁ / Total |  |  |  | 140.15 |
| 8 | 2.foundation and walls |  |  |  |  |
| 9 | Helloa""Ý³Ë³å³ïñ³ëï³Ï³Ý ß»ñïÇ Çñ³Ï³Ý³óáõÙ B15 ¹³ëÇ Ñ=30ëÙ /Preparation: layer asphalt concrete | U³/m³ | 10,100 | 47.84 | 483.16 |
| 10 | æñ³Ùµ³ñÇ »/µ å³ï»ñÇ ¨ Ñ³ñÃ Ñ³ï³ÏÇ ë³ÉÇ Çñ³Ï³Ý³óáõÙ B25/ W 6;F150/ ¹³ëÇ Ñ=30ëÙ | U³/m³ | 29,300 | 114.21 | 3346.34 |
| 11 | ³Ùñ³Ý 6ö A-IC /reinforcement 6ö A-IC | ïÝ / t | 0.073 | 510.69 | 37.13 |
| 12 | ³Ùñ³Ý 12ö A500C / reinforcement12ö A500C | ïÝ / t | 2.1183 | 639.90 | 1355.49 |
| 13 | Ø»ï³Õ³Ï³Ý Ý»ñ¹Çñ ¿É»Ù»ÝïÝ»ñ /Mortgages details | ïÝ / t | 0.0278 | 1061.73 | 29.47 |
| 14 | Ø»ï³Õ³Ï³Ý Ï³÷³ñÇã /metallic lid | ïÝ / t | 0.0377 | 711.77 | 26.85 |
| 15 | Ø»ï³Õ³Ï³Ý Ùïáó Ï³÷³ñÇã - 0.03772ïÝ, /metallic rod-lid | ïÝ / t | 0.038 | 104.15 | 3.93 |
| 16 | Ø»ï³Õ³Ï³Ý ÙïáóÇ ³ñÅ»ùÁ /metallic rod-price | ïÝ / t | 0.038 | 711.77 | 26.85 |
| 17 | Ø»ï³Õ³Ï³Ý ÙïáóÇ Ý»ñÏáõÙ 2 ³Ý·³Ù Ñ³Ï³Ïáñá½ÇáÝ Ý»ñÏáí /double coloring metallic core anti-corrosion with paint | ïÝ / t | 0.038 | 17.04 | 0.64 |
| 18 | Ø»ï³Õ³Ï³Ý ²ëïÇ×³Ý Ø²-1 / metallic ladder | ïÝ / t | 0.0634 | 200.06 | 12.68 |
| 19 | Ø»ï³Õ³Ï³Ý ²ëïÇ×³ÝÇ ³ñÅ»ùÁ /price-metallic ladder | ïÝ / t | 0.0634 | 711.77 | 45.13 |
| 20 | Ø»ï³Õ³Ï³Ý ³ëïÇ×³ÝÝ»ñÇ Ý»ñÏáõÙ 2 ³Ý·³Ù Ñ³Ï³Ïáñá½ÇáÝ Ý»ñÏáí / double coloring metallic.ladder anti-corrosion with paint | ïÝ / t | 0.063 | 17.04 | 1.08 |
| 21 | ²Ùñ³óíáÕ å³ï»ñÇ íñ³ ó³ÝóÇ Ó·áõÙ /»ñÏáÕÙ³ÝÇ/ /stretch grids for fasteners k wall/bilateral/ | ïÝ / t | 0.170 | 52.84 | 8.98 |
| 22 | 3p-1¹³ëÇ³Ùñ³ÝÇ ³ñÅ»ùÁ 50*50mm / price fittings | U²/m² | 81,000 | 5.50 | 445.20 |
| 23 | ä³ï»ñÇ ïáñÏñ»ï³íáñáõÙ B-15 ¹³ëÇ ïáñÏñ»ïµ»ïáÝáí 40ÙÙ Ñ³ëï | U²/m² | 81,000 | 8.46 | 685.66 |
| 24 | àõÕÕ³ÓÇ· çñ³Ù»Ïáõë³óáõÙ- ùë»É ï³ù µÇïáõÙÇ Ù³ÍáõÏª »ñÏáõ ³Ý·³Ù /³ñï³ùÇÝ/ | U²/m² | 112.3 | 1.33 | 149.76 |
| 25 | Ü»ñùÇÝ Ù³Ï»ñ»ëÇ »ñÏ³Ã³ÛÝ³óáõÙ | U²/m² | 0.00 | 6.78 | 0.00 |
| 26 | ä³ï»ñÇ ¨ Ñ³ï³ÏÇ Ý»ñÏáõÙ çñ³¹ÇÙ³óÏáõÝ Ý»ñÏáí/ó»Ù»Ýï³ÛÇÝ Ñ»ÕáõÏ ³å³ÏÇáí | U²/m² | 81.0 | 3.09 | 250.47 |
| 27 | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 6908.81 |
| 28 | I am / coatings |  |  |  |  |
| 29 | º/µ Í³ÍÏ Çñ³Ï³Ý³óáõÙ µ»ïáÝ B25 | Ù3 | 7.8 | 112.68 | 883.45 |
| 30 | ³Ùñ³Ý 6ö A-IC /reinforcement 6ö A-IC | ïÝ / t | 0.052 | 510.69 | 26.78 |
| 31 | ³Ùñ³Ý 8ö A500C /reinforcement8ö A500C | ïÝ / t | 0.020 | 1279.79 | 24.96 |
| 32 | ³Ùñ³Ý 12ö A500C /reinforcement 12ö A500C | ïÝ / t | 0.5344 | 562.99 | 300.86 |
| 33 | ³Ùñ³Ý 16ö A500C reinforcement16ö A500C | ïÝ / t | 0.0095 | 559.91 | 5.32 |
| 34 | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 1241.37 |
|  | The most important thing is to be happy. |  |  |  |  |
|  | Pumping station /pump station |  |  |  |  |
| 1 | 1. ÐáÕ³ÛÇÝ ³ßË³ï³ÝùÝ»ñ /earthen works |  |  |  |  |
| 2 | III Ï³ñ·Ç ·ñáõÝïÇ ù³Ý¹áõÙ ¿ùëÏ³í³ïáñáí ÏáÕÉÇó/Processing soilIIcategories excavator. | U³/m³ | 69.0 | 0.52 | 36.15 |
| 3 | III Ï³ñ·Ç ·ñáõÝïÇ Ñ»ïÙß³ÏáõÙ Ó»éùáí/Processing soilIIIcategories manually | U³/m³ | 8.0 | 3.05 | 24.41 |
| 4 | ø³Ý¹í³Í ·ñáõÝïÇ Ñ»ïÉÇóùª µáõÉ¹áÁ½»ñáí ïá÷³ÝáõÙáí/Processing soil by bulldozer for styling | U³/m³ | 10.0 | 0.01 | 0.11 |
| 5 | ÜáõÛÝÁ Ó»éùáí/that or only manually | U³/m³ | 1.0 | 1.28 | 1.28 |
| 6 | ´Ý³ÑáÕÇ ïá÷³ÝáõÙ åÝ¨Ù³ïá÷³ÝÇãÝ»ñáí/ sealing pneumatic | U³/m³ | 11.00 | 0.39 | 4.24 |
| 7 | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 66.19 |
| 8 | 2.ÐÇÙù»ñ /foundation |  |  |  |  |
| 9 | ´»ïáÝ» Ý³Ë³å³ïñ³ëï³Ï³Ý ß»ñïÇ Çñ³Ï³Ý³óáõÙ B12,5 ¹³ëÇ Ñ=10ëÙ / Preparation: layer concrete stamp B-12.5 N=10cm | U³/m³ | 2.5 | 45.36 | 113.39 |
| 10 | º/µ Å³å³í»Ý³Ó¨ ÑÇÙù»ñÇ Çñ³Ï³Ý³óáõÙ »/µ»ïáÝ B15/Preparation: layer concrete stamp B-15ribbon foundation | U³/m³ | 5.2 | 69.19 | 359.80 |
| 11 | ³Ùñ³Ý 8ö AC-1 / reinforcement8ö AC-1 | ïÝ / t | 0.0948 | 639.90 | 60.66 |
| 12 | ³Ùñ³Ý 12ö A500C /reinforcement 12ö A500C | ïÝ / t | 0.087 | 562.99 | 48.98 |
| 13 | 15/Preparation: layer concrete stamp B-15under equipment | U³/m³ | 1.06 | 57.65 | 61.10 |
| 14 | ÐÇÙù»ñÇ áõÕÕ³ÓÇ· çñ³Ù»Ïáõë³óáõÙ- ùë»É ï³ù µÇïáõÙÇ Ù³ÍáõÏª »ñÏáõ ³Ý·³Ù /³ñï³ùÇÝ/ / Waterproofing with hot bituminous with mastic2once | Ù2 | 20.7 | 1.34 | 27.79 |
| 15 | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 671.72 |
| 16 | 3,ä³ï»ñ / walls |  |  |  |  |
| 17 | º/µ ÙÇçáõÏÝ»ñÇ Çñ³Ï³Ý³óáõÙ µ»ïáÝ B15 /Preparation: layer concrete stamp B-12.5core | U³/m³ | 1.5 | 106.49 | 159.74 |
| 18 | ³Ùñ³Ý 6ö AC-1/reinforcement6ö AC-1 | ïÝ / t | 0.0202 | 510.69 | 10.30 |
| 19 | ³Ùñ³Ý 12ö A500C/reinforcement12ö A500C | ïÝ / t | 0.0432 | 562.99 | 24.32 |
| 20 | äáÙå³Ï³Û³ÝÇ å³ï»ñÇ Çñ³Ï³Ý³óáõÙ Ï³ÝáÝ³íáñ ïáõý ù³ñáí b=400ÙÙ /execution wall pump from tufa | U³/m³ | 1.4 | 32.62 | 45.67 |
| 21 | ØÇ³ÓáõÛÉ µ»éáÝ» å³ï»ñÇ Çñ³Ï³Ý³óáõÙ B15 b=400ÙÙ /execution monolithic concrete wallB15 b=400UU | U³/m³ | 17.2 | 72.49 | 1246.90 |
| 22 | B15 | U³/m³ | 0.77 | 90.07 | 69.36 |
| 23 | ³Ùñ³Ý 8ö AC-1 /reinforcement8ö AC-1 | ïÝ / t | 0.0242 | 504.58 | 12.21 |
| 24 | ³Ùñ³Ý 12ö A500C /reinforcement12ö A500C | ïÝ / t | 0.0341 | 556.26 | 18.97 |
| 25 | º/µ ·áïÇand ¶-1The world is full of people. µ»ïá, B15 | U³/m³ | 2 | 75.30 | 150.61 |
| 26 | ³Ùñ³Ý 8ö AC-1 /reinforcement8ö AC-1 | ïÝ / t | 0.0234 | 504.58 | 11.81 |
| 27 | ³Ùñ³Ý 12ö A500C / reinforcement12ö A500C | ïÝ / t | 0.0444 | 556.26 | 24.70 |
| 28 | àõÕÕ³ÓÇ· çñ³Ù»Ïáõë³óáõÙ- ùë»É ï³ù µÇïáõÙÇ Ù³ÍáõÏª »ñÏáõ ³Ý·³Ù /³ñï³ùÇÝ/ Waterproofing with hot bituminous with mastic2once | U²/m² | 72.0 | 1.33 | 96.01 |
| 29 | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 1870.59 |
| 30 | I am /coatings |  |  |  |  |
| 31 | º/µ Í³ÍÏ Çñ³Ï³Ý³óáõÙ µ»ïáÝ B15 /installation coatings concreteB15 | U³/m³ | 1.6 | 74.22 | 118.75 |
| 32 | ³Ùñ³Ý 8ö A500C/reinforcement8ö A500C |  | 0.134 | 1264.48 | 169.38 |
| 33 | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 288.13 |
| 34 | ²ëïÇ×³ÝÝ»ñ /stairs |  |  |  |  |
| 35 | º/µ ³ëïÇ×³ÝÝ»ñÇ Çñ³Ï³Ý³óáõÙ B15 /installation ladderB15 | U³/m³ | 1.00 | 74.92 | 74.92 |
| 36 | ³Ùñ³Ý 8öA500C/reinforcement8öA500C | ïÝ / t | 0.019 | 639.90 | 12.16 |
| 37 | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 87.08 |
| 38 | The world /shed |  |  |  |  |
| 39 | äáÕå³ï» ¿É»Ù»ÝïÝ»ñÇ ï»Õ³¹ñáõÙ /installation steel.element. | ïÝ / t | 0.244 | 109.93 | 26.85 |
| 40 | äáÕå³ïÇó ¿É»Ù»ÝïÝ»ñÇ ³ñÅ»ùÁ /price steel.element. | ïÝ / t | 0.2 | 0.71 | 0.12 |
| 41 | Size 100*60*40cm /pipe100*60*4m | gm/p.m. | 5.0 | 6.29 | 31.44 |
| 42 | 80*80*40cm /pipe 80*80*4m | gm/p.m. | 4.1 | 5.44 | 22.42 |
| 43 | 40*40*3m /pipe40*40*3m | gm/p.m. | 3.3 | 2.50 | 8.31 |
| 44 | Ü»ñ¹Çñ Ü¸-6 /tab Ü¸-6 | ïÝ / t | 0.0 | 711.77 | 27.33 |
| 45 | Ø»ï³Õ³Ï³Ý Ï³ñÏ³ëÇ Ý»ñÏáõÙ 2 ³Ý·³ÙÇ / painting metallic frame2once | ïÝ / t | 0.2440 | 21.10 | 5.15 |
| 46 | äñáýÇÉ³íáñ óÇÝÏ³å³ï íã³ù³ßÇ Ùánï³ÅáõÙ/installation profile.galvanized. | U²/m² | 9.10 | 1.24 | 11.27 |
| 47 | äñáýÇÉ³íáñ óÇÝÏ³å³ï íã³ù³ßÇ NS40--800-0.6 | U²/m² | 9.10 | 5.35 | 48.71 |
|  | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 181.59 |
|  | The most important thing is to be happy. |  |  |  |  |
| ¾É»Ïïñ³ï»ËÝÇÏ³Ï³Ý Ù³ë / electric part |  |  |  |  |  |
| äáÙå³Ï³Û³Ý /pump station |  |  |  |  |  |
| 1 | ØáÝï³Å /installation |  |  |  |  |
| 2 | ´³ßËÇã å³Ñ³ñ³Ý IP 63 ã³÷ëÁª 1000*800*450ÙÙ, Çñ Ù»ç Ý»ñ³éí³Í1.1 ³Ýç³ïÇã - µ³Å³ÝÇã 380í, 50²-1Ñ³ï1.2 ²íáÙ³ï ³Ýç³ïÇã ³Ýç³ïÇã 380í 40² 1Ñ³ï1.3 ²íïáÙ³ï ³Ýç³ïÇã ³Ýç³ïÇã ³Ýç³ïÇã ³Ýç³ïÇã ³Ýç³ïÇã ³Ýç³ïÇã 220ì 16² 2 Ñ³ï1.5 ¸Çý»ñ»ÝóÇ³É ³íïáÙ³ï ³Ýç³ïÇã 220ì 16² 1 Ñ³ï1.6 Ø³·ÝÇë³Ï³Ý ÃáÕ³ñÏÇã ç»ñÙ³ÛÇÝ é»É»Ûáí, Ï³é³í³ñÙ³Ý Ïá×³ÏÝ»ñáí 380ì 10² 1 Ñ³ï | Ï-ï /k-t | 1.00 | 104.00 | 104.00 |
| 3 | ²ñÏÕ É³ñáõÙÁ Çç»óÝáÕ ïñ³ÝëýárEnglish220/36 /box with lowering transformer220/36 | piece/pcs. | 1.00 | 16.00 | 16.00 |
| 4 | Èáõëïáõ çñ³ÝÃ³÷³Ýó ßÇÏ³óÙ³Ý É³Ùåáí 100íï ³ñï³ùÇÝ ï»Õ³¹ñÙ³Ý/Lamp waterproof: for external installations 100Tue | piece/pcs. | 4.00 | 8.27 | 33.09 |
| 5 | Êó³ÏÇ í³ñ¹³ÏÝ»ñ »ñÏµ¨»é ÑáÕ³ÝóÇãáí ³ñï³ùÇÝ / Plug-in socket,for for external installations,waterproof: with grounding contact | piece/pcs. | 1 | 2.81 | 2.81 |
| 6 | Ø»Ïëï»ÕÝ³íáñ ³Ýç³ïÇã µ³ó ï»Õ³¹ñÙ³Ý /one-key switch for open leg rests | piece/pcs. | 2 | 1.18 | 2.35 |
| 7 | îáõ÷ ×ÛáõÕ³íáñÙ³Ý µ³ó ï»Õ³¹ñÙ³Ý Ñ³Ù³ñ /two-key switch for open leg rests | piece/pcs. | 3 | 1.18 | 3.54 |
| 8 | ВВГ 3*1,5ÙÙ2 Ññ³Ï³ÛáõÝ Ñ³ïí³Íùáí åÕÝÓ” çÕ»ñááí Ù³ÉáõË / Power cable with copper wires with insulation from non-combustible plastic | gm/p.m. | 50.0 | 0.63 | 31.30 |
| 9 | ВВГ 3*2,5ÙÙ2 Ññ³Ï³ÛáõÝ Ñ³ïí³Íùáí åÕÝÓ” çÕ»ñááí Ù³ÉáõË / Power cable with copper wires with insulation from non-combustible plastic | gm/p.m. | 20.0 | 0.83 | 16.59 |
| 10 | ВВГ 5*1,5ÙÙ2 Ññ³Ï³ÛáõÝ Ñ³ïí³Íùáí åÕÝÓ” çÕ»ñááí Ù³ÉáõË / Кабель прововой с медрнымый жилами с изолатией из non-combustible plastic | gm/p.m. | 21.00 | 0.74 | 15.46 |
| 11 | ВВГ 5*4ÙÙ2 Ññ³Ï³ÛáõÝ Ñ³ïí³Íùáí åÕÝÓ” çÕ»ñááí Ù³ÉáõË / Power cable with copper wires with insulation from non-flammable plastic | gm/p.m. | 11.00 | 1.92 | 21.09 |
| 12 | òÇÝÏ³p³ï40*5mm/ Steel striped40x5mm | gm/p.m. | 33 | 1.81 | 59.64 |
| 13 | Size 50x50x5 È=2,5Ù - 10 Î³ï/ Steel angular galvanized 50x50x5mm L=2.5m | 10 Ñ³ï | 0.3 | 22.76 | 6.83 |
| 14 | ÖÏ³ËáÕáí³Ï äìø20 /Trumpet flexible corrugated from self-extinguishing PVC | gm/p.m. | 85.0 | 0.30 | 25.10 |
| 15 | ÖÏ³ËáÕáí³Ï äìø16 /Trumpet flexible corrugated from self-extinguishing PVC | gm/p.m. | 16.0 | 0.37 | 5.91 |
| 16 | ºñÏ³Ã³Ï³å | piece/pcs. | 250.0 | 0.22 | 55.38 |
| 17 | ¶ñáõÝïÇ Ùß³ÏáõÙ Ó»éùáí /Processing soil for styling manual | U³/m³ | 5 | 3.05 | 15.26 |
| 18 | ¶ñáõÝïÇ »ïÉÇóù Ó»éùáí / Reverse backfill soil manual | U³/m³ | 5.0 | 1.28 | 6.38 |
|  | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 420.72 |
| Pumping station and reservoir external water and sewer/external water and sewerage pump stations and reservoir |  |  |  |  |  |
| 1 | ÐáÕ³ÛÇÝ ³ßË³ï³ÝùÝ»ñ / earthen works |  |  |  |  |
| 2 | Êñ³ÙáõÕáõ Ùß³ÏáõÙ ¿ùëÏ³í³ïáñáí 3-ñ¹ Ï³ñ·Ç ·ñáõÝïÝ»ñáõÙ Ïáõï³Ï»Éáí Ëñ³ÙáõÕáõ ÏáÕùÁ /Digging trench excavator,dumping on board in in the soil3category. | U³/m³ | 225 | 0.52 | 117.90 |
| 3 | ÜáõÛÝÁª Ó»éùáí / that or only manually | U³/m³ | 25 | 3.05 | 76.28 |
| 4 | Êñ³ÙáõÕáõ »ïÉÇóù Ó»éùáí ïáå³ÝáõÙáí / backfill excavation pit manual through the passage | U³/m³ | 16 | 1.28 | 20.42 |
| 5 | Êñ³ÙáõÕáõ »ïÉÇóù µáõÉ¹á½»ñáí /backfill excavation pit by bulldozer | U³/m³ | 144 | 0.11 | 15.43 |
| 6 | æñ³Ùµ³ñÇ ÃÙµ³å³ïin The worldk The most important thing is to be happy./ lateral dumping mound reservoir natural soil | U³/m³ | 90 | 0.11 | 9.64 |
| 7 | ÀÝ¹³Ù»ÝÁ / Total |  |  |  | 239.66 |
| 8 | ØáÝï³Å³ÛÇÝ ³ßË³ï³ÝùÝ»ñ / assembly works |  |  |  |  |
| 9 | Ü³Ë³å³ïñ³ëï³Ï³Ý ß»ñï Ëñ³ÙáõÕáõÙ ³í³½” ß»ñïáí 10ëÙ Ñ³ëïáõÃÛ³Ùµ / Preparation: layer from rubble, h=10cm | U³/m³ | 2 | 5.72 | 11.45 |
| 10 | ²í³½» å³ßïå³ÝÇã ß»ñï / Preparation: layer from sand | U³/m³ | 6 | 5.72 | 34.34 |
| 11 | äáÕå³ï» ¿É.»é³Ïóí³Í ËáÕáí³ÏÝ»ñÇ ï»Õ³¹ñáõÙ ö159*4,5 / Steel electric welded pipes | gm/p.m. | 29 | 14.15 | 410.29 |
| 12 | äáÕå³ï» ¿É.»é³Ïóí³Í ËáÕáí³ÏÝ»ñÇ ï»Õ³¹ñáõÙ ö108*4ÙÙ /Steel electric welded pipes, | gm/p.m. | 16 | 14.58 | 233.28 |
| 13 | äáÕå³ï» ¿É.»é³Ïóí³Í ËáÕáí³ÏÝ»ñÇ ï»Õ³¹ñáõÙ ö57*3,5 /Steel electric welded pipes, | gm/p.m. | 17 | 9.90 | 168.27 |
| 14 | äáÕå³ï» ¿É.»é³Ïóí³Í ËáÕáí³ÏÝ»ñÇ ï»Õ³¹ñáõÙ ö32ÙÙ /Steel electric welded pipes, | gm/p.m. | 4 | 7.50 | 30.00 |
| 15 | äáÕå³ï» ¿É.»é³Ïóí³Í ËáÕáí³ÏÝ»ñÇ ï»Õ³¹ñáõÙ ö25ÙÙ /Steel electric welded pipes | gm/p.m. | 4 | 7.35 | 29.42 |
| 16 | äáÉÇåñáåÇl»n» ËáÕáí³Ï ö63*5,8ÙÙ / polypropylene.pipe | gm/p.m. | 5 | 2.23 | 11.15 |
| 17 | æñ³Ù³ï³Ï³ñ³ñÙ³Ý åáÙå»ñÇ ï»Õ³Ï³Û³Ýù /2 åáÙåáí ¿É ëÝáõóÙ³Ý µÉáÏáí, Õ»Ï³í³ñÙ³Ý Ñ³Ù³ÝÝ»ñáí ¨ »ñÏáõ Ñ³Ï³¹³ñÓ ÷³Ï³ÝÝ»ñáí/Pump station water supply: (with2pumps,block email.nutrition,by system management, 4with valves and2inverse valves), | Ï-ï / k-t | 2 | 18.28 | 36.56 |
| 18 | æñ³Ù³ï³Ï³ñ³ñÙ³Ý åáÙå»ñÇ ï»Õ³Ï³Û³Ýù /2 åáÙåáí ¿É ëÝáõóÙ³Ý µÉáÏáí, Õ»Ï³í³ñÙ³Ý Ñ³Ù³ÝÝ»ñáí ¨ »ñÏáõ Ñ³Ï³¹³ñÓ ÷³Ï³ÝÝ»ñáí/ Q=40Ù3/Å H= 40Ù ³ñÅ»ùÁ / Pump station water supply: (with2pumps,block email.nutrition,by system management, 4with valves and2inverse valves), Q=40m3//h, H=40m | Ï-ï / k-t | 1 | 417.34 | 417.34 |
| 19 | æñ³Ù³ï³Ï³ñ³ñÙ³Ý åáÙå»ñÇ ï»Õ³Ï³Û³Ýù /2 åáÙåáí ¿É ëÝáõóÙ³Ý µÉáÏáí, Õ»Ï³í³ñÙ³Ý Ñ³Ù³ÝÝ»ñáí ¨ »ñÏáõ Ñ³Ï³¹³ñÓ ÷³Ï³ÝÝ»ñáí/ Q=10Ù3/Å H= 40Ù ³ñÅ»ùÁ / Pump station water supply: (with2pumps,block email.nutrition,by system management, 4with valves and2inverse valves), Q=10m3//h, H=40m | Ï-ï / k-t | 1 | 104.34 | 104.34 |
| 20 | ¸ñ»Ý³Å³ÛÇÝ åáÙåÇ ï»Õ³¹ñáõÙ /Õ»Ï³í³ñÙ³Ý µÉáÏáí, ÉáÕ³ÛÇÝ ÷³Ï³Ýáí 40Ù3/Å³Ù Ñ-10,Ù / Drainage pump(with block management,with with a float), Q=10m3//h, H=10m | Ï-ï / k-t | 1 | 18.28 | 18.28 |
| 21 | ¸ñ»Ý³Å³ÛÇÝ åáÙåÇ ï»Õ³¹ñáõÙ /Õ»Ï³í³ñÙ³Ý µÉáÏáí, ÉáÕ³ÛÇÝ ÷³Ï³Ýáí 40Ù3/Å³Ù Ñ-10,Ù ³ñÅ»ùÁ / Drainage pump(with block management,with with a float), Q=10m3//h, H=10m | Ï-ï / k-t | 1 | 121.33 | 121.33 |
| 22 | êáÕÝ³Ï ö150ÙÙ /Gate valveö150mm | piece/pcs. | 3 | 100.89 | 302.67 |
| 23 | êáÕÝ³Ï ö100ÙÙ /Gate valveö100mm | piece/pcs. | 4 | 63.52 | 254.08 |
| 24 | êáÕÝ³Ï ö50ÙÙ /Gate valveö50mm | piece/pcs. | 6 | 38.64 | 231.84 |
| 25 | ¶Ý¹ÇÏ³íáñ ÷³Ï³n ö40ÙÙ /Valve | piece/pcs. | 2 | 6.57 | 13,14 |
| 26 | ¶Ý¹ÇÏ³íáñ ÷³Ï³n ö32ÙÙ / Valve | piece/pcs. | 1 | 6.36 | 6.36 |
| 27 | ¶Ý¹ÇÏ³íáñ ÷³Ï³n ö25ÙÙ / Valve | piece/pcs. | 5 | 5.63 | 28.13 |
| 28 | ÈáÕ³Ý³ÛÇÙ ÷³Ï³Ý ö50ÙÙ / Valve | piece/pcs. | 2 | 14.32 | 28.65 |
| 29 | Ð³Ï³¹³ñÓ ÷³Ï³Ý ö50ÙÙ /Reverse valve | piece/pcs. | 2 | 10.34 | 20.67 |
| 30 | Ø»Ùµñ³Ý³ÛÇÝ µ³ù 300É /Membrane tank | piece/pcs. | 1 | 201.85 | 201.85 |
| 31 | Ø»Ùµñ³Ý³ÛÇÝ µ³ù 24É /Membrane tank | piece/pcs. | 1 | 22.70 | 22.70 |
| 32 | Îñ³ÏÙ³ñÇã ÷ñ÷ñ³ÛÇÝ úä-9 / Foamy fire extinguisher OP-9 | piece/pcs. | 1 | 18.87 | 18.87 |
| 33 | äáÕå³ï" Ïó³ßáõñÃ ö150ÙÙ /Steel flange | piece/pcs. | 3 | 8.34 | 25.02 |
| 34 | äáÕå³ï» Ïó³ßáõñÃ ö100ÙÙ /Steel flange | piece/pcs. | 4 | 5.05 | 20.22 |
| 35 | äáÕå³ï» Ïó³ßáõñÃ ö50ÙÙ /Steel flange | piece/pcs. | 6 | 2.78 | 16.66 |
| 36 | The most important thing /Shaped parts steel pipe | Ï· /kg | 220 | 0.90 | 198.15 |
| 37 | äáÉÇ¿ïÇÉ»Ý» ÙÇç³¹Çñ Ïó³ßáõñÃö160ÙÙ /Polyethylene flange, | piece/pcs. | 3 | 10.85 | 32.55 |
| 38 | äáÉÇ¿ïÇÉ»Ý» ÙÇç³¹Çñ Ïó³ßáõñÃö110ÙÙ / Polyethylene flange, | piece/pcs. | 4 | 6.38 | 25.53 |
| 39 | äáÉÇ¿ïÇÉ»Ý» ÙÇç³¹Çñ Ïó³ßáõñÃö63ÙÙ / Polyethylene flange, | piece/pcs. | 6 | 4.25 | 25.52 |
| 40 | äáÕå³ï» ³½³ï Ïó³ßáõñÃ ö150ÙÙ / Steel flange | piece/pcs. | 3 | 8.34 | 25.02 |
| 41 | äáÕå³ï» ³½³ï Ïó³ßáõñÃ ö100ÙÙ /Steel flange | piece/pcs. | 4 | 5.05 | 20.22 |
| 42 | äáÕå³ï» ³½³ï Ïó³ßáõñÃ ö50ÙÙ /Steel flange | piece/pcs. | 6 | 2.78 | 16.66 |
| 43 | äáÕå³ï» ³½³ï Ïó³ßáõñÃ ö40ÙÙ /Steel flange | piece/pcs. | 2 | 2.48 | 4.96 |
| 44 | äáÕå³ï» ³ÝÏÛáõÝ³Ï ö50ÙÙ /Squares steel.pipe | piece/pcs. | 4 | 0.86 | 3.44 |
| 45 | äáÕåa"ËáÕáí³ÏÝ»ñÇ ÝáñÙ³É Ñ³Ï³Ïáñá½õáÝ Ù»Ïáõë³óáõÙ ö150ÙÙNormal waterproofing steel pipe | gm/p.m. | 29 | 2.66 | 77.02 |
| 46 | äáÕåa"ËáÕáí³ÏÝ»ñÇ ÝáñÙ³É Ñ³Ï³Ïáñá½õáÝ Ù»Ïáõë³óáõÙ ö100ÙÙ / Normal waterproofing steel pipe | gm/p.m. | 16 | 1.77 | 28.35 |
| 47 | äáÕåa"ËáÕáí³ÏÝ»ñÇ ÝáñÙ³É Ñ³Ï³Ïáñá½õáÝ Ù»Ïáõë³óáõÙ ö50ÙÙ /Normal waterproofing steel pipe | gm/p.m. | 17 | 1.16 | 19.70 |
| 48 | äáÕå³ï» ËáÕáí³ÏÝ»ñÇ »ñÏß»ñï Ý»ñÏáõÙ /Painting steel pipe in2layer | U²/m² | 12 | 1.39 | 16.72 |
| 49 | äáÉÇíÇÝÇÉùÉáñÇ¹» ËáÕáí³ÏÝ»ñÇ é»ïÇÝ» ë»ÕÙÇã ûÕ³ÏÝ»ñ ö100ÙÙ /Pipes PVC | piece/pcs. | 5 | 0.44 | 2.22 |
| 50 | Ðáë³Ï ö100ÙÙ /Trap | piece/pcs. | 2 | 6.02 | 12.03 |
| 51 | ú¹Ç ½ïÇã / Filter absorber | piece/pcs. | 2 | 188.95 | 377.90 |
| 52 | ä³ïÛ³Ý åáÕå³ï» ËáÕáí³ÏÇó ö325*5ÙÙ / Casing from steel pipe, | gm/p.m. | 2.8 | 33.82 | 94.70 |
| 53 | ä³ïÛ³Ý åáÕå³ï" ËáÕáí³ÏÇó ö219*5ÙÙ / Casing from steel pipe, | gm/p.m. | 2.2 | 22.95 | 50.50 |
| 54 | ¸Ç³ýñ³·Ù³ /Aperture | Ï· /kg | 138 | 0.71 | 98.22 |
| 55 | ``ÇïáõÙáí Ý»ñÍÍí³Í ËÍáõÍ / Paklya soaked bitumen | Ï· /kg | 30 | 0.89 | 26.58 |
| 56 | ò»Ù»Ýï ³í³½» ß³Õ³Ë /Cem.sandy solution | U³/m³ | 0.05 | 2.45 | 0.12 |
| 57 | ´»ïáÝ» Ñ»ÝañaItaly B-15 /Concrete support | U³/m³ | 0.8 | 302.20 | 241.76 |
| 58 | æñ³Ùµ³ñÇ ÷áñÓ³ñÏáõÙ Éí³óáõÙ ¨ ³Ëï³Ñ³ÝáõÙ /Test,washing and disinfection pools | U³/m³ | 55 | 0.27 | 14.91 |
| 59 | Ð³Ù³Ï³ñ·Ç Éí³óáõÙ ³Õï³Ñ³ÝáõÙ / Test,washing and disinfection systems | gm/p.m. | 86.00 | 0.11 | 9.26 |
|  | The most important thing is to be happy. |  |  |  | 4238.96 |
| ²ñï³ùÇÝ çñ³Ù³ï³Ï³ñ³ñáõÙ /Ù³ÝÏ³å³ñï»½/ / Volumes work external water supply children's garden |  |  |  |  |  |
| 1 | 1. ÐáÕ³ÛÇÝ ³ßË³ï³ÝùÝ»ñ /earthen works |  |  |  |  |
| 2 | ²/µ»ïáÝ» Í³ÍÏáõÛÃÇ »ñÏÏáÕÙ³ÙÇ ýñ»½áõÙ ù³Ý¹áõÙ two-sided incision asphalt concrete coatings | gm/p.m. | 26 | 0.58 | 15.08 |
| 3 | ²/µ ß»ñïÇ ù³Ý¹áõÙ 8ëÙ / disassembly and transportation asphalt concrete coatings | U³/m³ | 1.24 | 5.65 | 7.01 |
| 4 | II.Development trenches in in the soilIIcategories manually,in dump | U³/m³ | 10 | 2.07 | 20.69 |
| 5 | III.Development trenches in in the soilIIIcategories excavation in dump | U³/m³ | 168 | 0.52 | 88.03 |
| 6 | Native land backfill by hand/Reverse backfill manually | U³/m³ | 28 | 1.28 | 35.73 |
| 7 | ²í»Éáñ¹ ·ñáõÝïÇ Ùß³ÏáõÙ ¿ùëÏ³í³ïáñáí µ³éÝ³Éáí ³/víñ³ 0,65Ù3 ß»ñ»åÇ ï³ñáÕáõÃÛ³Ùµ /Loading unnecessary soil no a/m and transportation | U³/m³ | 47.0 | 0.70 | 32.91 |
| 8 | î»Õ³÷áËáõÙ ÙÇÝã¨ 1ÏÙ 47*1,8 / Loading and transportation1.0km | /t | 84.6 | 1.16 | 97.89 |
| 9 | î»ÕÇ µÝ³ÑáÕÇ Ñ»ïÉÇóù µáõÉ¹á½»ñáí/Reverse backfill trenches developed soil with excavator | U³/m³ | 178 | 0.11 | 19.07 |
| 10 | ´Ý³ÑáÕÇ Ëï³óáõÙ û¹³ÙÕÇã Ëï³óáõóÇãÝ»ñáí | U³/m³ | 206 | 0.39 | 79.36 |
| 11 | (150*300) | gm/p.m. | 0 | 4.40 | 0.00 |
| 12 | â³÷³½³ïí³Í Ë×Ç Ý³Ë³å³ïñ³ëï³Ï³Ý ß»ñï 17ëÙ Ñ³ëï ïá÷³ÝáõÙáí / crushed stone foundation17cm | U²/m² | 15.6 | 2.13 | 33.25 |
| 13 | Êáßáñ³Ñ³ïÏ ³/µ Í³ÍÏáõÛÃÇ í»ñ³Ï³Ý·ÝáõÙ 4ëÙ Ñ³ëï / restoration asphalt concrete coatings | U²/m² | 15.6 | 3.54 | 55.25 |
| 14 | ÜáõÛÝÁ Ù³Ýñ³Ñ³ïÇÏ / restoration asphalt concrete coatings | U²/m² | 15.6 | 3.72 | 58.08 |
| 15 | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 542.35 |
| 16 | 2. ØáÝï³Å³ÛÇÝ ³ßË³ï³ÝùÝ»ñ /assembly works |  |  |  |  |
| 17 | ²í³½Çó ³ÝÏáÕÝ³ÏÇ ß»ñïÇ Çñ³Ï³Ý³óáõÙ /Preparation: layer from sand | U³/m³ | 14 | 5.72 | 80.12 |
| 18 | ²í³½Çó Ý³Ë³å³ïñ³ëï³Ï³Ý ß»ñïÇ Çñ³Ï³Ý³óáõÙ /Preparation: layer from sand | U³/m³ | 12 | 8.31 | 99.72 |
| 19 | Ê×Çón³Ë³å³ïñ³ëï³Ï³Ý ß»ñïÇ The world is full of people.,Ñáñ»ñÇ ï³Ï/Preparation: layer from rubble | U³/m³ | 0.7 | 5.72 | 4.01 |
| 20 | äáÕå³ï» ¿É.»é³Ïóí³Í ËáÕáí³ÏÝ»ñÇ ï»Õ³¹ñáõÙ ö108*4ÙÙ / Steel electric welded pipes | gm/p.m. | 2 | 14.58 | 29.16 |
| 21 | äáÉÇ¿ïÇÉ»Ý» Í³Éù³íáñ ËáÕáí³ÏÝ»ñÇ ï»Õ³¹ñáõÙ ö110ÙÙ /÷áñÓ³ñÏáõÙáí /Polypropylene: pipes | ·Í. | 61 | 3.68 | 224.39 |
| 22 | äáÉÇ¿ïÇÉ»Ý» ËáÕáí³ÏÝ»ñÇ ï»Õ³¹ñáõÙ ö63ÙÙ /÷áñÓ³ñÏáõÙáí /Polypropylene: pipes | ·Í. | 135 | 2.23 | 300.99 |
| 23 | Lock dy=32mm/Valve | piece/pcs. | 2 | 5.17 | 10.34 |
| 24 | æñ³ã³÷ d=25ÙÙ /Water meter | piece/pcs. | 1 | 20.00 | 20.00 |
| 25 | üÇÉïñ d=25ÙÙ / Filter, | piece/pcs. | 1 | 5.91 | 5.91 |
| 26 | äáÕå³ï» Ïó³ßáõñÃ ö25 / Steel flange | piece/pcs. | 2 | 1.18 | 2.36 |
| 27 | äáÉÇ¿ïÇÉ»Ý» ÙÇç³¹Çñ Ïó³ßáõñÃö25ÙÙ / Polyethylene flange, | piece/pcs. | 2 | 2.66 | 5.32 |
| 28 | ÐÇ¹ñ³Ýï ï³Ï¹Çñáí ö100ÙÙ /Hydrant with with a stand, d=100mm/mm | piece/pcs. | 1 | 60.55 | 60.55 |
| 29 | äáÉÇ¿ïÇÉ»Ý» ³ÝÏÛáõÝ³Ï ö63ÙÙ /Polyethylene withdrawal, d=63mm/mm | piece/pcs. | 10 | 2.83 | 28.32 |
| 30 | åáÕå³ï» å³ïÛ³ÝÇ ÛáõÕ³Ý»ñÏáõÙ Ñ³Ï³ù³Ûù³ÛÇã Ý»ñÏáí /Painting metallic elements in2layer | U²/m² | 1 | 4.43 | 4.43 |
| 31 | h=1.5m andD=1.5m in diameter prefabricated e/b with elements well construction/ Team w/b well, D=1.5m/m, H=1.5m/m | U³/m³ | 1.60 | 201.62 | 322.59 |
| 32 | h=1.2m andD=1.0m in diameter prefabricated e/b with elements well construction/Team w/b well, D=1.0m/m, H=1.2m/m | U³/m³ | 1.10 | 201.62 | 221.78 |
| 33 | ThujaTtype ¹Çï³ÑáñÇ Hello The world is full of people.D=700Hello/Cast iron hatch type"T" | piece/pcs. | 2.00 | 295.34 | 590.68 |
| 34 | "»ïáÝ" Ý³Ë³å³ïñ³ëï³Ï³Ý ß»ñïÇ Çñ³Ï³Ý³ëáõÙ B-12,5 ¹³ëÇ µ»ïáÝÇó 10ëÙ Ñ³ëï / Preparation: layer concrete stamp B-12.5 N=10cm | U³/m³ | 0.10 | 43.30 | 4.33 |
| 35 | Ø»ï. Ý»ñ¹ÇñÝ»ñÇ ï»Õ³¹ñáõÙ /Mortgages details | /t | 0.06 | 1061.7 | 63.70 |
| 36 | Ø»ï³Õ³Ï³Ý ï³ññ»ñÇ 2 ß»ñï Ý»ñÏáõÙ / Painting metallic elements in2layer | U³/m³ | 2 | 4.43 | 8.87 |
| 37 | Ø»ï³Õ³Ï³Ý »É³ñ³Ý Ý»ñÏáõÙáí / Metallic ladder | ïÝ / t | 0.0192 | 811.20 | 15.57 |
| 38 | ØÇ³óáõÙ ·áñÍáÕ çñ³·ÍÇÝ d=63ÙÙ /connection k existing plumbing network | 1 ï»Õ | 1 | 3.85 | 3.85 |
| 39 | Ð³Ù³Ï³ñ·Ç Éí³óáõÙ ³Õï³Ñ³ÝáõÙ / washing and disinfection systems | gm/p.m. | 198.00 | 0.35 | 69.00 |
| 40 | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 2175.99 |
| ²ñï³ùÇÝ ÏáÛáõÕÇ /Ù³ÝÏ³å³ñï»½/Volumes work external sewerage children's garden |  |  |  |  |  |
| 1 | ÐáÕ³ÛÇÝ ³ßË³ï³ÝùÝ»ñ / earthen works |  |  |  |  |
| 2 | III. Development trenches in in the soilIIcategories manually,in dump | U³/m³ | 1 | 2.07 | 2.07 |
| 3 | III. Development trenches in in the soilIIIcategories excavation in dump | U³/m³ | 12 | 0.52 | 6.29 |
| 4 | ²í»Éáñ¹ ·ñáõÝïÇ Ùß³ÏáõÙ ¿ùëÏ³í³ïáñáí µ³éÝ³Éáí ³/Ç íñ³ 0,65Ù3 ß»ñ»åÇ ï³ñáÕáõÃÛ³Ùµ /Loading unnecessary soil no a/m and transportation | U³/m³ | 5.0 | 0.70 | 3.50 |
| 5 | î»Õ³÷áËáõÙ ÙÇÝã¨ 1ÏÙ 5*1,,8 / transportation1.0km | ïÝ / t | 9.0 | 1.16 | 10.41 |
| 6 | î»ÕÇ µÝ³ÑáÕÇ Ñ»ïÉÇóù µáõÉ¹á½»ñáí / Reverse backfill trenches developed soil with excavator | U³/m³ | 13 | 0.11 | 1.39 |
| 7 | Native land backfill by hand/Reverse backfill manually | U³/m³ | 2 | 1.28 | 2.55 |
| 8 | ´Ý³ÑáÕÇ Ëï³óáõÙ û¹³ÙÕÇã Ëï³óáõóÇãÝ»ñáí | U³/m³ | 15 | 0.39 | 5.78 |
| 9 | Excess native soil smoothing on the spot by mechanism | U³/m³ | 4.00 | 0.12 | 0.46 |
| 10 | ÀÝ¹³Ù»ÝÁ / Total |  |  |  | 32.45 |
| 11 | ØáÝï³Å³ÛÇÝ ³ßË³ï³ÝùÝ»ñ / assembly works |  |  |  |  |
| 12 | ²í³½Çó Ý³Ë³å³ïñ³ëï³Ï³Ý ß»ñïÇ Çñ³Ï³Ý³óáõÙ 10ëÙ Ñ³ëï / Preparation: layer from sand | U³/m³ | 2 | 5.72 | 11.45 |
| 13 | Ê×Çó Ý³Ë³å³ïñ³ëï³Ï³Ý ß»ñïÇ Çñ³Ï³Ý³óáõÙ 10ëÙ Ñ³ëï, ÑáñÇ ï³Ï / Preparation: layer from rubble, h=10cm | U³/m³ | 0.1 | 5.55 | 0.55 |
| 14 | º/µ-Çó ÏÉáñ ¹Çï³Ñáñ»ñ D=700*1100ÑÙÙ / Team w/b well, D=0.7m/m, | U³/m³ | 0.50 | 158.92 | 79.46 |
| 15 | ThujaTtype ¹Çï³ÑáñÇ Hello The world is full of people.D=700Hello/Cast iron hatch type"T" | piece/pcs. | 1.00 | 132.90 | 132.90 |
| 16 | Ø»ï. Ý»ñ¹ÇñÝ»ñÇ ï»Õ³¹ñáõÙ / salary details for seismicity well | ïÝ / t | 0.01 | 1061.73 | 10.62 |
| 17 | Ø»ï³Õ³Ï³Ý ï³ññ»ñÇ 2 ß»ñï Ý»ñÏáõÙ /Painting metallic elements in2layer | U²/m² | 0.5 | 1.08 | 0.54 |
| 18 | "Ý"corrugated D-150 /Polyethylene sewage system pipe, d=150mm,with with a bell | gm/p.m. | 18 | 5.12 | 92.18 |
| 19 | Ð³Ù³Ï³ñ·Ç ÷áñÓ³ñÏáõÙ / Test systems | gm/p.m. | 18.00 | 0.11 | 1.94 |
| 20 | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 329.63 |
| 21 | ÎáÛáõÕáõ Ù³ùñÙ³Ý Ï³Û³Ý Ù³Û³Ý Ù3/ûñ, ö2100, H=2,4Ù, Ø³ùñí³Í Ï»Õï³çñ»ñÇ Ïáõï³ÏÙ³Ý Ñáñ ö1500, h=5,0Ù |  |  |  |  |
| 22 | ÐáÕ³ÛÇÝ ³ßË³ï³ÝùÝ»ñ / earthen works |  |  |  |  |
| 23 | III Ï³ñ·Ç µÝ³ÑáÕÇ Ùß³ÏáõÙ Ó»éùáí Ïáõï³Ï»Éáí Ëñ³ÙáõÕáõ ÏáÕùÁDevelopment trenches in in the soilIIcategories manually,in dump | U³/m³ | 6 | 3.05 | 18.31 |
| 24 | III. Development trenches in in the soilIIIcategories excavation in dump | U³/m³ | 65 | 0.52 | 34.06 |
| 25 | î»ÕÇ ÷³÷áõÏ µÝ³ÑáÕÇ Ñ»ïÉÇóù µáõÉ¹á½»ñáí ïá÷³ÝáõÙáí /Reverse backfill trenches developed soil with excavator | U³/m³ | 53 | 0.11 | 5.68 |
| 26 | Excess native soil flatland on the spot by mechanism | U³/m³ | 18.00 | 0.12 | 2.08 |
| 27 | ÀÝ¹³Ù»ÝÁ / Total |  |  | 0.00 |  |
| 28 | ØáÝï³Å³ÛÇÝ ³ßË³ï³ÝùÝ»ñ /assembly works |  |  | 0.00 |  |
| 29 | Ê×Ç ýÇÉïñ³óÇáÝ ß»ñïÇ Çñ³Ï³Ý³óáõÙ /Preparation: layer filtration.from rubble | U³/m³ | 4.5 | 8.64 | 38.89 |
| 30 | B-12,5 ¹³ëÇ µ»ïáÝÇó 10ëÙ Ñ³ëï / Prepare.concrete supportB-12.5 | U³/m³ | 0.07 | 45.36 | 3.17 |
| 31 | Ø³ùñÙ³Ý Ï³Û³ÝÇ µ»ïáÝ» ß»ñïÇ Çñ³Ï³Ý³óáõÙ / Preparation: layer concrete cleaning sewage buildings | U³/m³ | 2.3 | 45.36 | 104.32 |
| 32 | ÎáÛáõÕáõ Ù³ùñÙ³Ý Ï³Û³Ý 6,0-7,0 Ù3/ûñ, ö2100, H=2,4Ù, /cleaning sewage buildings | piece/pcs. | 1 | 2843.96 | 2843.96 |
| 33 | 1.5*4h)cleaning sewage buildings Team w/b well, | U³/m³ | 3.50 | 154.03 | 539.11 |
| 34 | ¸Çï³ÑáñÇ ÃáõçÇó Ï³÷³ñÇãÝ»ñ D=700ÙÙ/Cast iron hatch type"T" | piece/pcs. | 1.00 | 295.34 | 295.34 |
| 35 | Ø»ï. Ý»ñ¹ÇñÝ»ñÇ ï»Õ³¹ñáõÙ / salary details for seismicity well | ïÝ / t | 0.02 | 1061.7 | 21.23 |
| 36 | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 3906.14 |
| ²ñï³ùÇÝ Ù³ÉáõË³ÛÇÝ ·ÇÍ 0.4 Ïíï /pumping station/ |  |  |  |  |  |
|  | ÞÇÝ³ñ³ñ³Ï³Ý ³ßË³ï³ÝùÝ»ñ |  |  |  |  |
| 1 | IIIÏ³ñ·Ç µÝ³ÑáÕÇ Ùß³ÏáõÙ Ëñ³ÙáõÕÇÝ»ñáõÙ Ù»Ë³ÝÇ½Ùáí, µ³ñÓ»Éáí ³/õÝùÝ³Ã³÷»ñÇ íñ³/Development trenches in in the soilIIIcategories excavation in dump | U³/m³ | 5.20 | 2.07 | 10.75 |
| 2 | 0.8*0.6 /Reverse backfill manually | U³/m³ | 0.70 | 0.52 | 0.37 |
| 3 | ´Ý³ÑáÕÇ Ñ»ïÉÇóù Ó»éùáí ïá÷³ÝáõÙáí / Reverse backfill manually | U³/m³ | 4.41 | 0.70 | 3.09 |
| 4 | "I"a÷áËám 3ÏÙ2.1*1.8 /transportation3.0km | ïÝ / t | 2.60 | 1.16 | 3.01 |
| 5 | ÀÝ¹³Ù»ÝÁ / Total |  |  | 0.11 | 17.21 |
| 6 | ØáÝï³Å /assembly works |  |  | 1.28 |  |
| 7 | ä³ïñ³ëïÇ Ëñ³Ù³ïÝ»ñáõÙ ÙÇÝã¨ 35Ïí Ù³ÉáõËÇ ³ÝóÏ³óáõÙ /cable in trench | gm/p.m. | 21.00 | 0.39 | 8.09 |
| 8 | Ø»Ï Ù³ÉáõËÇ ï³Ï ³í³½Çó ³ÝÏáÕÝ³ÏÇ å³ïñ³ëïáõÙ /creation pillows from sand under by cable | gm/p.m. | 21.00 | 0.12 | 2.43 |
| 9 | Ì³ÛñÇ Ïóáñ¹Çã 4KVTn-1-5 / tip connector | piece/pcs. | 4.00 | 0.00 | 0.00 |
| 10 | ÀÝ¹³Ù»ÝÁ /Total |  |  | 0.00 | 10.52 |
| 11 | ÜÛáõÃ»ñ /materials |  |  | 5.72 |  |
| 12 | Ø³ÉáõË ³ÉÛáõÙÇÝ"AVBbShv5*16Hello.Hello ½ñ³Ñ³å³ï/aluminum cable armored | gm/p.m. | 21.00 | 5.55 | 116.46 |
| 13 | The most important thing is to be happy / tip connector | piece/pcs. | 4.00 | 158.92 | 635.66 |
| 14 | ²í³½ /sand | U³/m³ | 1.13 | 0.00 | 0.00 |
| 15 | ²½¹³Ýß³Ý³ÛÇÝ å³shHello The world / signal protective ribbon | gm/p.m. | 21.00 | 0.00 | 0.00 |
|  | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 752.12 |
|  | External gas/ external gas |  |  |  |  |
| 1 | ÐáÕ³ÛÇÝ ³ßË³ï³ÝùÝ»ñ / earthen works |  |  |  |  |
| 2 | Ð»Ý³ñ³ÝÝ»ñÇ ¨ Ñ³ßíÇã Ñ³Ý·áõÛóÇ Ñ³ñÃ³ÏÇ ï»Õ³¹ñÙ³Ý Ñ³Ù³ñ ·ñáõÝïÇ ÷áñáõÙ Ó»éùáí | U³/m³ | 18 | 2.66 | 47.88 |
| 3 | 12.5 | U³/m³ | 8 | 58.75 | 469.99 |
| 4 | 12AIII500c ³Ùñ³Ý / reinforcement12A 500C | ïÝ / t | 0.045 | 562.99 | 25.33 |
| 5 | ´»ïáÝ» ÑÇÙù»ñÇ ¨ Ñ³ßíÇã Ñ³Ý·áõÛóÇ ï³Ï Ë×³í³½» ß»ñï /concrete foundation and layer sand under knot counter | U³/m³ | 3 | 11.42 | 34.26 |
| 6 | ²í»Éáñ¹ µÝ³ÑáÕÇ µ³ñÓáõÙ ¨ ï»Õ³÷áËáõÙ ÙÇÝã¨ 1ÏÙ /transportation1km | ïÝ / t | 4.5 | 1.49 | 6.73 |
| 7 | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 584.19 |
| 8 | 2. ØáÝï³Å³ÛÇÝ ³ßË³ï³ÝùÝ»ñ /assembly works |  |  |  |  |
| 9 | äáÕå³ï» Ñ»Ý³ñ³ÝÝ»ñÇ ï»Õ³¹ñáõÙ / installation steel support | ïÝ / t | 0.324 | 58.3682 | 18.91 |
| 10 | äáÕå³ï» Ñ»Ý³ñ³ÝÝ»ñ D=57*2,5ÙÙ / steel supports | gm/p.m. | 50 | 2,1958 | 109.79 |
| 11 | äáÕå³ï» Ñ»Ý³ñ³ÝÝ»ñ D=108*2,5ÙÙ / steel supports | gm/p.m. | 24 | 4.2957 | 103.10 |
| 12 | äáÕå³ï» ÏÇë³ËáÕáí³Ï ËáÕáí³ÏÝ»ñÇ ï³Ï / steel half pipe under pipes | Ï· /kg | 15.00 | 1.2434 | 18.65 |
| 13 | äáÕå³ï» ï³ññ»ñ ËáÕáí³ÏÝ»ñÁ ³Ùñ³Ï³å»Éáõ Ñ³Ù³ñ /steel elements for fasteners pipe | Ï· /kg | 15 | 0.7118 | 10.68 |
| 14 | åáÕå³ï» ·³½³ï³ñ ËáÕáí³Ï d=108*4ÙÙ/steel gas pipe | gm/p.m. | 16 | 7.5881 | 121.41 |
| 15 | åáÕå³ï» ·³½³ï³ñ ËáÕáí³Ï d=25ÙÙ / steel gas pipe | gm/p.m. | 10 | 1.8906 | 18.91 |
| 16 | åáÕå³ï» ·³½³ï³ñ ËáÕáí³Ï d=40ÙÙ /steel gas pipe | gm/p.m. | 110 | 2.8386 | 312.25 |
| 17 | G-10 / knot counter wardrobe with electronic by check | Ï-ï /k-t | 1 | 505,050 | 505.05 |
| 18 | äáÕå³ï» ·³½³ï³ñ ËáÕáí³ÏÇ ÙÇ³óáõÙ ·áÛáõÃÛáõÝ áõÝ»óáÕ ËáÕáí³ÏÇÝ d=25ÙÙ /d=57ÙÙ /connection steel gas pipes k existing in the pipe | piece/pcs. | 1 | 48,337 | 48.34 |
| 19 | äáÕå³ï» ·³½³ï³ñ ËáÕáí³ÏÇ ÙÇ³óÙ³Ý Ó¨³íáñ Ù³ë»ñ /³ÝÏÛáõÝ/ | Ï· /kg | 30 | 1,807 | 54.21 |
| 20 | äáÕå³ï» ·³½³ï³ñ ËáÕáí³ÏÝ»ñÇ ÷ã³Ù³ùñáõÙ /shot blasting cleaning steel gas pipeline pipes | gm/p.m. | 136 | 0.605 | 82.21 |
| 21 | äáÕå³ï» ·³½³ï³ñ ËáÕáí³ÏÝ»ñÇ åÝ¨Ù³ïÇÏ ÷áñÓ³ñÏáõÙ / pneumatic tests steel gas pipelines | gm/p.m. | 136 | 0.605 | 82.21 |
| 22 | äáÕå³ï» ·³½³ï³ñ ËáÕáí³ÏÝ»ñÇ ¨ Ñ»Ý³ñ³ÝÝ»river »ñÏß»ñï The most important thing is to be happy. The most important thing is to be happy. The word "Ý»ñÏáí" means "the one who is the/ two-layer painting steel gas pipelines and support anti-corrosion with paint | U²/m² | 35 | 1,406 | 49.23 |
| 23 | ¸Ç¿É»ÏïñÇÏ é»ïÇÝ» ï³Ï¹Çñ /gasket from dielectric rubber | U²/m² | 3.2 | 2.22 | 7.09 |
| 24 | ö³Ï³Ý d=40ÙÙ /Valve | piece/pcs. | 2 | 14.55 | 29.09 |
| 25 | ö³Ï³Ý d=25ÙÙ / Valve | piece/pcs. | 1 | 7.78 | 7.78 |
| 26 | ö³Ï³Ý ³½¹³Ýß³Ý³ÛÇÝ Ñ³Ù³Ï³ñ·Ç d=32ÙÙ / Valve alarm system | piece/pcs. | 1 | 10.86 | 10.86 |
| 27 | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 1589.76 |
|  | Metal fence/metallic fence |  |  |  |  |
| 1 | ÐáÕ³ÛÇÝ ³ßË³ï³ÝùÝ»ñ / earthen works |  |  |  |  |
| 2 | ²í»Éáñ¹ µÝ³ÑáÕÇ µ³ñÓáõm ³/v íñ³Ó»éùáí ¨ ï»g³÷áËáõÙ ÙÇÝã¨2I am/transportation2km | ïÝ / t | 15.1 | 1.91 | 28.80 |
| 3 | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 28.80 |
| 4 | 2. ØáÝï³Å³ÛÇÝ ³ßË³ï³ÝùÝ»ñ /assembly works |  |  |  |  |
| 5 | 3.8416 / installation fence with with a shovel soil and concreting foundation | gm/p.m. | 204.00 | 7.48 | 1525.50 |
| 6 | Î»ï³ÛÇÝ ÑÇÙù»ñÇ Çñ³Ï³Ý³óáõÙ B15 ¹³ëÇ µ»ïáÝÇó /device point foundationsB15concrete | U³/m³ | 7.06 | 60.02 | 423.72 |
| 7 | ¸ñáµ ó³ÝóÇó Ù»ï³Õ³Ï³Ý ó³ÝÏ³å³ïÇ ³ñÅ»ùÁ 25*25ÙÙ µçÇçÝ»ñáí 2,7ÙÙ Ñ³ëï | gm/p.m. | 204.00 | 15.90 | 3244.42 |
| 8 | ò³ÝÏ³å³ïÇ Ù»ï³Õ³Ï³Ý Ï³ñÏ³ëÇ ÛáõÕ³Ý»ñÏáõÙ 2 ³Ý·³Ù / with oil wire frame fence twice | ïÝ / t | 3.84 | 19.28 | 74.07 |
| 9 | Î»ï³ÛÇÝ ÑÇÙù»ñÇ Çñ³Ï³Ý³óáõÙ B15 ¹³ëÇ µ»ïáÝÇó ¹éÝ³Ï ¹³ñå³ëÇ ï³Ï / device point foundationsB15concrete door under gates | U³/m³ | 1.3 | 60.02 | 78.02 |
| 10 | ¸³ñå³ë-¹éÝ³ÏÇ ï»Õ³¹ñáõÙ ÑáÕÇ ÷áñáõÙáí ¨ µ»ïáÝ³óáõÙáí//installation gate-door by the way recesses soil and concreting | piece/pcs. | 3 | 48.36 | 145.09 |
| 11 | ¸³ñå³ë-¹éÝ³ÏÇ ³ñÅ»ùÁ 2 ¹³ñå³ë-¹éÝ³Ï /gate-door | Ñ³ï 2+1 | 1 | 391.28 | 391.28 |
| 12 | ¸³ñå³ë-¹éÝ³ÏÇ ÛáõÕ³Ý»ñÏáõÙ 2 ³Ý·³Ù /painter Gate-door with oil twice | ïÝ | 0.433 | 19.28 | 8.34 |
| 13 | ¸³ñå³ë-¹éÝ³ÏÇ µéÝ³Ï-÷³Ï³Ý / gate-door pen-valve |  | 3 | 26.58 | 79.74 |
| 14 | ÌËÝÇ /loop | piece/pcs. | 14.0 | 3.69 | 51.68 |
| 25 | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 6021.87 |
| ´³ñ»Ï³ñ·áõÙ |  |  |  |  |  |
| 1 | ÐáÕ³ÛÇÝ ³ßË³ï³ÝùÝ»ñ / earthen works |  |  |  |  |
| 2 | î³ñ³ÍùÇ Ñ³Ù³Ñ³ñÃ»óáõÙ µáõÉ¹áõ½»ñáí / alignment territory by bulldozer | U²/m² | 2271 | 0.01 | 28.35 |
| 3 | ÜáõÛÝÁ Ó»éùáí /that or only manually | U²/m² | 70.2 | 0.28 | 19.47 |
| 4 | ºïÙß³ÏáõÙ Ó»éùáí /manual processing | U³/m³ | 84 | 3.05 | 256.30 |
| 5 | ÈÇóùáõÙ ÑáÕÇ Ñ³ñÃ»óáõÙ Ù»Ë³ÝÇ½Ùáí /mechanism alignments land | U²/m² | 397.4 | 0.16 | 61.62 |
| 6 | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 365.74 |
| 7 | ²íïá×³Ý³å³ñÑÝ»ñ ë³Éí³ÍùÝ»ñ /highways garbage disposal |  |  |  |  |
| 8 | Ö³Ý³å³ñÑÇ Í³ÍÏáõÛÃÇ ï³ßï³ÏÇ Ï³éáõóáõÙ 20ëÙ Ñ³ëï ï»Õ³÷áË»Éáí ÙÇÝã¨ 50Ù / construction trough road coatings thick20cm.movement to50m | U³/m³ | 106.00 | 0.56 | 59.10 |
| 9 | ²í³½³Ïáå×³ÛÇÝ ·ñáõÝï 10ëÙ/sandy-gravel soil10cm | U²/m² | 530.0 | 0.81 | 428.96 |
| 10 | â³÷³½³ïí³Í Ë×Ç Ý³Ë³å³ïñ³ëï³Ï³Ý ß»ñïÇ Çñ³Ï³Ý³óáõÙ 15ëÙ Ñ³ëï /Preparation: layer from rubble, h=15cm | U²/m² | 530.0 | 1.55 | 824.11 |
| 11 | ØÇçÝ³Ñ³ïÇÏ ³/µ ß»ñïÇ ÷éáõÙ 6ëÙ Ñ³ëï | U²/m² | 530.0 | 5.11 | 2707.89 |
| 12 | English:dead end |  |  |  |  |
| 13 | Ø³ÛÃ»ñÇ Í³ÍÏáõÛÃÇ ï³ßï³ÏÇ Ï³éáõóáõÙ 25ëÙ Ñ³ëïáõÃÛ³Ùµ / device road coatings gutter thick25cm | U³/m³ | 20.95 | 1.44 | 30.10 |
| 14 | ``÷³½³ïí³Í ËÇ×» ÑÇÙù Ñ=10ëÙ ïá÷³ÝáõÙáí /sandy-gravel soil10cm | U²/m² | 83.80 | 1.58 | 132.01 |
| 15 | ´»ïáÝ» Ý³Ë ß»ñï Ñ=12ëÙ B15 12,ëÙ /layer preparation concrete | U³/m³ | 10.1 | 44.96 | 454.12 |
| 16 | ´³½³Éï» µñ»Ïã³ÛÇlayer S=4ëÙ/ layer basalt breccias S=4ëU | U²/m² | 83.8 | 15.87 | 1329.76 |
| 17 | ´³½³Éï» »½ñ³ù³ñ»ñÇ ï»Õ³¹ñáõÙ(150*300)ÙÙ µ»ïáÝ» ÑÇÙùÇ íñ³ / installation basalt curbs no concrete foundation. | gm/p.m. | 184.00 | 11.38 | 2094.27 |
| 18 | ²ñ³Ñ»ïÝ»ñÇ Ï³éáõóáõÙ 1,2-1,5Ù É³ÛÝ/construction tracks |  |  |  |  |
| 19 | î³ßï³ÏÇ Ï³éáõóáõÙ 20ëÙ Ñ³ëïáõÃÛ³Ùµ / construction trough thick20cm | U³/m³ | 35.54 | 1.44 | 51.07 |
| 20 | ``÷³½³ïí³Í ËÇ×» ÑÇÙù Ñ=10ëÙ ïá÷³ÝáõÙáí / sandy-gravel soil10cm | U²/m² | 177.00 | 1.58 | 278.83 |
| 21 | ²í³½Ç ß»ñï 8ëÙ Ñ³ëï / sandy soil8cm | U³/m³ | 14.20 | 4.03 | 57.16 |
| 22 | îñ³í»ñïÇÝ» ïÓ¨ ù³ñ»ñ 10-12 ëÙ /travertine stones10-12cm | U²/m² | 177.7 | 17.35 | 3082.21 |
| 23 | 100x200 ï»Õ³¹ñáõÙ µ»ïáÝ» ÑÇÙùÇ íñ³ /styling concrete curbs no concrete foundation100x200Hello | gm/p.m. | 171.8 | 6.95 | 1194.32 |
| 24 | Ê³Õ³Ññ³å³ñ³Ï 25ëÙ Ñ³ëï ³í³½» ß»ñïáí ÉÇóù /children's playground | U³/m³ | 46.5 | 4.03 | 187.18 |
| 25 | Ø³ÝÏ³Ï³Ý Ù»ï³Õ³Ï³Ý, Í³ÍÏí³Í ï³Õ³í³ñÝ»ñÇ /µ»ë»¹Ï³/ï»Õ³¹ñáõÙ / installation children's metallic gazebo | piece/pcs. | 3.0 | 273.19 | 819.57 |
| 26 | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 13730.66 |
| 27 | ²Õµ³Ù³ÝÝ»ñ / garbage tanks |  |  |  |  |
| 28 | ´»ïáÝ» ÑÇÙù B-10.0 ¹³ëÇ µ»ïáÝÇó10ëÙ / concrete foundation | U³/m³ | 1.2 | 44.96 | 53.95 |
| 29 | ä³ïÇ ß³ñ Ï³ÝáÝ³íáñ ïáõý ù³ñáí/wall row from ordinary tufa | U³/m³ | 2.3 | 31.18 | 71.72 |
| 30 | ä³ïÇ ëí³ÕáõÙ ó»Ù ³í³½» ß³Õ³Ëáí /plaster wall cement-sandy solution | U²/m² | 24.5 | 3.49 | 85.40 |
|  | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 211.07 |
| ²ñï³ùÇÝ Éáõë³íáñáõÃÛáõÝ |  |  |  |  |  |
| 1 | III Ï³ñ·Ç µÝ³ÑáÕÇ í»ñçÝ³Ùß³ÏáõÙ ÷áëáñ³ÏáõÙ / IIIcategories Digging under supports | U³/m³ | 5 | 2.77 | 13.87 |
| 2 | III Ï³ñ·Ç µÝ³ÑáÕÇ Ùß³ÏáõÙ Ëñ³ÙáõÕáõÙ /Digging trenchesIIIcategories | U³/m³ | 15 | 2.77 | 41.61 |
| 3 | ´Ý³ÑáÕÇ Ñ»ïÉÇóù Ó»éùáí ÷áëáñ³ÏÝ»ñáõÙ Ñ»Ý³ëÛáõÝ»ñÇ ï³Ï /Reverse backfill under supports | U³/m³ | 3.75 | 1.28 | 4.78 |
| 4 | ``Ý³ÑáÕÇ Ñ»ïÉÇóù Ó»éùáí Ëñ³ÙáõÕáõÙ / Reverse backfill manually | U³/m³ | 2.2 | 1.28 | 2.81 |
| 5 | ²í»Éáñ¹ III Ï³ñ·Ç µÝ³ÑáÕÇ ¨ ßÇÝ. ³ÕµÇ Ùß³ÏáõÙÁ ¿ùëÏ³í³ïáñáí, µ³ñÓ»Éáí ³íïáÇÝùÝ³Ã³÷Ç íñ³ /Development trenches in in the soilIIIcategories excavation in dump | U³/m³ | 3.45 | 0.46 | 1.59 |
| 6 | î»Õ³÷áËáõÙ ÙÇÝã¨ 7ÏÙ / transportation7IU | ïÝ / t | 6.21 | 0.44 | 2.74 |
| 7 | "»ïáÝ" Ý³Ë³å³ïñ³ëï³Ï³Ý ß»ñïÇ Çñ³Ï³Ý³óáõÙ B-7,5 ¹³ëÇ µ»ïáÝÇó / layer preparation concrete | U³/m³ | 0.25 | 39.82 | 9.95 |
| 8 | 10A-III ¹³ëÇ ³Ùñ³ÝÇ ï»Õ³¹ñáõÙ / installation fittings10A-III | ïÝ / t | 0.035 | 960.05 | 33.60 |
| 9 | Ø³ÉáõËÇ ³ÝóÏ³óáõÙ /gasket cablesìì¶-3*6, 3*2,5ÙÙ2 | gm/p.m. | 110 | 0.18 | 19.86 |
| 10 | Ø³ÉáõËÇ ìì¶-3*6, /cable | gm/p.m. | 82 | 1.46 | 120.05 |
| 11 | Ø³ÉáõËÇ ìì¶- 3*2,5ÙÙ2 | gm/p.m. | 28 | 0.64 | 18.05 |
| 12 | Ø³ÉáõËÇ ãáñ Ñ³ñ¹³ñáõÙ /Dry cutting cable | piece/pcs. | 18 | 0.43 | 7.69 |
| 13 | ²í³½ ³ÝÏáÕÝ³ÏÇ ËáÕáí³ÏÝ»ñÇnumber The most important thing is to be happy. Hello | U³/m³ | 2.20 | 5.33 | 11.72 |
| 14 | ´»ïáÝ» ÑÇÙù»ñÇ å³ïñ³ëïáõÙ Ñ»Ý³ñ³ÝÝ»ñÇ ï³Ï Ù³ÏÝÇßÁ B15(200)/Preparation: layer concrete under support | U³/m³ | 1.25 | 44.96 | 56.20 |
| 15 | Ê³ñëË³Ñ»ÕÛáõë d=20ÙÙ L-700ÙÙ 20 Ñ³ï/anchorite bolt | ïÝ / t | 0.0345 | 2120.23 | 73.15 |
| 16 | Ø³Ý»Ï d=20ÙÙ /bolt | piece/pcs. | 20 | 0.50 | 10.04 |
| 17 | Ð»Ý³ëÛáõÝ ÏáÝ³Ó¨ óÇÝÏ³å³ï 8Ù µ³ñÓñáõÃÛ³Ý Ïó³ßáõñÃ³ÛÇÝNFC8.0-0.5c / Support external lighting flanged | piece/pcs. | 5.0 | 176.24 | 881.19 |
| 18 | ´³ñÓ³Ï Éáõë³ïáõÇ 1 ×ÛáõÕ³ÝÇ ÏáÝ³ÓÁ Ñ»Ý³ëÛ³Ý Ñ³Ù³ñK1-0.5-0.5--F-c / Bracket unicorn K1-0.5-0.5-F-c | piece/pcs. | 5.0 | 26.45 | 132.27 |
| 19 | Èáõë³ïáõ ³ñï³ùÇÝ Éáõë³íáñÙ³Ý Éáõë³¹Çá¹³ÛÇÝ 50íï Ñ½áñáõÃÛ³Ùµ 7433ÉÙ 6000Ï IP65 ï»Õ³¹ñíáÕ µ³ñÓ³ÏÇ íñ³ / Street LED lamp 50Tue | piece/pcs. | 5 | 46.76 | 233.78 |
| 20 | ê»ÕÙ³Ï ×ÛáõÕ³íáñÇãU731 4-10/1,2-10 /nutty clamp | piece/pcs. | 15 | 0.37 | 5.54 |
| 21 | ²íïáÙ³t ³Ýç³ïÇã»ñÏµ¨eit32²/Automatic switch | piece/pcs. | 1 | 6.64 | 6.64 |
| 22 | ²íïáÙ³t ³Ýç³ïÇã»ñÏµ¨eit10² / Automatic switch | piece/pcs. | 5 | 6.22 | 31.10 |
| 23 | Size 40*3.7mm ×ÏáõÝ / Trumpet polyethylene F40x3.7mm | gm/p.m. | 73.00 | 1.88 | 137.08 |
|  | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 1855.32 |
| î³ñ³ÍùÇ Ï³Ý³ã³å³ïáõÙ /багустройство: territory |  |  |  |  |  |
| 1 | ÐáÕÇ Ñ³ñÃ»óáõÙ Ù»Ë³ÝÇ½Ùáí /mechanism alignments land | U²/m² | 795.0 | 0.01 | 7.72 |
| 2 | ÜáõÛÝÁ, Ó»éùáí ëÇ½³Ù³ñ·»ñáõÙ /that or only in manual on the lawns | U²/m² | 90.00 | 0.32 | 28.96 |
| 3 | Ì³é»ñÇ ¨ Ã÷»ñÇ ïÝÏáõÙ / landing trees and shrubs | piece/pcs. | 10.00 | 3.53 | 35.26 |
| 4 | öß³t»ñ¨The most important thing is to be happy /cost coniferous trees | piece/pcs. | 10.00 | 29.53 | 295.34 |
| 5 | Â÷»ÑÇ ³ñÅ»ùÁ / cost bushes | piece/pcs. | 225.00 | 3.69 | 830.64 |
| 6 | êÇ½³Ù³ñ·»ñÇ Ï³Ý³ã³å³ïáõÙ /landscaping lawn | U²/m² | 885.0 | 0.07 | 59.41 |
| 7 | ê»ñÙÇ ³ñÅ»ùÁ /cost seed | I | 35.00 | 1.77 | 62.02 |
| 8 | ²Ç½³Ù³ñ·»ñÇ Ù»ï³Õ³Ï³Ý ó³Ýó/Ññß»j The world is full of people. Yest»Ý³Éáõ Ñ³Ù³ñ/ / lawn wire mesh | U²/m² | 130.00 | 8.86 | 1151.82 |
|  | ÀÝ¹³Ù»ÝÁ /Total |  |  |  | 2471.17 |
|  | ÀÝ¹Ñ³ÝáõñÁª /General |  |  |  | 317382.78 |
|  | 1.5% /unplanned expenses1.5% |  |  |  | 4760.74 |
|  | ÀÝ¹³Ù»ÝÁ / Total |  |  |  | 322143.53 |
|  | ²²Ð 20% /VAT 20% |  |  |  | 64428.71 |
|  | ÀÝ¹³Ù»ÝÁ / Total |  |  |  | 386572.23 |

| CUSTOMER --------------------------------- /signature/ K.T |  | PAYER --------------------------------- /signature/ K.T |
| --- | --- | --- |

Appendix number2

« » 20   t. sealed

Contract code: AHMAIM-ABMASHDB-2026/5

CALENDAR GRAPHIC

"Yeghegnavan settlement, Vedi community, Ararat region, Armeniaworksexecution

| Nh/k | Contractor by to be done works names of individual species | Works execution deadline** |  |
| --- | --- | --- | --- |
|  |  | The beginning | The end |
| 1 | Construction of a kindergarten in Yeghegnavan settlement, Vedi community, Ararat region, Armeniaworksexecution | If financial resources are envisaged, the date of entry into force of the agreement concluded between the parties. | 340 days /schedule attached/ |
| ONLY |  | If financial resources are envisaged, the date of entry into force of the agreement concluded between the parties. | 340 days |

The procurement process will be organized in accordance with the requirements of Part 6 of Article 15 of the RA Law "On Procurement", therefore, the deadline for signing and submitting the agreement is set at 15 (fifteen) working days from the date of receipt of the notification.

| CUSTOMER --------------------------------- /signature/ K.T |  | PAYER --------------------------------- /signature/ K.T |
| --- | --- | --- |

* The term of performance of the works, and in the case of phased execution of the contract, the term of the first phase, must be set at least 20 calendar days, the calculation of which is made on the day of entry into force of the condition for the fulfillment of the rights and obligations of the parties stipulated by the contract, except for the case when the selected participant agrees to perform the work within a shorter period. This condition does not apply to the procurement of construction works carried out with design documents that have undergone an examination.

**If the contract is concluded on the basis of Part 6 of Article 15 of the RA Law "On Procurement", then in the "Start" column, the beginning of the term is indicated on the date of entry into force of the agreement concluded between the parties, if financial resources are envisaged, and in the "End" column, the implementation period is set in calendar days.

Appendix No. 3

" " 20 years old. sealed

Contract code: AHMAIM-ABMASHDB-2026/5

PAYMENT SCHEDULE*

Armenian dram

| Work |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| the number of the portion specified in the invitation | The procurement plan's transit code according to the CPV classification | name | Payments are planned to be made in 2026, 2027, by month, including** |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Total |
| 1 | 45221142-501 | Construction of a kindergarten in Yeghegnavan settlement, Vedi community, Ararat region, Armeniaworksexecution |  |  |  |  |  |  |  | ... % | ... % | ... % | ... % | ... % | ... % |

*Payment subject the money are presented in ascending order If the contract is concluded on the basis of Part 6 of Article 15 of the RA Law "On Procurement", then this schedule is supplemented and concluded simultaneously with the agreement concluded between the parties, if financial resources are envisaged, as an integral part thereof.

** In the invitation, the amounts are indicated as a percentage, and when signing the contract, a specific amount is indicated instead of a percentage.

| CUSTOMER --------------------------------- /signature/ K.T |  | PAYER --------------------------------- /signature/ K.T |
| --- | --- | --- |

Appendix number4

« » 20   t. sealed

Contract code: AHMAIM-ABMASHDB-2026/5

| Party to the contract ___________________________ ___________________________ location ______________ hh _________________________ hhh _______________________ | Client _____________________________ _____________________________ location _________________ hh____________________________ hhhhh___________________________ |
| --- | --- |

PROTOCOL N

RESULTS OF THE PERFORMANCE OF THE CONTRACT OR PART OF IT

TRANSFER-ACCEPTANCE

" " " " 20 years.

Title of the Agreement /hereinafter referred to as the Agreement/: _________________________________________________________________________________________________________

Date of signing the contract: "____" "__________________" 20

Contract number: __________

Client and  The contracting party, based on the invoice No. ___ issued on " " " " 20" regarding the performance of the contract, have drawn up this protocol on the following:

Within the framework of the contract, the Contracting Party performed the following work:

| N | Done works |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | name | brief description of the technical specification | quantitative indicator |  | deadline |  | Amount to be paid /thousand drams/ | Payment term /according to payment schedule/ |
|  |  |  | according to the purchase schedule approved by the contract | actually | according to the purchase schedule approved by the contract | actually |  |  |

The invoice and positive confirmation form that served as the basis for the bilateral approval of this ProtocolThe conclusion is an integral part of this protocol and is attached.

| He handed in the work. | Accepted the job |
| --- | --- |
| ___________________________ signature | ___________________________ signature |
| ___________________________ last name, first name | ___________________________ last name, first name |
| K.T. | K.T. |

Appendix 4.1

« » 20   t. sealed

Contract code: AHMAIM-ABMASHDB-2026/5

ACT N

on fixing the fact of handing over the result of the contract to the Client

It is hereby recorded that		        (hereinafter referred to as the Client) and		        of

Client's name Contractor's name

(hereinafter referred to as the Contractor) for a period of 20 years.				N signed in

contract signing date			                             contract number

Within the framework of the purchase agreement, the Contractor will pay 20		handed over the following works to the Client for acceptance:

| Work |  |  |
| --- | --- | --- |
| name | unit of measurement | number(actually) |

This act is made up of 2 copies, one copy is provided to each party.

THE SIDES

| Handed over | Accepted |
| --- | --- |

Representative who drafted the application:

| ___________________________ last name, first name | ___________________________ last name, first name |
| --- | --- |
| ___________________________ signature | ___________________________ signature |

|  | Appendix No. 5 " " 20 years old. sealed Contract code: AHMAIM-ABMASHDB-2026/5 NOTICE reports is,that. financial agent name - -of and -between "--" 20 years. signed client name contractor name "---"------/--------»within the framework of the contract (hereinafter referred to as the Contract) with the code -signed between "--" 20"---"------------------»factoring by code contractor name the contract, - complies with the requirements set forth in clause 8.12 of the Agreement. ___________________________________________ _____________ name of the financial agent (position of the manager, first name and last name) signature K. T. (if available) "--" 20 years. |
| --- | --- |

This clause shall be removed from the draft contract if the construction project being purchased requires design documents.

This clause is removed from the draft contract if not applicable.

Paragraph 2 of clause 4.1 shall be removed from the draft contract if the subject of the procurement is not the construction project.

If the Contractor has submitted a price offer without VAT, then when concluding the contract, the words "of which -------- (------) AMD - VAT" shall be removed from this clause.

In the case of customers who do not have accounts with the Treasury, the last paragraph of this point is edited with the following content: "Whereas payment for the purchase is made within the period specified in the payment schedule of this agreement, within five working days."

If the contract was concluded on the basis of Article 15, Paragraph 6 of the RA Law "On Procurement", the fine is calculated against the price of the agreement within the framework of which the circumstance of non-fulfillment or improper fulfillment of the obligations undertaken was recorded.

If the contract includes more than one installment, the penalty is calculated against the total price set for that installment in the contract.

If the subject of the procurement is not a construction project, clause 6.5.1 shall be removed from the draft contract, and the words "and approved design estimates" shall be removed from clause 1.2, and the reference to clause 6.5.1 shall be removed from clause 6.4.

In the case of purchases that do not incur obligations at the expense of state budget funds, this clause shall be removed from the contract.

This clause shall be removed from the contract if the contract is not implemented through subcontracting.

This clause is removed from the contract if the contract is not implemented through the conclusion of a joint activity (consortium) contract.

If the Client is a client who does not have an account with the Treasury, then this clause is edited by replacing the words "entering the payment order and a copy of the protocol into the treasury system of the authorized body" with the words "giving a payment order to the bank".

If the contract is concluded on the basis of Part 6 of Article 15 of the RA Law "On Procurement" and the contract price does not exceed twenty-five times the base unit of the procurement, then this clause is edited by removing the 4th sentence from the latter, and the 5th sentence is edited by replacing the words "and in the case of replacement of the qualification and contract security presented in the form of a penalty, also the new security" with the word "and". This clause is deleted from the contract if the contract is not concluded on the basis of Part 6 of Article 15 of the RA Law "On Procurement".

The period specified in the 5th sentence of this paragraph cannot be less than 10 working days.